| Load Forecast vs Actual |
| --- |
| A graphical display (see Figure 1) showing: Forecast from the day ahead. Use data after DRUC is run the previous day. Current Day Load Forecast. This is the forecast that is updated every 1-4 hours. Also display the value that represents the forecast peak. Actual Load. Must be no more than 60 seconds old. Display as a number for current load and a line graph for historical. Online Generation – Actual. This is calculated once an hour. Online Generation –Planned. This is used for future data. Last Updated – shows date, hours, minutes, seconds, zone Default view is today. Users may also view data for yesterday and tomorrow. View is 24 hour period.. View is system-wide. No personalization required. Cross reference: This is Portlet #3. Must be updated within 60 seconds. | Figure 1 (Original) | Figure 1A (Revised) |

| Weather |
| --- |
| A graphical display (see Figure 2) showing: The four Resource Zones (formerly CSC zones) Note: Figure 2 does not accurately display the 4 zones. Cities distributed across the state with forecasted high and low temperatures. Note: Cities shown in Figure 2 may not be the cities ERCOT gets data for. Last Updated – shows date, hours, minutes, seconds, zone No personalization required. Cross reference: This is Portlet #4. Must be updated every hour. Cannot build this portlet. ERCOT does not have rights to distribute weather information it subscribes to. | Figure 2 (deleted) |

| Day-Ahead and Real-Time LMPs |
| --- |
| A graphical display (see Figure 3) showing: Up to four user-selected LMPs. The current value for each LMP displays in number form. User may select to display line graphs for day-ahead and/or real-time values for any or all of the selected LMPs. Default view is today, user may also view LMPs for yesterday. Default view is 4 hours, user may also view 2, 8, 12, 16 and 24 hour scale. User may also view additional details about a selected LMP, such as, minimum, maximum values. Still researching: what other detailed info, what exact time frame? Personalization is required: Users must be able to select LMPs at a settlement point. Still verifying how they filter for settlement points—i.e. hub, zone, etc. Cross reference: This is Portletl #5. Must be updated every 5 minutes. | Figure 3 (Original) | Figure 3A (Revised) |

| DC Ties |
| --- |
| A graphical display (see Figure 4) showing Inbound and outbound DC Tie Flows – Scheduled Net Flow – Actual Default view is today, user can select yesterday. Default view is today, user can select past six hours, if today. Not personalizable Cross reference: This is Portlet #6. Must be updated within 60 seconds. Need to show each DC Tie separately. | Figure 4 (Original) | Figure 4A (Revised) |

| LMP Ticker |  |
| --- | --- |
| A graphical display (see Figure 5) showing Up to 50 user-selected LMPs Displays LMP name, current day-ahead price, current real-time price Clicking on an LMP expands the ticker to reveal detail about the LMP. This is the same information as in FR3. Not personalizable Cross reference: This is Portlet #6. Must be updated within 5 minutes. | Figure 5 | Figure 5A (Revised) |

| ERCOT ACE |  |
| --- | --- |
| A graphical display (see Figure 6) showing: ERCOT ACE Default display is today, user may select past seven days Default display is current hour ending, user may select any hour ending for any selected day Still evaluating whether to display processed ACE Not personalizable Cross reference: This is Portlet #9. Must be updated within 10 seconds. Deleted | Figure 6 (Deleted) |

| Operating and ??? Load Forecast |
| --- |
| A graphical display (see Figure 7) showing: Operating Load Forecast (the one calculated every hour and done for the next seven days ??? Load Forecast (don’t know whether this is LT or ST) Actual Load Default view is today. User may select up to seven days in future Default view is system wide. User may select 4 resource zones. Default view is 24 hour scale. User may select current 2-hour scale. Not personalizable Cross reference: This is Portlet #11. Must be updated within 10 seconds. Deleted: Data covered by FR #1 | Figure 7 (deleted) |

| Undeployed Responsive Reserve |
| --- |
| A graphical display (see Figure 8) showing: Undeployed generation resources Undeployed Load Resources, excluding controllable load resources Default view is today. User may select up to three days in past Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #17. Must be updated within 10 seconds. Deleted | Figure 8 (Deleted) |

| Non-Spinning Reserve |
| --- |
| A graphical display (see Figure 9) showing: Non-spinning reserve available from online generation resources with energy curves Non-spinning reserve available from undeployed load resources Non-spinning reserve available from off-line generation resources Non-spinning reserve available from resource with output schedules Default view is today. User may select up to three days in past Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #18. Must be updated within 10 seconds. Deleted | Figure 9 (Deleted) |

| Undeployed Reg-Up and Reg-Down |
| --- |
| A graphical display (see Figure 10) showing: Undeployed Reg-Up and undeployed Reg-Down Default view is today. User may select up to three days in past Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #19. Must be updated within 10 seconds. Deleted: Covered by System Parameters table. | Figure 10 (Deleted) |

| Capacity for Inc/Dec Base Points in SCED |
| --- |
| A graphical display (see Figure 11) showing: Available capacity with Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; Available capacity with Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED; Available capacity without Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; and Available capacity without Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED. Default view is today. User may select up to three days in past Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #20. Must be updated within 30 seconds. | see Figure 11 |

| Frequency |
| --- |
| A graphical display (see Figure 12) showing: Frequency for last 15 minutes Default view is today. User may select yesterday Default view is last 15 minutes. Users may select any 15-minute interval. Not personalizable Cross reference: This is Portlet #13. Must be updated within 10 seconds, 30 seconds max. | Figure 12 (Original) | Figure 12A (Revised) |

| Adjusted Responsive Reserve and Spinning Reserve |
| --- |
| A graphical display (see Figure 13) showing: Adjusted Responsive Reserve Spinning Reserve Default view is today. User may select yesterday Default view is last ??? Not personalizable Cross reference: This is Portlet #13. Must be updated within 30 seconds. New | Figure 13 (new) |