## Comments
Reviewer comments on DAM Procedures
Minor formatting/grammar comments are not included
Reviewer | New Section # | Old Section # | Reviewer Comment | Analysis | ERCOT Comments
Luminant | 2.2.1 Note | 2.1.1 Step 1 Note | This task is performed prior to 0600 and must be completed in sufficient time to assure the posting is correct. | Accepted
Luminant | n/a | 2.1.1 Step 4 | Delete: "Verify the WGRPP has been posted to the MIS and is available to Market Participants" | Accepted
Luminant | 2.2.1 Step 3 | 2.1.1 Steps 2&3 | Note: “Review” requires more definition. Assuming, the DAM desk is not the source authority for any of these reports, there should be back office processes that include source authority annotation approving the posting as meeting current system conditions. Hence “Review” may actually mean confirm that the source authority has reviewed and approved the source files that will be posted to the MIS. | Agreed | Moved to task that verifies posting only. Comment is out of DAM desk responsibility.
Reliant | n/a | 2.1.2 | How will ERCOT know what amount of UFR RRS the DAM can clear if they don't know amount of self arranged UFR RRS quantity from Market Participants until 14:30 day ahead | Clarify | This RRS percentage limit is a system-wide max limit as determined by ERCOT.
Luminant | n/a | 2.1.2 Note 1 | Question: Why is the DAM System Operation Desk responsible for developing the AS Plan for the Operating Day? Once the AS Plan is established, the DAM Desk can pick-up the Protocol defined responsibility for determining each QSE AS’s Obligation, by Service and Hour, and noticing the individual QSE. | Clarify | Removed. This is System Operations responsibility.
Luminant | n/a | 2.1.2 Step 2 | Question: Who is responsible for determining when and how much Non-Spin Service? | Clarify | Removed. This is System Operations responsibility.
Luminant | n/a | 2.1.2 Step 3 | The Operator must provide a textual message (and post where?) explaining any changes to the percentage of Load Resources that are allowed to provide RRS and verify such is posted on the MIS Public Area and is available to Market Participants. | Clarify | Removed. This is System Operations responsibility.
PGC | n/a | 2.1.2 Step 4 | Add action steps if there errors in ASOC execution | Clarify | Removed. This is System Operations responsibility.
Reliant | 2.2.2 Step 3 | 2.1.3 Step 1 Note | Tasks 1 and 2 are performed prior to 0600. | Reject | New text: "RESOLVE any External System Interface problems prior to executing impacted DAM processes and notify supervision of issues."
Reliant | 2.2.2 Step 2 | 2.1.3 Step 2 | Who verifies the 36-month Load Forecast? | Clarify | This is not a Day-Ahead Desk task. It will likely be done by the system planning group.
PGC | 2.2.2 Step 3 | 2.1.3 Step 3 | Add action steps to resolve External System Interface problems | Accepted | Added "Communicate to ERCOT Production Support group if any posting problems are identified and inform DAM Supervisor."
Reliant | 2.2.1 Step 3 | 2.1.4 Step 2 | If the NPRR 18*FIP is approved by the Board, then will that make the HCAP priced lower than the LCAP ($500 or 50*FIP)? | Clarify | Moved to task that verifies posting only. Comment is out of DAM desk responsibility.
PGC | n/a | 2.1.4 Step 3 Note | Why not set PNM to the dollar figure on the last day of Zonal? | Clarify | Original Note was incorrect. Moved to task that verifies posting only.
Luminant | n/a | 2.1.4 Step 5 | EXECUTE the PNM calculation procedure through hour ending 1100 hours in the previous Operating Day. | Clarify | Currently the timing and posting of this calculation is an open issue, however the DAM Desk will verify that the calculation and posting were in compliance with the Protocols.
Reliant | n/a | 2.1.4 Step 7 | Who authorizes the changes to SWCAP?? Do we need a process to review any existing offers already in the system that violate a revised SWCAP??? Do we purge all prior offers? | Clarify | Currently the timing and posting of this calculation is an open issue, however the DAM Desk will verify that the calculation and posting were in compliance with the Protocols.
Luminant | n/a | 2.1.4 Step 8 | VERIFY that The PNM and PNM and SWCAP are posted on the MIS Secure Area and available to Market Participants by 0600 hours. | Clarify | Currently the timing and posting of this calculation is an open issue, however the DAM Desk will verify that the calculation and posting were in compliance with the Protocols.
Luminant | 2.2.1 Step 1 Note | 2.1.5 Step 1 Note | The postings required on the MIS for the next Operating Day are from different ERCOT sources. No later than 0530 hours on a daily basis, DAM Desk Operator shall verify that the postings required on the MIS for the next Operating Day are available to all Market Participants before DAM processes. Note: It is necessary that all “by 0600” Market postings be validated prior to the 0600 hour. | Accepted with condition | The DAM Desk is not responsible for making these postings--only verifying that they are available. "The postings required on the MIS for the next Operating Day are from different ERCOT sources. Prior to 0600 on a daily basis, DAM Desk Operator shall verify that the postings required on the MIS for the next Operating Day are available to all Market Participants before DAM processes."
Reliant | 2.2.1 Step 1 Note | 2.1.5 Step 1 Note | The postings required on the MIS for the next Operating Day are from different ERCOT sources however all must be available on the MIS prior to 0600.. | Accepted | See previous comment.
PGC | 2.2.1 Step 4 | 2.1.5 Step 4 | Add action steps for Product Supports Group to resolve posting problems | Accepted | Added "Communicate to ERCOT Production Support group if any posting problems are identified and inform DAM Supervisor."
PGC | 2.3.2 Step 3 | 2.2.2 Step 3 | Add steps to follow if data is NOT available | Accepted | Added: If any of the above data is NOT available, stop the Phase II validation process. Inform DAM Desk Supervisor if any DAM timing deviations are necessary. (Refer DAM time deviation process). Communicate issues to ERCOT Production Support.
Luminant | 2.3.2 Step 6 | 2.2.2 Step 6 | REVIEW the adjusted Counter-Party’s Credit Limits. For each QSE Counter-Party’s post the adjusted credit limit to the MIS secure area. | Rejected | Not in current scope (see next related comment).
Reliant | 2.3.2 Step 6 Note | 2.2.2 Step 6 Note | Will ERCOT also notify/contact Market Participants if the Credit limits go low or become negative prior to DAM? | Rejected | Manual workaround for this request would not be necessary if previous comment is placed in scope.
PGC | 2.3.3 Step 4 | 2.2.3 Step 4 | Add steps to follow when Phase II validation is not successfully initiated or completed | Accepted with condition | Production Support Services will be contacted for system issues that prevent Phase II validation from completing. The steps Production Support takes to resolve these issues is outside the responsibility of the DAM Desk Procedures.
Luminant | 2.4.1 Step 3 | 2.3.1 Step 3 | CHECK the availability of the CIM/XML files for the updated Network Model for the target Operating Day D. The model shall be used for real-time process of target Operating Day D and DAM process of target Operating Day D+1 | Accepted | Second sentence was completely removed.
PGC | 2.4.2 Step 4 | 2.3.2 Step 4 | Need more detail in sub-step D (what to do when CIM import scripts have errors) | Accepted | Added: "e. Resolve any errors that have occurred in the above processes"
Reliant | 2.4.2 Step 5 | 2.3.2 Step 5 | Add "Dynamic Transmission Line Limits" to list of data included in CIM/XML file | Clarify | "Dynamic Transmission Line Limits" are reviewed in procedure 2.4.5 Step 3 (EMS data).
Reliant | 2.4.5 Step 1 Note | 2.3.5 Step 1 Note | ADD TASKS TO VERIFY THAT THE WEATHER DATA USED TO CALCULATE THE DYNAMIC RATING LIMITS IS CORRECTLY UPDATED | Clarify | The weather data is used to calculate the dynamic rating limits on the EMS side and any detail should be included in the EMS business process.
Reliant | 2.1 | 2.4 Daily CCT | Add Daily CCT tasks to Day-Ahead Procedures | Accepted | Included now as Task 2.1
Reliant | 2.5 | 2.4 SFT | Will this deadline as defined in the protocols no later than one hour what is needed to support the DAM? Should the normal procedure require that this be posted earlier to avoid numerous DAM offer and bid changes from MPs at the last minute? | Clarify | DAM desk will post SFT results as soon as process is completed but no later than 0900.
Reliant | 2.5.2 Step 2 | 2.4.2 Step 2 | These parameters must be reviewed by the appropriate Market Participant group prior to implementation. Reliant suggests discussion at TPTF and forwarding to WMS and ROS as needed. | Clarify | This task ensures that the parameters are consistent with those set by the stakeholders. Should TPTF provide guidance so that ERCOT can change these parameters to obtain a solution?
Luminant | 2.6.1 Step 3 | 2.5.1 Step 3 | Question: how will MP requests be made (messaging system, phone etc) and who determines whether time is of the essence? Since the period from 0600 to 1000 hrs is extremely busy for both ERCOT and MP, ERCOT will need to administratively manage MP inquiries and complete the procedures described herein? | Clarify | A multi-departmental plan needs to be developed by ERCOT and communicated to MPs.
Reliant | 2.6.3 Step 5-6 | 2.5.3 Step 5-6 | Isn’t there some task that the operator must perform to determine if he should be using RMR now or saving it for later use because of environmental limitations other than just asking the DA System Operations Desk? | Accepted | A new step was added, following the DAM Desk discussion with the DA System Operations Desk and review of the RMR Agreement Step 7: "Disable the Three-Part supply offers if it is required by the operation and environment constraints."
Reliant | 2.6.4 Step 1 | 2.5.4 Step 1 | Is this [verifying COP] needed? What will the operator do if the COP is not right? Is this a requirement of DAM? | Clarify | This task is to verify all resources submitted valid COPs. If a resource is found without a COP, the DAM desk will notify corresponding QSE.
Reliant | 2.6.5 Step 2 | 2.5.5 Step 2 | [Where does the operator review the forecasted temperatures to be used in each weather zone to drive the Dynamic Ratings of Transmission lines that have them?] | Clarify | Forecast temperatures are used on the EMS side to derive the dynamic rating limits, and then transferred to MMS.
Reliant | 2.6.5 Step 2 | 2.5.5 Step 2 | These parameters must be reviewed by the appropriate Market Participant group prior to implementation. Reliant suggests discussion at TPTF and forwarding to WMS and ROS as needed. | Clarify | This task ensures that the parameters are consistent with those set by the stakeholders. Should TPTF provide guidance so that ERCOT can change these parameters to obtain a solution?
Luminant | 2.7.1 Step 1 Note | 2.6.1 Step 1 Note | Note: the following procedure does not address the process by which ERCOT Operators will identify MP offers/bids submitted after the “DAM Close” event. Any offers/bids submitted prior to the “DAM Close” event must be accepted even if validation and following steps complete after the “DAM Close” event. | Accepted | Modified text: "ERCOT operators shall reject any offers/bids for DAM after DAM submission , which is at 1000 unless DAM closing is postponed or aborted. Any offers/bids submitted prior to the “DAM Close” event must be accepted even if validation and following steps complete after the “DAM Close” event. This process will check the DAM close event is in “Completed” status. After DAM closed, all offers/bids for DAM will be rejected."
PGC | 2.7.1 Step 4 | 2.6.1 Step 4 | If DAM still in normal time line, report event failure to DAM log and manually change status to “Start now”. Confusing – wording not correct --? | Accepted | Modified text: If there is no approved DAM time line deviation, report event failure to DAM log and manually change status to “Start now”.
PGC | 2.7.1 Step 6 | 2.6.1 Step 6 | Verify that all DAM submissions before DAM close time have been validated. If all are not validated-- ?? | Accepted | Verify that all DAM submissions with submitted time earlier than DAM close time have been validated and the DAM offer/bids table has been updated.
Luminant | 2.7.2 Title | 2.6.2 Title | Note: Derating applies to all PTP Options, Obligations, and Flow Gates that are initially purchased through a CRR Auction . | Rejected | CRR Derating is ONLY for PTP Option Offers by NOIEs that are declared for Real-Time settlement. (Protocol section 4.4.5 (2))
PGC | n/a | 2.6.2 Step 10 | What should be here -- ???? | Accepted | Deleted empty step.
Reliant | 2.7.5 Step 13 | 2.6.5 Step 13 | Clarify what constitutes unreasonable | Accepted | Change the language to "If any part of the solution appears to be inconsistent from expected results, check the inputs and network data. After data correction, go back to step# 5"
Luminant | 2.7.6 Step 6 | 2.6.6 Step 6 | How will the Operator perform this verification? | Clarify | Verify that the notification of DAM results has been sent to Market Participants and the clearing prices are available on the MIS.
Luminant | 2.7.6 Step 7 | 2.6.6 Step 7 | New Step: There must be at least one-hour between the completion of the DAM clearing and the start of the DRUC process. The DRUC process is normally scheduled to begin at 1430. If the DAM clearing completion time plus 1 hour extends beyond 1430, the DAM Desk Operator shall consult with the DAM Desk Shift Supervisor to determine the need to reschedule the start of the DRUC process. | Clarify | Already included in 2.9.4 Postpone of Day-Ahead Market solutions posting (Step 11)
Luminant | 2.8.1 Step 3 | 2.7.1 Step 3 | Note: Before doing the AS Responsibility Checks described below, the DAM Desk operator should first verify that there are no 20%, ramp rate or LPC/MPC RRS violations deriving from the COP AS entries for both Generation and Load Resources. Capacity in violation cannot be used to meet the QSE’s AS Responsibilities. | Clarify | This is part of COP submission validation.
Luminant | 2.8.1 Step 6 | 2.7.1 Step 5 | The sum of the Non-CLR RRS schedules as computed above must be less than or equal to 50% of the QSE’s total RRS responsibility.. | Clarify | This task is to check individual QSE RRS from Non-CLR and not the system-wide check.
Luminant | 2.8.1 Step 9 | 2.7.1 Step 6 | This sum is computed only for informational purposes | Accepted | Added "This sum is computed only for informational purposes only at this time"
Luminant | 2.8.1 Step 5, 7, & 9 | 2.7.1 Step 7 | • For total RRS, Non-Spin, Reg-Up and Reg-Down, if the difference between QSE COP schedule and its Ancillary Service Supply Responsibilities is above a predetermined amount, normally zero, set the notification flag to “Yes” by QSE by AS type by Hour. • If the amount of RRS schedules from Non-CLR Load Resources exceeds 50% of the total RRS responsibility set the notification flag to “Yes” by QSE by hour. | Clarify & Change | If the total RRS schedule in COP from Non-CLR is greater than its RRS Responsibilities from Non-CLR above a predetermined amount, normally zero, set the notification flag to “Yes” by QSE by AS type by Hour.
Reliant | 2.8.2 Step 1 Note | 2.7.2 Step 1 Note | Is the DAM desk manned 7x24? | Clarify | Currently the DAM Desk will be staffed either 7x10 or 7x12. The process for validating trade submissions is automated and does not require a 7x24 staffed desk.
Luminant | 2.8.3 title | 2.7.3 title | Note: If the intent is to remove this section from the Desk procedure, recommend that it be retained and moved to a separate section or an appendix . | Accepted | Removed from this document.
Luminant | 2.9.2 Step 7 | 2.8.2 Step 7 | Subjects for further discussion at TPTF: • If the DA SFT cannot run and the process is aborted a decision must be made as to whether this fact is sufficient justification to abort the DAM or should CRR clearing revert to the Hedge Value which will allow the DAM clearing to occur. • Should the DAM clearing proceed even if the MCFRI Allocation process is aborted? |  | Request clarification from TPTF.
PGC | 2.9.4 Step 1 Note | 2.8.4 Step 1 Note | Agree that 1400 is the firm final deadline for DAM awards and postings–MPs need to know by then if DAM will not be run - so they can buy/sell in the bilateral day ahead market.
Reliant | n/a | General | ERCOT seems to intend to physically locate the DAM and RUC desks in separate buildings from the RT Control Room Operators. This action will severely limit the interaction between these two groups as well as interactions with the Outage Coordination group, all activities of which are highly integrated. For example, the use of dynamic transmission limits, generic constraints, and special outage arrangements all must be coordinated between these three groups to assure price convergence between DAM and Real Time. For the DAM to be successful, quality communication and understanding between the DAM and RT is imperative. ERCOT should reconsider this decision and locate all personnel involved in DAM and RT together in the same building and near each other to enhance needed face to face communications between these very important functions. Reliant expects the DAM market to transact over $35 billion per year in a total market of over $40 billion. ERCOT must support the required facilities to minimize errors and maximize coordination opportunities between these groups and not impair person to person communications is a very critical area simply by locations in different facilities. |  | Under discussion.
Reliant | n/a | General | Reliant recommend that this procedure clearly state the time frames DAM personnel (including, operators, IT, and mgmt) intend to man the appropriate operating desk. Reliant expects coverage of 7x16 or maybe 7x12 with multiple shifts of personnel..
Reliant | n/a | General | Please expand the procedure to provide framework around subjective wording such as (major, significant, etc.) to more specific guideline. Reliant understands that every operation can not be perfectly timed; however the procedure should indicate the “normal” expected timeline so that Market Participants properly coordinate the DAM processes. | Accepted | Remove subjective wording.
Reliant | n/a |  | Indicates that the Day Ahead desk will run DRUC and HRUC, however these functions seem to be better run by ERCOT's RT operations who will have better visibility of current system conditions. Please explain this logic?

## questions
TPTF comments summary
DAM Operation schedule | 1. DAM operation schedule 7*10, 7*12, 7*16?
2. By 0600 postings, DAM may not be the data source. Who is resposible for the problems?
SWCAP posting | 1. When calculate and publish PNM and SWCAP?
2. When will new SWCAP be valid for submissions, DAM and SCED?
3. What’s the ABB implementation?
4. What the impact of NPRR091?
5. Is temporal procedure needed for short periods (45 days and 46 – 60 days) after nodal go-live?
6. Procedure after two months of nodal implementation?
Before 6:00 | CCT | Procedure and posting
AS Plan/obligation
SWCAP calculation posting
Other Posting review
CIM
Study mode