## Slide 1: PDCWG Report to ROS October 16, 2008
Bob Green
PDCWG Chair
Garland Power & Light

## Slide 2
NERC CPS1 for September 2008 =119.25
NERC Twelve Month rolling Average CPS1 = 120.86

## Slide 3
119.25

## Slide 5
119.25

## Slide 6
133.03

## Slide 10
ERCOT’s Performance to the Proposed New Balancing Authority ACE Limit Standard
Based on 1 minute averages of frequency
For ERCOT: FreqTrigLow=59.932 Hz FreqTrigHigh=60.068Hz
first minute: Event 5 minutes in a row: Alarm 30 min in a row: Violation
Hurricane Ike made landfall at 02:10 am Saturday, Sept. 13th.

## Slide 13
Tuesday, Sept 16th
Sunday, Sept 14th

## Slide 14
Governor dead bands can create resource MW output oscillations

## Slide 16: Comments
The PDCWG met on October 14 and 15.
The PDCWG has been working with the TRE to develop SAR-003, the CPS2 Waiver (BAL-001 Regional Variance).
The PDCWG completed analysis of Wind Generator inertia and governor response.
The PDCWG continues to discuss Nodal market expected control performance.
The next meeting is November 11 and 12.