## Slide 1: Reliability Aspects of Wind Generation
Victor Barry
Director of Compliance

## Slide 2: Reliability, Reliability, Reliability
ROS Wind Request
10/16/2008
Texas RE’s primary concern is the reliability of the BPS
Texas RE’s parallel responsibility is compliance with Protocols, Operating Guides and Standards
FERC delegation agreement places Situational Awareness requirement on Texas RE
Texas RE has no financial interest in any market participant/registered entity
There is a requirement to assess and balance risk with reasonableness

## Slide 3: Regional Wind Generation Strategy
ROS Wind Request
10/16/2008
Texas RE follows the wind initiatives/goals defined by the State of Texas
Generation diversity leads to a more robust portfolio long term
Renewable generation is critical to the future success of the ERCOT region

## Slide 4: Wind Generation Challenges in ERCOT
ROS Wind Request
10/16/2008
Wind generation growth has been exceptionally rapid
Large installed base and concentration of wind generation is a new phenomena with inadequate operating history leading to uncertainty
Protocols have not kept up with the potential impact of wind generation
Standards do not address the operational issues placing the burden back on the ERCOT region
Not knowing the full impact of this new paradigm creates friction with respect to the impact on reliability

## Slide 5: Specific Concerns
ROS Wind Request
10/16/2008
Stability concerns
  Voltage ride through (low and high)
  Frequency ride through (low and high)
  Localized voltage quality
  Localized VAR support
  Ramping
  Scheduling
Operational concerns
  Failure to follow directives
  SPS reliance

## Slide 6: In a perfect world…
ROS Wind Request
10/16/2008
We would have greater clarity of risk
  Studies
Creative application of technology is employed to improve reliability and ability to absorb more renewable energy
  Storage, state of the art generation and control systems
Protocols are updated to address technical and operational concerns
  Proactive vs. reactive process
Transmission adequacy
  Constraints mitigated

## Slide 7: Questions
ROS Wind Request
10/16/2008
How to identify the real reliability issues with the new paradigm?
  Now, next year, long term
What ways can we improve the culture of compliance besides violations and fines?
How does the ERCOT region move to the next level?
  Generator retrofit, transmission upgrades, storage