SSWG REPORT TO ROS

October

The Steady State Working Group met in San Antonio during September 16 – 19 to work on Data Set B cases.

Data Set B cases should be posted on October 15.

Data Dictionary is due November 14.

SSWG continues to work with ERCOT on a new generation dispatch method which was part of the discussion in San Antonio.  ERCOT will put together the method they use and send out for SSWG review.

A discussion was also held about NERC Compliance Standards TPL-001 thru TPL-004, which included a section about constructing a 10 year out case.   SSWG members agreed that their current in-house procedures covered these Standards and there was not a need for SSWG as a group to create this case.

Conversion to PSS/E Version 31 will start for the 2010 DSA cases in March 2010.

Mr. Wes Woitt of CNP was chosen as the new Vice Chairmen for 2010.

AEP has been modeling their connection to Mexico for the past couple of years.  They prepared a paper that provides an explanation of the modeling that represents Mexico’s Comisión Federal de Electridad (CFE) system in the SSWG cases.   This is proposed as Appendix J in the SSWG Procedural Manual.  It is being presented here for ROS approval.