## Slide 1
Texas Regional Entity Compliance Report
September 15, 2008
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 2: Texas RE Monthly Summary
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
August 2008
  Protocol & Operating Guides violations
    0 new violations
  NERC Standards violations
    1 new alleged violation
  Reportable events
    2 new events reported
Notes: Texas RE Board Report
<number>

## Slide 3: Texas RE Monthly Summary (cont.)
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
  Audits
    7 entities audited
    2 entities were issued audit reports
    Audits are on schedule 100%
    Audit Reports are on schedule 100%
  Mitigation Plans in progress for NERC Standards
    1 resulting from self-reporting violations
    6 resulting from self-certification violations
  Settlements
    3 settlements in progress
Notes: Texas RE Board Report
<number>

## Slide 4: Performance Highlights
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
ERCOT’s Control Performance Standard (NERC CPS1) score for August 2008 = 133.03
Initial scores for August 2008 indicate 36 non-wind-only QSEs passed and 1 failed the SCPS2 measure
15 of the 16 active wind-only QSEs or sub-QSEs failed the SCPS2 measure but currently have an exemption from this Protocol requirement
Notes: Texas RE Board Report
<number>

## Slide 5: Texas Regional Entity
Report Details
Notes: Texas RE Board Report
<number>

## Slide 6: NERC CPS1 Performance
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
ERCOT’s CPS1 Performance
  August 2008 Performance
    Monthly comparison
      2008: 133.03
      2007: 132.61
    12 month rolling average comparison
      September 2007 August 2008: 125.49
      September 2006 August 2007: 139.09
PRR 525 Performance
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores
Notes: Texas RE Board Report
<number>

## Slide 7: ERCOT CPS1 Performance Comparison
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 8: ERCOT’s CPS1 Monthly Performance
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 9: ERCOT CPS1 by Time Interval
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 10: QSE PRR 525 10-Minute Interval Scoring
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
*Wind-only QSEs have an exemption from this Protocol requirement.
Notes: Texas RE Board Report
<number>

## Slide 11: August 2008 – SCPS2 Scores
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
*Wind-only QSEs have an exemption from this Protocol requirement.
Notes: Texas RE Board Report
<number>

## Slide 12: Analysis of August 2008 – SCPS2 Scores
The passing wind-only QSE was online for 280 ten minute intervals. Scores are developed for all QSE’s with more than 144 intervals in month, therefore it was only online for approximately 2 days.
The higher scores of the wind-only QSE’s are due in part to the addition of weather monitoring stations and improvements in wind output forecasting.
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008

## Slide 13: Six Month Average Wind-Only SCPS2 Scores
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
*Wind-only QSEs have an exemption from this Protocol requirement.
Notes: Texas RE Board Report
<number>

## Slide 14: Total Number of Wind-Only QSEs
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 15: August 2008 Resource Plan Performance Metrics
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Resource Plan Performance Metric | ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | JG | DK | BT | DE | IP | AP | AO | HA | BY | BC | JA | AY | AM | AR | BR | HJ | DF | CI | AE | AD | BJ | BH | JM | JL | JD | CF | ET | DA | GR | GS | HS | BF
Resource Status | - | 100 | - | 100 | 100 | 100 | 100 | 100 | 99 | 100 | 100 | 99 | 99 | 100 | 99 | - | 99 | 100 | - | 100 | 100 | - | - | - | 100 | 100 | 100 | 100 | - | - | - | -
LSL as % of HSL | - | 99 | - | 94 | 97 | 100 | 98 | 98 | 99 | 100 | 94 | 100 | 82 | 95 | 95 | - | 100 | 100 | - | 100 | 98 | - | - | - | 98 | 99 | 100 | 100 | - | - | - | -
DA Zonal Schedule | 100 | 99 | 100 | 100 | 100 | 98 | 100 | 100 | 100 | 100 | 100 | 93 | 100 | 100 | 98 | 98 | 100 | 100 | - | 100 | 100 | 100 | 100 | 89 | 100 | 99 | - | 99 | 100 | 100 | 100 | 100
AP Zonal Schedule | 98 | 99 | 96 | 100 | 100 | 100 | 100 | 100 | 100 | 99 | 100 | 99 | 99 | 100 | 98 | 100 | 100 | 99 | - | 100 | 99 | 100 | 100 | 98 | 100 | 99 | - | 99 | 100 | 100 | 100 | 100
Down Bid & Obligation | 99 | 95 | 97 | 98 | 100 | 100 | 99 | 100 | 96 | 99 | 98 | 100 | 64 | 97 | 100 | 100 | 81 | 97 | - | 100 | 97 | 97 | 100 | 100 | 100 | 99 | - | 98 | 100 | 100 | 100 | 99
Total Up AS Scheduled | - | - | - | 100 | - | 100 | 99 | 97 | 92 | 98 | 100 | 98 | 97 | 100 | 96 | - | 100 | - | 91 | - | - | - | - | - | 100 | 100 | - | 92 | - | - | - | -
Resource Plan Performance Metric | ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | BE | DP | EU | FX | JH | JI | JN | JJ | JC | CY | BG | CX | FK | HW | CK | IN | IZ | JK | BX | CC | JE | CD | DI | FS | AC | IE | CQ | IV | CR | IO | HM | FY
Resource Status | - | 100 | 100 | - | - | - | - | - | - | - | 99 | 99 | 99 | 100 | - | 99 | 100 | - | 99 | 100 | - | 90 | - | 100 | 99 | 100 | 99 | - | - | 100 | - | -
LSL as % of HSL | - | 100 | 100 | - | - | - | - | - | - | - | 98 | 99 | 99 | 100 | - | 99 | 99 | - | 98 | 98 | - | 100 | - | 100 | 100 | 94 | 97 | - | - | 100 | - | -
DA Zonal Schedule | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 68 | 100 | 99 | 100 | 100 | 98 | 100 | 100 | 100 | 99 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 99 | 100 | 100 | 94 | 100 | -
AP Zonal Schedule | 100 | 100 | 100 | 99 | 99 | 99 | 88 | 99 | 100 | - | 99 | 97 | 99 | 98 | - | 95 | 100 | 100 | 98 | 99 | 100 | 100 | - | 100 | 100 | 91 | 100 | 100 | - | 46 | - | -
Down Bid & Obligation | 100 | 77 | 92 | 100 | 100 | 100 | 62 | 100 | 100 | - | 100 | 94 | 100 | 93 | - | 94 | 100 | 100 | 99 | 99 | 100 | 70 | - | - | 100 | 79 | 92 | 100 | - | 91 | - | -
Total Up AS Scheduled | - | 98 | 100 | - | - | - | - | - | - | - | 99 | 97 | 99 | 89 | - | 83 | 100 | - | 99 | 100 | - | 100 | - | - | - | 89 | 98 | - | - | - | - | 92
 |  |  |  |  |  | 4 Consecutive Failing Scores |  |  |  |  |  |  |  | 3 Consecutive Failing Scores |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  | 2 Consecutive Failing Scores |  |  |  |  |  |  |  | 1 Failing Score |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Notes: Texas RE Board Report
<number>

## Slide 16: Registration Activities
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
NERC Entity Registration issues continue to be addressed and are being resolved
Load-Serving Entity (LSE) registration issues being addressed
  NERC BOTCC made a decision on changing the registry criteria and sent final analysis to FERC for their approval.
    NERC’s decision was to register all DP’s as LSE’s.
    FERC has not approved NERC’s decision.
    Comment period closed on September 2nd. NERC has 15 days, by September 17th, to respond to industry comments to FERC.
    There could be as many as 39 entities registered as LSE’s in ERCOT.
Appeals
  One entity has appealed the a NERC BOTCC decision upholding Texas RE’s decision to register the entity to FERC.
Notes: Texas RE Board Report
<number>

## Slide 17: Registration Activities (continued)
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Joint Registration Organization (JRO) of some entities remains likely
  JRO agreement forms and applications are available online at the Texas RE website.
  The list of current JRO registered entities is available on the NERC website.
ERCOT ISO, as a Transmission Operator (TOP) is in the process of negotiating with NERC registered Transmission Owners (TOs) to reach a TOP JRO agreement
  Up to 28 additional TOPs
  What this means to Texas RE – more and longer compliance audits and self-certifications
  There could be some DP JRO’s
Notes: Texas RE Board Report
<number>

## Slide 18
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
2008 Audits by Registered Function
Notes: Texas RE Board Report
<number>

## Slide 19: 2008 Compliance Audits Scheduled by Entity
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
The 2008 Texas RE Audit Schedule and completed NERC reports are available on the NERC Website.
Notes: Texas RE Board Report
<number>

## Slide 20: Compliance Reviews of Events by Month
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>
NERC Expectations for Events are changing;
Not enough staff/resources
Events are more complicated, do not want to rush into a violation

## Slide 21: Analysis of the Compliance Reviews of Events by Month
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Event Date | Event Name | Potential Violations | Next Step Taken
11/29/2007 | EECP Step 1 | NERC IRO-005, R4 | Final Report - Draft Written
12/12/2007 | Possible DCS Event | Protocol 6.5.4 | Final Report - Draft Written
1/4/2008 | SPS Operation | Standards PRC-016; PRC-017 | Under Texas RE Investigation
1/15/2008 | SPS Operation | Under Texas RE Investigation | Under Texas RE Investigation
1/21/2008 | SPS Operation | Standards PRC-016; PRC-017 | Under Texas RE Investigation
2/19/2008 | Loss of Multiple Elements | Under Texas RE Investigation | Under Texas RE Investigation
2/24/2008 | SPS Operation | Protocol 7.2.3.3 | Under Texas RE Investigation
2/26/2008 | EECP Step 2 | TOP-002 | Under Texas RE Investigation
2/28/2008 | SPS Operation | Protocol 7.2.3.3 | Under Texas RE Investigation
3/10/2008 | SPS Operation | Protocol 7.2.3.3 | Under Texas RE Investigation
3/13/2008 | SPS Operation | Protocol 7.2.3.3 | Under Texas RE Investigation
3/16/2008 | Possible DCS Event | Under Texas RE Investigation | Under Texas RE Investigation
3/18/2008 | Loss of Multiple Elements | Under Texas RE Investigation | Under Texas RE Investigation
3/21/2008 | SPS Operation | Protocol 7.2.3.3 | Under Texas RE Investigation
5/1/2008 | Voltage Dev > 5% | Under Texas RE Investigation | Under Texas RE Investigation
6/11/2008 | Loss of Primary and Backup Computer Systems | Protocol 12.4.4.1 | Under Texas RE Investigation
6/18/2008 | EECP Step 1 | Under Texas RE Investigation | Under Texas RE Investigation
7/27/2008 | SPS Operation | Protocol 7.2.3.3 | 
Notes: Texas RE Board Report
<number>

## Slide 22: Violations of ERCOT Protocols
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>
What are the reasons for the drop off in ERCOT protocols starting in August 2007? CPS Performance has improved. Nine violations are the result of data gathering from pre August. In 2008, there are 2 violations from periodic measurements. Some of the pre-August Protocol Violations are the result of audits (4); most of our audits were performed before the 4th quarter of 2007. There were no violations found in audits after August 2007 (2007 or so far in 2008). No 2007 audits were conducted after September.
Are we focusing too much time on NERC standards and not enough on ERCOT protocols? Whenever there is an event, complaint, audit or self report, Texas RE looks at potential ERCOT Protocol violations as well as NERC Standard violations. Periodic data submittals are also performed once a month to asses ERCOT protocols.
Did ERCOT ISO stop reporting potential incidents to us in response to the go-live date for fines? ERCOT still reports incidents/complaints to Texas RE. Most of the incidents reported (12), within the last year, have dealt with LAAR violations that corresponded to events.
Is there any reason to believe we are not being provided the same level of information from the ISO as we did in the past? Yes. We have noted a reduction in incidents reported by the 24-hour desk. The last 24- hour desk incident related report was 07-02-2007. In review of the Nov 29, 2007 event, the ISO indicated an issue with performance of several QSEs but did not report this to Texas RE. Texas RE had to make specific requests to ERCOT ISO to obtain this information. LaaR incidents are being effectively reported and after August 2007 LaaR incidents made up the majority of the matters reported by the ERCOT ISO for review by Texas RE.
Reasons for Confirmed Not-Mitigated Violations in July and January- July has 2 LaaR violations and we are following up with completion of mitigation plans and January has 1 LaaR violations and we are following up with completion of mitigation plans

## Slide 23: Analysis of the Violations of ERCOT Protocols
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
July 2007 has 1 LaaR violation open
  Texas RE is in the process of reviewing the mitigation plan from the entity and verifying its completion.
Notes: Texas RE Board Report
<number>

## Slide 24: Violations of NERC Standards Reported by Month
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>
Spike in October Explanation: Annual Self Certification performed, after self-certification reviewed by Texas RE, some resulted in violations
Spike in February Explanation: 2007 Self-Certification received from an entity (11), entity did not submit correctly filled out self certification in 2007; 2 from on-site audit

## Slide 25: Analysis of the Violations of NERC Standards Reported by Month
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
There was 1 violation of NERC standards reported in August not subject to penalty because related standard is not enforceable.
5 Violations are in settlement negotiations.
  3 entities in settlement discussions and between them there are 5 violations.
8 Mitigation plans approved by NERC.
Notes: Texas RE Board Report
<number>

## Slide 26: 2007 NERC Standards Self-Certification
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
NERC Registered Entities not audited in 2007 required to self-certify for the actively monitored Reliability Standards applicable to their Registration(s)
  279 Total Registered Functions
  25 violations identified
    9 FAC-008 – lack documented process (3 GOs)
    6 FAC-009 – lack documented process (3 GOs)
    4 CIP-001 – lack documented process (1 GOP)
    3 IRO-004 – lack documented process (2 GOs; 1 GOP)
    3 PRC-005 – relay maintenance delinquent (1 TO; 2 GOs)
Notes: Texas RE Board Report
<number>

## Slide 27: 2007 NERC Standards Self-Certification Violation Status
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 28: 2007 NERC Standards Self-Certification Violation Details
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 29: NERC Standards Self-Reported Violations Pre-June 18th 2007
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 30: Risk Factors for Self-Reported NERC Standards Violations Pre-June 18th 2007
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>

## Slide 31: NERC Standards Self-Reported Violation Categorization Pre-June 18th 2007
RELIABILITY AND OPERATIONS SUBCOMMITTEE REPORT
AUGUST 2008
Notes: Texas RE Board Report
<number>