## Slide 1: TPTF Update for ROS October 16, 2008 Stacy Bridges sbridges@ercot.com
http://nodal.ercot.com <number>
Notes: <number>

## Slide 2
http://nodal.ercot.com <number>
Meeting Summary:
TPTF met twice in September:
  September 8 – 9, 2008
  September 22 – 23, 2008
Notes: <number>

## Slide 3
http://nodal.ercot.com <number>
Meeting Summary – September 8 – 9:
On September 8, TPTF discussed:
  Nodal Status Update
  Core Nodal Projects Status Update
  Nodal Protocol Revision Request (NPRR) Essentiality Status:
    TPTF revisited two previously endorsed NPRR to determine their essentiality for nodal go-live:
      TPTF recognized NPRR146, ICCP Telemetry Information Submittals, as “Needed for Go-Live”
      TPTF recognized NPRR148, Treatment of Financial Information as Confidential, as “Needed for Go-Live”
  Draft NPRR, Corrections of Entities Able to Bid for Point-To-Point (PTP) Obligations in Day-Ahead Market (DAM):
    TPTF endorsed this draft NPRR to be submitted to PRS on behalf of TPTF
    TPTF recognized this draft NPRR as "Needed for Go-Live“
  NPRR143, Section 9.9.1, Invoice Recipient Payment to ERCOT for the Congestion Revenue Rights (CRR) Auction, Clean-up:
    TPTF reviewed NPRR143 and recommended no further changes
    TPTF endorsed NPRR143 as posted by Market Rules
    TPTF recognized NPRR143 to be "Needed for Go-Live"
Notes: <number>

## Slide 4
http://nodal.ercot.com <number>
Meeting Summary – September 8 – 9:
On September 8, TPTF discussed (continued):
  NPRR140, Revision to CRR Obligation Margin Adder
    TPTF reviewed NPRR language proposed by ERCOT to help synchronize posted comments with the current CRR system implementation
    TPTF tabled NPRR140 and requested that interested Market Participants work offline with the CRR team to fine tune the proposed NPRR language for further discussion during the Sept 22 – 24, 2008 TPTF meeting
  Mock Credit Exposure Reports Spreadsheet
    At the request of TPTF, ERCOT provided a Question-and-Answer session for the Mock Credit Exposure Reports spreadsheet (as originally posted to the May 28, 2008 CWG meeting)
  NPRR149, Change the name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)
    TPTF discussed NPRR149 and its purpose for synchronizing the Nodal Protocols with North American Reliability Corporation (NERC) terminology as incorporated by the companion PRR775
    TPTF noted that the term "Energy Emergency Alert" might be confused with the term “Alert” as used elsewhere in Nodal Protocols, so it was suggested that a follow-up NPRR may need to be submitted to replace the term “Alert” with a suitable alternative
    TPTF deferred discussion of NPRR149 until after PRS considers the companion PRR775
Notes: <number>

## Slide 5
http://nodal.ercot.com <number>
Meeting Summary – September 8 – 9:
On September 8, TPTF discussed (continued):
  NPRR136, Interim Solution for 15-Minute Settlement of Advanced Meters
    TPTF discussed ERCOT comments for NPRR136 and endorsed them as posted by ERCOT Market Rules
    TPTF determined the essentiality of NPRR136 to be "Deferred Projects“
On September 9, TPTF discussed:
  NPRR150, Responsive Reserve Service (RRS) Offer Floor
    TPTF reviewed NPRR150, which was submitted by the DSWG on behalf of WMS to establish an offer floor for Responsive Reserve Service to help reduce credit exposure
    TPTF endorsed the technical concept of implementing a RRS Offer Floor to reduce credit exposure for nodal go-live
    TPTF noted that the solution described by NPRR150 does not represent an optimal long-term solution
    TPTF made no comment regarding the value of the offer floor and recommended that the value of the floor be discussed further by WMS and PRS
    TPTF recognized NPRR150 as "Needed for Go-Live"
Notes: <number>

## Slide 6
http://nodal.ercot.com <number>
Meeting Summary – September 8 – 9:
On September 9, TPTF discussed (continued):
  TPTF endorsed the following System Implementation Group (SIG) White Papers:
    SIG0003 Combined Cycle Plants (CCP) v4.0
    SIG0004 Digital Certificates for Counter Parties v3.0
    SIG0005 Load Resource Topology Modeling v2.0
    SIG0006 Flowgate Modeling v2.0
    SIG0007 Block Load Transfer v4.0
    SIG0008 Non-Modeled Generation v4.0
    SIG0009 Resource Node Location v3.0
    SIG0011 Net Generation v5.0
    SIG0022 Transmission Constraint Model for Real-Time CCP Dispatch v3.0
  TPTF discussed issues for the paper SIG0002 Private Use Networks (PUN) v0.26, including options for submitting Ramp Rates to ERCOT as either a function of gross or net Megawatt (MW) output
    A motion to endorse the paper SIG0002 PUN v0.26 failed by roll-call vote
    TPTF deferred additional discussion of the paper to the September 22 – 24, 2008 TPTF meeting
  TPTF deferred discussion of the paper SIG0020 Rounding of MW Values to the September 22 – 24, 2008 TPTF meeting to await vendor input regarding technical issues related to the rounding and truncating of MW values
Notes: <number>

## Slide 7
http://nodal.ercot.com <number>
Meeting Summary – September 8 – 9:
On September 9, TPTF discussed (continued):
  Quick Response Work Group (QRWG) Update
    Draft NPRR Generation Resource Fixed Quantity Block Offer
      TPTF reviewed this draft NPRR, which proposes making revisions to Nodal Protocol Section 4.4.7.2.1, Ancillary Service (AS) Offer Criteria, to revise existing AS Offer criteria to make it similar to that for Load Resources by providing for offers of Non-Spin in fixed quantity and time blocks from off-line Generation Resources
      TPTF endorsed this draft NPRR to be submitted to PRS on behalf of TPTF
      TPTF recognized this draft NPRR as “Nodal Approved Post Go-Live”
    NPRR151, Clarify Definition of Generator Output Breaker in the Outage Scheduler
      TPTF discussed NPRR151 and it as posted by Market Rules
      TPTF declared NPRR151 to be “Needed for Go-Live”
    Discussed Reliability Unit Commitment (RUC) issues for Quick Start Resources
      TPTF requested that this topic be vetted further by the QRWG and revisited during a future TPTF meeting
Notes: <number>

## Slide 8
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 22, TPTF discussed:
  Nodal Status Report
  Nodal Core Projects Status Update
  Outage Scheduler Update
    TPTF discussed issues affecting the nodal Outage Scheduler, including:
      Functionality previously requested to allow Market Participants to enter values for deratings on a cumulative basis
      Functionality previously requested to allow Qualified Scheduling Entities (QSEs), Resources, and PUNS to perform their own Outage entries for any transmission equipment they own
      It was noted that TPTF will need additional time to evaluate how to address the issues in a System Change Request (SCR), to be submitted to the Change-Control Board (CCB) on behalf of TPTF according to the current SCR process
      ERCOT staff agreed to work offline with TPTF members to draft initial language the SCR
Notes: <number>

## Slide 9
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 22, TPTF discussed (continued):
  Early Delivery Systems (EDS) Update:
    TPTF discussed the status of EDS, including recent State Estimator convergence statistics, upcoming Focused Input Testing planned for State Estimator and Security Constrained Economic Dispatch (SCED), and progress made to date for resolving telemetry issues indicated on the EDS dashboards
    It was noted that over the next four months, no changes are planned for the EDS environment, and the only new activity will be Focused Input Testing
    A Focused Input Test II WebExTM kick-off meeting was held October 1st
    A Nodal Resource Registration Data Deep-Dive WebExTM meeting was held September 25th to cover registration-related topics, including the ongoing process for Resource Asset Registration Forms (RARFs)
  Readiness Update
    TPTF discussed staffing and Readiness Metrics, including the current status of ERCOT and Market Participant Readiness
  Readiness Metric MP21, Wind Generation Resources ICCP Telemetry
    TPTF discussed MP21 to address concerns as remanded by TAC on September 4, 2008
    TPTF discussed how metric MP21 will be reported on the Readiness Scorecard
    TPTF recommended revisions to MP21 and endorsed ERCOT moving forward with it as revised by TPTF (see revisions on next slide)
Notes: <number>

## Slide 10
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On October 2, 2008, TAC approved metric MP21 as revised by TPTF
Notes: <number>

## Slide 11
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 22, TPTF discussed (continued):
  Completion for Readiness Metrics
    TPTF discussed the approach that should be used to recognize completion for Readiness Metrics, including the types of information and documentation that TPTF will need to effectively evaluate completion
    TPTF requested a general discussion be provided on a future TPTF agenda to consider the best approach to evaluating completion for readiness metrics
  Proposal to introduce a new Market Participant Readiness Metric
    TPTF discussed a proposal to introduce a new metric MP23, Outage Scheduler Trials Participation, to ensure that QSEs with Resources and Transmission Service Providers (TSPs) are engaged in EDS 4 Outage Scheduler trials
    The new Readiness Metric will be distributed to TPTF Review at a future time
  Process Update
    TPTF has been reviewing ERCOT Business Processes and Procedures:
      On September 22, TPTF discussed the Adjustment Period Supplemental Ancillary Services Market (SASM) Process
      Previously, TPTF reviewed the DAM Process; TPTF will discuss market comments received for the DAM Process during a future TPTF meeting
      Currently, the RUC Procedure is posted for TPTF Review through Oct 10
      Coming up, the Real-Time Process Flow and Business Procedure will be posted for TPTF Review
Notes: <number>

## Slide 12
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 23, TPTF discussed:
  NPRR152, References to Section 22 Attachments
    TPTF discussed NPRR152 and did not recommend any additional changes
    TPTF endorsed NPRR152 as posted by Market Rules and recognized it as “Needed for Go-Live”
  NPRR140, Revision to CRR Obligation Margin Adder
    In a follow-up discussion carried from the Sept 8-9 TPTF meeting, TPTF discussed NPRR140, including the ERCOT staff comments posted by Market Rules to address market comments (LCRA)
    TPTF endorsed forwarding formal TPTF comments for NPRR140 to PRS and requested that WMS, or another subcommittee deemed to be appropriate, would determine the initial values for the equation variables identified in NPRR140
    TPTF recognized NPRR140 as "Needed for Go-Live“
Notes: <number>

## Slide 13
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 23, TPTF discussed (continued):
  CRR Conceptual System Design (CSD)
    TPTF discussed recent updates for the CRR CSD to reflect the current CRR system implementation
    The CRR Business Requirements, also recently updated, will be distributed along with the CRR CSD to TPTF Review following PRS action on NPRR140
  Transmission Congestion Right (TCR) to CRR Transition Plan
    TPTF discussed recent changes to the TCR to CRR Transition Plan as updated to reflect ERCOT Board of Directors (hereafter, The Board) approval for PRR743, TCR Transition to CRR
    It was noted that the TCR to CRR Transition Plan will be distributed for an additional round of TPTF Review prior to being noticed for possible vote during the WMS and TPTF meetings in October 2008
  Discussion of CRR Readiness Metrics
    TPTF discussed whether to close the following CRR Readiness Metrics:
      CRR2, Develop TCR to CRR Transition Plan
      CRR3, Operation of Monthly CRR Auction and Allocation
      CRR5, Operation of Annual CRR Auction and Allocation
    It was noted that closing the CRR metrics at this time may be premature and that the general approach to closing Readiness Metrics, including those for CRR, will be discussed during the Oct 13-14 TPTF meeting
Notes: <number>

## Slide 14
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 23, TPTF discussed (continued):
  QRWG Update
    TPTF received an update from the QRWG regarding its Sept 19th conference call to discuss RUC-commitment issues affecting Quick Start Generation Resources
      The QRWG will hold additional discussion on this topic on October 15, 2008 and will report the results back to TPTF
      It was requested that ERCOT provide additional review of the ERCOT RUC Procedure through TPTF Review following the October 2008 QRWG meeting so that interested Market Participants will have the opportunity to comment on how the ERCOT RUC Procedure might be updated to address RUC-commitment issues affecting all Generation Resources
Notes: <number>

## Slide 15
http://nodal.ercot.com <number>
Meeting Summary – September 22 – 23:
On September 23, TPTF discussed (continued):
  Discussion of SIG papers:
    SIG0020 Rounding of MW Values paper:
      TPTF reviewed this paper as updated to reflect recent vendor discussions
      TPTF endorsed v5.3 of this paper as submitted to TPTF on Sept 23
    SIG0002 PUNs paper:
      TPTF discussed how to revise this paper to incorporate a new option describing how Ramp Rates should be submitted to ERCOT; TPTF endorsed an option whereby:
        The net Ramp Rates submitted for PUN units shall be a function of gross MW output
        All other units shall be submitted as a function of net MW output
        The PUN flag from Common Information Model (CIM) is used as the indicator
      TPTF endorsed the SIG0002 PUN paper v0.26 with the caveat that it will be updated to reflect the TPTF-endorsed option for how Ramp Rates should be submitted to ERCOT
      It was noted that an Impact Analysis will be conducted to determine the costs of implementing the TPTF-endorsed option and that the IA and updates will be discussed at a future TPTF meeting
Notes: <number>

## Slide 16
Vote Summary: September 8 – 9, 2008
Vote Item | Sector | For | Against | Abstention
On September 8, 2008, TPTF endorsed the draft NPRR "Corrections of entities able to bid for PTP Obligations in DAM" as revised by TPTF on September 8, 2008 and agreed to submit it to PRS on behalf of TPTF. TPTF recognized this draft NPRR as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | CitiGroup Energy Inc
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.
Vote Item | Sector | For | Against | Abstention
On September 9, 2008, TPTF endorsed the draft NPRR Generation Resource Fixed Quantity Block Offer as discussed by TPTF on September 9, 2008, to be submitted to PRS on behalf of TPTF and recognized the essentiality of this NPRR as "Nodal Approved Post 'Go-Live.'” | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | CitiGroup Energy Inc, Westar Energy
http://nodal.ercot.com <number>
Notes: <number>

## Slide 17
Vote Summary: September 8 – 9, 2008
Vote Item | Sector | For | Against | Abstention
On September 8, 2008, TPTF endorsed ERCOT comments (dated September 8, 2008) for NPRR136, Interim Solution for 15-Minute Settlement of Advanced Meters, as submitted to TPTF and to recognize the essentiality status of NPRR136 as "Deferred Projects." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer | ■ |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | Shell Energy
http://nodal.ercot.com <number>
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.
Notes: <number>

## Slide 18
Vote Summary: September 8 – 9, 2008
Vote Item | Sector | For | Against | Abstention
On September 8, 2008, TPTF endorsed NPRR143, "Section 9.9.1, Invoice Recipient Payment to ERCOT for the CRR Auction, Clean-up" as submitted to TPTF on September 8, 2008 and recognized it as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | CitiGroup Energy Inc
http://nodal.ercot.com <number>
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.
Notes: <number>

## Slide 19
Vote Summary: September 8 – 9, 2008
Vote Item | Sector | For | Against | Abstention
On September 8, 2008, TPTF recognized NPRR146, ICCP Telemetry Information Submittals, as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | City of Eastland, City of Allen
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | CitiGroup Energy Inc
http://nodal.ercot.com <number>
Vote Item | Sector | For | Against | Abstention
On September 9, 2008, TPTF endorsed the offer floor proposed by NPRR150, Responsive Reserve Service Offer Floor. TPTF made no comment regarding the value of the offer floor and deferred this issue to WMS and PRS. TPTF recognized NPRR150 as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | Luminant, AEP Corp.
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | Exelon, Westar Energy
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.
Notes: <number>

## Slide 20
Vote Summary: September 8 – 9, 2008
Vote Item | Sector | For | Against | Abstention
On September 9, 2008, TPTF endorsed NPRR151, Clarify Definition of a Generator Output Breaker in the Outage Scheduler, as submitted to TPTF on September 9, 2008. TPTF recognized NPRR151 as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | Shell, Exelon, CitiGroup Energy Inc, Westar
http://nodal.ercot.com <number>
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.
Vote Item | Sector | For | Against | Abstention
On September 9, 2008, TPTF declined to endorse the white paper SIG0002, Private Use Networks v0.26, as modified and presented to TPTF on September 9, 2008. | Cooperative |  | ■ | Brazos
 | Municipal | ■ |  | Austin Energy
 | Investor Owned Utility | ■ |  | CenterPoint, AEP Corp
 | Independent Generator |  |  | Calpine
 | Consumer |  |  | 
 | Independent REP |  |  | Stream, StarTex, Strategic, Accent, Cirro, Green Mountain, Integrys
 | Independent Power Marketer |  | ■ | Shell, Tenaska, Westar
Notes: <number>

## Slide 21
Vote Item | Sector | For | Against | Abstention
On September 9, 2008, TPTF endorsed the following SIG White Papers as modified and presented to TPTF on September 9, 2008: SIG0003 Combined Cycle Plants v4.0 SIG0004 Digital Certificates for Counter Parties v3.0 SIG0005 Load Resource Topology Modeling v2.0 SIG0006 Flowgate Modeling v2.0 SIG0007 Block Load Transfer v4.0 SIG0008 Non-Modeled Generation v4.0 SIG0009 Resource Node Location v3.0 SIG0011 Net Generation v5.0 SIG0022 TCM for RT CCP Dispatch v3.0 | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | 
Vote Summary: September 8 – 9, 2008
http://nodal.ercot.com <number>
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.

## Slide 22
Vote Summary: Sept 8 – 9, 2008
Vote Item | Sector | For | Against | Abstention
On September 8, 2008, TPTF recognized NPRR148, Treatment of Financial Information as Confidential, as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | Citigroup Energy Inc
http://nodal.ercot.com <number>
Note: the votes in the above summary are available for pick-up from the Sept. 8 - 9 TPTF Meeting Page.
Notes: <number>

## Slide 23
Vote Summary: September 22 – 23, 2008
Vote Item | Sector | For | Against | Abstention
On September 22, 2008, TPTF endorsed ERCOT moving forward with Readiness Metric MP21, Wind Generation Resources ICCP Telemetry, as revised by TPTF on September 22, 2008. | Cooperative | ■ |  | 
 | Municipal | ■ |  | CPS San Antonio
 | Investor Owned Utility | ■ |  | 
 | Independent Generator | ■ |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | Exelon
http://nodal.ercot.com <number>
Note: the votes in the above summary are available for pick-up from the Sept. 22-23 TPTF Meeting Page.
Vote Item | Sector | For | Against | Abstention
On September 22, 2008, TPTF endorsed forwarding formal TPTF comments for NPRR140, Revision to CRR Obligation Margin Adder, to PRS as discussed by TPTF on September 23, 2008 and to recognize NPRR140 as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | Austin Energy
 | Investor Owned Utility | ■ |  | AEP Corp.
 | Independent Generator |  |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | CitiGroup Energy Inc, Westar
Notes: <number>

## Slide 24
Vote Summary: September 22 – 23, 2008
http://nodal.ercot.com <number>
Vote Item | Sector | For | Against | Abstention
On September 23, 2008, TPTF endorsed NPRR152, References to Section 22 Attachments, as posted by Market Rules and submitted to TPTF on September 23, 2008 and recognized NPRR152 as "Needed for Go-Live." | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | TXU
 | Independent Generator |  |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | Shell, Exelon
Note: the votes in the above summary are available for pick-up from the Sept. 22-23 TPTF Meeting Page.
Vote Item | Sector | For | Against | Abstention
On September 23, 2008, TPTF endorse the white paper SIG0020 Rounding of MW Values v5.3 as submitted to TPTF on September 23, 2008. | Cooperative | ■ |  | 
 | Municipal |  | ■ | 
 | Investor Owned Utility | ■ |  | 
 | Independent Generator |  |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | 
Notes: <number>

## Slide 25
Vote Summary: September 22 – 23, 2008
http://nodal.ercot.com <number>
Vote Item | Sector | For | Against | Abstention
On September 23, 2008, TPTF endorse SIG0002 Private Use Networks (PUN) v0.26, except to reflect the following: The net Ramp Rates submitted for PUN units shall be a function of gross MW output All other units shall be submitted as a function of net MW output The PUN flag from CIM is used as the indicator | Cooperative | ■ |  | 
 | Municipal | ■ |  | 
 | Investor Owned Utility | ■ |  | TXU
 | Independent Generator |  |  | 
 | Consumer |  |  | 
 | Independent REP | ■ |  | 
 | Independent Power Marketer | ■ |  | CitiGroup Energy Inc
Note: the votes in the above summary are available for pick-up from the Sept. 22-23 TPTF Meeting Page.

## Slide 26
http://nodal.ercot.com <number>
Next Meetings:
Next Meetings:
  October 13 – 14
  October 27 – 29
  November 10 – 11
  November 24 – 26
  December 15 – 16
Visit the 2008 TPTF Calendar
Notes: <number>

## Slide 27
http://nodal.ercot.com <number>
Next Meetings (continued):
During the October 13 – 14 TPTF meeting, topics include:
  Nodal Status Report
  NPRR156, Transparency for PSS and Full Interconnection Studies
  Discuss Market Information System (MIS) Dashboards
  NPRR145, PPAs as Resource-Specific Verifiable Costs Documentation
    Assign essentiality status
  NPRR158, EILS Self-Provision Formula Correction and Clarifications
  NPRR159, Resource Category Startup Offer Generic Cap for Wind Resources
  Discuss ERCOT Business Process drafts:
    Initial review of the Real-Time Process Flow
    Discuss market comments for Wholesale Market and DAM Processes
    Discuss market comments DAM Desk Operating Procedure Manual
  Discuss the System Change Request (SCR) Process
  SCR750, Upgrade ERCOT’s Systems so Users Can Upgrade to Internet Explorer 7.0 and Beyond Registration Update
  Discuss recent updates for the paper SIG0002 Private Use Networks
  NPRR155, Clarification of Authorized Representative
  Review market comments for NPRR151, Clarify Definition of a Generator Output Breaker in the Outage Scheduler, as remanded by PRS
  Review market comments for EIP External Interfaces Specification v1.16
Notes: <number>

## Slide 28
http://nodal.ercot.com <number>
Next Meetings (continued):
During the October 27 – 29 TPTF meeting, likely topics include:
  Nodal Status Report
  Initial review of draft NPRR for changes in Section 1, Overview
  NPRR157, Extending Black Start Service Bid Timeline
  Review market comments for the draft SCR, Allow QSEs to Enter Outages for all Assets
  EDS Update
  Readiness Update
  Discuss the types of information and/or artifacts that TPTF will need to review when evaluating completion for nodal Readiness metrics
  Review updates and market comments for:
    Inter-Control Center Communication Protocol (ICCP) Handbook
    Draft NPRR, Removal of Settlement Point LMPs from ICCP telemetry Requirements
    TCR to CRR Transition Plan
    Texas Nodal Process Timeline
Notes: <number>

## Slide 29
http://nodal.ercot.com <number>
Questions
?
Notes: <number>