## Slide 1: Wind Generator Inertia and Governor Response Report
PDCWG Assignment in response to EECP Step #2 on February 26, 2008- ROS Action Plan Item 1e.

## Slide 2: Background
EECP Step 2 occurred on February 26, 2008
On March 11, the PDCWG presented a report to ROS with analysis and recommendations.
The recommendations were:
  ERCOT should try to improve the Short Term Load Forecast to improve load/resource balancing
  Wind only QSEs should be more effective in updating Resource Plans to improve load/resource balancing.
At the next TAC meeting, TAC directeded ROS and the PDCWG to study Wind Generator Inertia and Governor Response.

## Slide 3: Outline of Topics
Ability to control versus willingness to control
Impact on ERCOT bulk power interconnection
Evolution of Wind Generator design to provide:
  Good power regulation
  Voltage Control Capability
  Good voltage and frequency disturbance ride through capability
Lack of inertia parameters but there are technical designs for variable inertia Wind Generators

## Slide 4
Six Month Average Wind-Only SCPS2 Scores

## Slide 8
GE 1.5 MW
5,000 in operation

## Slide 9
SIEMENS
SWT-2.3-82

## Slide 10
Clipper 2.5 MW
NEW

## Slide 11
GE 2.5 MW
NEW

## Slide 12: Concluding Thoughts
Wind Turbines do not have classical governors, but newer units with pitch control could “back down” under steady-state conditions and pick up generation when frequency is low to help with recovery from a major unit trip.
Newer AC-DC-AC units do not supply additional MW from rotating inertia like shaft driven generators, but by rectifier/inverter variations. They may simulate inertia effects by electronic controls just like governor response could be simulated.