Advanced Metering Interim Solution Use Cases

| Use Case Number: 11 | Related Business Requirements: BR-008 |  | Date: 10/16/2008 | Version: v.01 |
| --- | --- | --- | --- | --- |
| High Level Description |  | ERCOT can receive both generation and load data in the .lse file. |  |  |
| Requirement |  | BR-008: Ability for the TDSP to send and ERCOT to distinguish between generation data and load data in an LSE file |  |  |
| Pre-Conditions/Trigger |  | - AMI meter is installed at a premise with small renewable generation. |  |  |
| Scenario 1: TDSP submits and ERCOT accepts both generation and load. |  | - TDSP submits an 814_20 to update the meter data type code to IDR and the profile group and segment code to one that allows for the submission of generation. - TDSP submits a file with two transactions for the same ESI ID for the same day. The first transaction contains the load for that day. The second transaction contains the generation for that day. - ERCOT validates, accepts, and loads both the generation and load. |  |  |
| Scenario 2: TDSP submits and ERCOT accepts both generation and load. |  | - TDSP submits an 814_20 to update the meter data type code to IDR and the profile group and segment code to one that allows for the submission of generation. - TDSP submits a file with the load information for one day. - ERCOT validates, accepts, and loads the load information. - TDSP submits a file with the generation information for the same ESI ID and the same day. - ERCOT validates, accepts, and loads the generation information. |  |  |
| Scenario 3: TDSP submits both load and generation. ERCOT accepts only the load. |  | - TDSP submits an 814_20 to update the meter data type code to IDR. The profile group and segment code do not allow for the submission on generation. - TDSP submits a file with two transactions for the same ESI ID for the same day. The first transaction contains the load for that day. The second transaction contains the generation for that day. - ERCOT validates, accepts, and loads the load information. - ERCOT validates and rejects the generation information |  |  |
| Scenario 3: TDSP submits both. ERCOT rejects both. |  | - TDSP submits an 814_20 to update the profile group and segment code to allow for the submission on generation. The meter data type code remains NIDR. - TDSP submits a .lse file with two transactions for the same ESI ID for the same day. The first transaction contains the load for that day. The second transaction contains the generation for that day. - ERCOT validates and rejects both transactions because the ESI ID is not set up to receive interval data. |  |  |