## Slide 1: Congestion Management Work Group Update
Presented to WMS October 2008
Marguerite Wagner, PSEG TX

## Slide 2: September Work Summary
Progress Report
Met 9/29, (9/15 mtg cancelled –Hurricane Ike)
Discussed
  SP Cap Issues for Nodal
  Outage Evaluation Improvements
  West – North Stability Limit
  Competitive Constraint Test for Nodal
Request WMS Action on:
  SP Cap Paper
  Direction on Outage Evaluation

## Slide 3: Nodal SP Cap Recommendation
Nodal Protocols 6.5.7.1.11 require ERCOT to “establish a maximum Shadow Price for each constraint…”
Each contingency used in SCED must have a max SP cap
IMM & CMWG discussed SP Caps – Late Spring
IMM Developed Proposal/CMWG Comment/Discussion - Summer
CMWG Recommends Endorsing SP Cap Paper and requests that WMS forward to TAC for consideration

## Slide 4: Nodal SP Cap Recommendation
“…objective in establishing …penalty factor values is to provide an appropriate balance between ensuring reliable system operations, preventing inefficient redispatch, ensuring efficient pricing outcomes during locational or system-wide scarcity conditions, and observing the applicable system-wide offer cap levels” [From Potomac Economics Work Paper: “Proposal for Initial Nodal Constraint Shadow Price Cap and Power Balance Penalty Factor Values” for WMS Consideration Today]

## Slide 5: Nodal SP Cap Recommendation
CMWG endorses IMM SP Cap Recommendations
Paper being forwarded to WMS for consideration
Constraints:
  N-1
    345 kV: $4,500/MW
    138 kV: $3,500/MW
    69 kV: $2,800/MW
Power Balance:
  $3,001/MWh
  ERCOT submitted Change Request to develop the power balance penalty factor as a curve instead of a single value
Values should be used in nodal testing and results of tested values should be discussed

## Slide 6: Nodal SP Cap Recommendation

## Slide 7: Outage Evaluation Issues
Areas of General CMWG Agreement
  Market needs better advance information on the state of the transmission system for TCR/CRR auctions
  Efficient operation of the system by Market Participants & ERCOT benefits consumers
  Better communication channel for coordination between Resources and TSPs might be helpful
Lots of disagreement about how to achieve the above goals

## Slide 8: Outage Evaluation Issues
CMWG recommends that WMS vote to make policy cuts about whether CMWG should evaluate:
  Outage reporting requirements outlined in the Protocols? Should earlier submission of outages be required?
  Are current Protocol requirements sufficient?
Should ERCOT estimate the cost of potentially significant transmission outages?
  What threshold of significant costs?
  What is the necessary precision of the cost estimate?
  On what time horizon?
Should outage metrics be developed?

## Slide 9: Outage Evaluation Issues

## Slide 10: WN Dynamic Stability Limit ?s
Is there a single dynamic stability model?
Are we correctly modeling:
  Wind technologies on the system?
  Power System Stabilizers as they are operating?
Are Power System Stabilizers properly tuned?
What are the effects of load and wind output on the Stability Limit?
What would the transfer limit be if all thermal units in the West Zone had Power System Stabilizers?
How much impact do other units located outside of the West Zone have on the WN Dynamic Stability Limit?
Timing for updating stability studies?

## Slide 11: Competitive Constraint Test
ERCOT reviewed their evaluation results
Existing CSCs did not pass the test
  WEST-NORTH Graham - Parker
  WEST-NORTH Graham - Benbrook
  SOUTH-NORTH Sandow Switch - Temple
  NORTH-HOUSTN Jewett - TH Wharton
CMWG questions about ERCOT process/case assumptions
ERCOT to develop description of case assumptions – CMWG will Review/Discuss

## Slide 12: Other
2008 Goal Tracking…Significant Progress
  Competitiveness Constraint Test Support
  Nodal Shadow Price Cap Development
  CSCs for 2009
Goals Added along the way
  PRR 764…2008 CRE Evaluation
  Outage Evaluation Improvements
  Boundary Generation?
Upcoming Meetings: 10/30