Advanced Metering Interim Solution Use Cases

| Use Case Number: 13 | Related Business Requirements: Issue discussed at first MARS meeting |  | Date: 10/01/2008 | Version: .03 |
| --- | --- | --- | --- | --- |
| High Level Description |  | No changes will be made to the way that retail orders are completed on AMI ESI IDs. |  |  |
| Requirement |  | The NIDR 867_03F used to complete retail orders will continue to use 23:59:59 of the day prior to the date provided in the transaction to end the service instance row. |  |  |
| Pre-Conditions/Trigger |  | Premise has an AMI meter installed. |  |  |
| Scenario 1: Move Out de-energizes the premise. |  | - Current CR submits a MVO requesting 7/22/2008. - TDSP reads meter on 7/22/2008 at 14:03:00. - TDSP sends the NIDR 867_03F to complete the MVO with a meter read date of 7/22/2008. - ERCOT ends the CRs relationship and de-energizes the ESI ID as of 7/21/2008 23:59:59. - TDSP submits AMI meter information through 7/22/2008 23:59:59. (After 14:03:00 the info is zero filled.) - Since the ESI ID is de-energized in ERCOT’s system on 7/22/2008, the AMI IDR data for 7/22/2008 is not used in settlement. |  |  |
| Scenario 2: Move In force out. |  | - ESI ID is energized with Rep 1. - Rep 2 submits a MVI requesting 7/22/2008. - TDSP reads the meter on 7/22/2008 at 14:00:00. - TDSP sends the NIDR 867_03F to close out the previous relationship and complete the MVI with a meter read date of 7/22/2008. - ERCOT ends the service instance for Rep 1 at 7/21/2008 at 23:59:59 and starts the service instance for Rep 2 at 7/22/2008 00:00:00. - TSDP submits AMI interval data for 7/22/2008 – the full day. - Since Rep 2 is the Rep of Record for the ESI ID on 7/22/2008, all the usage for that day is settled against Rep 2. |  |  |

| Scenario | Rep of Record History | Profile Code Meter Type | 867_03F NIDR | AMI Interval Data | 810 | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1: Move Out | Rep 1: start 1/1/2008 00:00:00 stop 7/21/2008 23:59:59 | IDR | start - 06/22/2008 stop - 07/22/2008 (interpreted as 07/21/08 23:59:59) | daily reads through 7/22/2008 23:59:59 | start - 06/22/2008 stop - 07/22/2008 (interpreted as 07/21/08 23:59:59) | ESIID not included in the 07/22 settlement due to stop time on service instance although usage is available. |
| 2: Move In force out | Rep 1: start 1/1/2008 00:00:00 stop 7/21/2008 23:59:59 Rep 2: Start 7/22/2008 00:00:00 | IDR | For Rep 1: start - 06/22/2008 stop - 07/22/2008 (interpreted as 07/21/08 23:59:59) This will contain usage through 7/22/2008 at 14:03:00. Rep 2: The 867_03 for Rep 2 will have usage starting at 14:03:00. | daily reads through 7/22/2008 23:59:59 and continuing | For Rep 1: start - 06/22/2008 stop - 07/22/2008 (interpreted as 07/21/08 23:59:59) This will contain usage through 7/22/2008 at 14:03:00. For Rep 2: The 810 for Rep 2 will have usage starting at 14:03:00. | In settlement, all the usage from 7/22/2008 will go to Rep 2 since they are the ROR on 7/22/2008. |