Draft OWG Meeting Notes 08/20/08

9:30 Meeting opened with Antitrust Admonition

- ROS meeting notes reviewed.

  - OGRR208, EECP Step 2 procedure proposal

- Texas RE Operations Seminar from Lynley Ellisor

  - Seeking suggestions for the Operations Seminar.

  - Jack T suggested Lynley put out an email onto the OWG exploder list.

  - Possible Topics

    - What does VSS mean?  Generation relaying, the coordination of relays.

    - Protective relaying.

    - Items from the ERCOT certification manual – voltage control and relay.

    - EECP and Emergency Operations.

    - February 26th and the Florida event.

    - Wind Events.  CREZ update.

    - Update from a planning aspect.

  - Meeting in September will finalize – February, March, April.

- Thuy Huynh gave the highlights of the June Operations Report and the June 18th EECP report.

  - Jack T asked about the DCS Event that happened earlier and asked if it was in fact a DCS event.  Through analysis it was not a DCS event.

- Operations Task Force update.

  - Currently going through the security plan.  Not all the market participants are involved.  They may need to report these facts at the Operations Task Force meeting.

  - May add the SSRG quarterly test results to the monthly operations report.  Backup people are answering phone and the operators don’t know information and has to call the client reps for the information.  Will need in-house training, results reported will provide some direction.

  - Colleen will be the point of contact for this information.

  - Issues with terrorism, sabotage, etc.

    - Black Start Task Force update

  - ROS is okay with the two year cycle and this will need a protocol change for it.  John Dumas from ERCOT was going to take the action on this item.

- John Jonte gave the Operating Guides Task Force update.

  - OGRR 208 – OGR did preliminary work on the wordings.  Grandfathering has been addressed.

  - Grandfathering about 1100 MW of units.  GIAs submitted before January 1, 2003.

  - Some of these turbines that are out there are already compliant – but would like to have the others right away.

  - One bulletin – discussing what NEEDS to be done to be compliant.  Schedule of compliance…”All WGRS shall provide a status of compliance with the requirements of Section 3.1.4.6.1.  All non-exempt WGRs shall provide an implementation plan for compliance with the requirements of Section 3.1.4.6.1 to ERCOT System Planning by July 1, 2009.”

  - ERCOT may need a form provided to see what kind of information is required to report.

  - Market notice would have the attached form.

  - OGRR 212 – EECP Media Appeal.   Takes it out of EECP and allows ERCOT to call it when they need it.

- Texas RE update with Brent Torgrimson

  - SAR 2, 3 would be of interest, NERC website.  August 28th RSC is cancelled, agenda is thin.

- Colleen Frosch gave the new bulletins from System Operating Report

  - 381 – moved CFE references into DC Tie.

  - 380 – changed a few words in the EECP Desk Procedure.  Procedure for approving NERC Tags was added.

  - PRR added in EECP – and NERC is questioning the curtailment reference.  EEA 2a and EEA 2b would correlate to the NERC steps.

  - CSC data – opened a SIR to move CSC data to ICCP due to not an easy fix.

- Other items:

  - 2 year cycle of the selection of units…simulations on ERCOT simulator.

  - Wind workshop 2 on Friday.

Meeting is at the Taylor Room TCC1 253 on September 17th, 2008.  September 17th OWG meeting cancelled.