| PRR Number | 771 | PRR Title | Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources |
| --- | --- | --- | --- |
| Impact Analysis Date |  | October 23, 2008 |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project required. The PRR can take effect upon ERCOT Board approval. |  |
| ERCOT Staffing Impacts (across all areas) |  | No additional full time equivalents (FTEs) needed. |  |
| ERCOT Computer System Impacts |  | No system changes required. |  |
| ERCOT Business Function Impacts |  | Existing business processes can accommodate this revision request. |  |
| Grid Operations & Practices Impacts |  | Maintains system reliability as it allows ERCOT to avoid frequency spikes due to the Wind-powered Generation Resources (WGRs) ability to ramp up or ramp down almost instantaneously. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None.

Evaluation of Interim Solutions (e.g., manual workarounds)

None.

Feasibility of Implementation

Impact on Resource Availability: None. Impact on Other Projects: None.

Comments

None.