| PRR Number | 779 | PRR Title | Transparency for PSS and Full Interconnection Studies |
| --- | --- | --- | --- |
| Date |  | October 23, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Ken Donohoo |  |
| E-mail Address |  | kdonoho1@oncor.com |  |
| Company |  | Oncor |  |
| Phone Number |  |  |  |
| Cell Number |  |  |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Oncor offers the following changes in Section 12.3, Transmission-Related Information.  The reference should be specific to interconnect agreements with generators and not just interconnection agreements.

Revised Proposed Protocol Language

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities.  The Protected Information status of this information shall expire seven (7) days after the applicable Operating Day.

(2)	Bids or pricing information identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(3)	Status of Resources including but not limited to Outages or limitations or scheduled or metered Resource data.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(4)	Resource Plans.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(5)	Energy and Ancillary Service schedules identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, paragraphs (10), (11) and (12) and RPRS deployments for Local Congestion as provided in paragraph (11) of Section 6.5.6, Replacement Reserve Service.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(8)	Settlement Statements identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one hundred and eighty (180) days after the applicable Operating Day.

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI IDs identifiable to a specific LSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than three hundred and sixty five (365) days after the applicable Operating Day.

(10)	Information related to generation interconnection requests prior to a request for full interconnection study, to the extent such information is not otherwise publicly available.

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information.

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder.  The Protected Information status of this information shall expire as follows:

(a)	The Protected Information status of the identities of initial Auction Purchasers shall expire at the end of the auction; and

(b)	The Protected Information status of all other TCR information identified above in this paragraph (12) shall expire six (6) months after the year in which the TCR was effective.

(13)	Renewable Energy Credit account balances.  At the end of the REC Settlement period, this information shall cease to be Protected Information three (3) years after the Settlement period.

(14)	Credit Limits identifiable to a specific QSE.

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service.

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT.

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements.

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides.

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information.

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph shall not apply to ERCOT in regard to its compliance with P.U.C. Substantive Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

(22)	The unavailability of Switchable Resources to the ERCOT System and supporting documentation submitted pursuant to paragraph (5) of Section 16.5.3, Requirements for Reporting and for Changing the Terms of a Resource Registration, except for reporting the aggregate capacity of Switchable Resources for Reserve Margin calculations.

(23)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity.

(24)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Sections 5.6.3, Operating Condition Notice, 5.6.4, Advisory, and 5.6.5, Alert; and as defined by the Operating Guides.

1.3.1.2	Items Not Considered Protected Information

Notwithstanding the foregoing, the following items shall not be considered Protected Information, even if so designated:

(1)	Data comprising Load flow cases.  Such data may include estimated peak and off-peak Demand of any Load;

(2)	Power System Stabilizers at each interconnected Generation Resource and Power System Stabilizer status;

(3)	RMR Agreements, applicable portions of studies, reports and data, excluding information that is otherwise considered as Protected Information according to Section 1.3.1.1, Items Considered Protected Information, used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability, and status of RMR Units and RMR Synchronous Condenser Units;

(4)	Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Section 6.5.9, Reliability Must-Run Service;

(5)	Black Start Agreement terms;

(6)	All OOMC, OOME, and RMR studies performed and used by ERCOT as the basis for their OOMC, OOME, and RMR deployment decisions;

(7)	Immediately subsequent to a request from a potential generating Facility for a full interconnection study, the county in which the Facility is located, Facility fuel type(s), Facility nameplate capacity, and anticipated in-service date(s), and

(8)	Any other information specifically designated in these Protocols or in P.U.C. Substantive Rules as information to be posted to all Market Participants or to the public.

Protected Information that Receiving Party is permitted or required to Disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.

12.2	ERCOT Obligation to Provide Information

The MIS shall accommodate the posting of information as directed throughout these Protocols.  This information shall include:

(1)	Transmission-related information, including full interconnection requests as described in Section 1.3.1.2, Items Not Considered Protected Information,

(2)	Market-related information,

(3)	Current and forecasted system conditions of relevance to the commercial operations of Market Participants,

(4)	System conditions related to reliability, and

(5)	Other ERCOT System related information.

MIS is not to be used as a marketplace for transmission rights or other products or services.  The ERCOT MIS shall include security measures to protect the confidentiality of Market Participants’ Protected Information.

ERCOT shall promptly post information, other than Protected Information, that it receives during the course of ERCOT’s day-to-day operations and that may have commercial impacts on the market for energy, Ancillary Services or transmission cost.

To the extent practicable, ERCOT shall post on the MIS information requested by Market Participants but not required to be posted by these Protocols.

12.3	Transmission-Related Information

ERCOT shall post to the MIS transmission related information, including information pertaining to Transmission Congestion Rights, CSC capabilities, ERCOT standards and procedures, and the matrix of Congestion Zone Shift Factors used to calculate CSC impacts.  ERCOT shall also post information related to full interconnection requests as set forth in Section 1.3.1.2, Items Not Considered Protected Information no less than once per month.

Within ten (10) Business Days of executing a generator interconnection agreement, the Transmission Service Provider shall provide a copy to ERCOT.