Advanced Metering Interim Solution Use Cases

Error Codes

| Error Code | Error Description | How MRE should interpret this error | How MRE should correct this error and any DATA ELEMENTS provided |
| --- | --- | --- | --- |
|  | Data loaded successfully | Data record completed successfully within ERCOT’s system. | No corrections needed. |
|  | Mandatory data element missing | Data cannot be loaded because a mandatory data element is missing. | Correct data record and resubmit. |
|  | Value is invalid. | Value provided is not valid for the element it is provided in. | Correct data record and resubmit. |
|  | Value is not formatted correctly | Data record contains an element that is incorrectly formatted. | Correct data record and resubmit. |
|  | ESI ID does not exist. | There is no record in ERCOT’s system of the ESIID contained in the data record. | Research required by TDSP before submitting data record where no ESIID exists in ERCOT’s system. Data corrections/transactions should be submitted through the appropriate channel to correct. |
|  | Data sent does not coincide with current ESIID history record | The ESIID exists in ERCOT’s system but the STARTTIME of the usage being sent in the data record is not contained in ERCOT’s records for this ESIID service history. | Research required to determine if the STARTTIME of the usage record or of the ESIID is incorrect. Data corrections/transactions should be submitted through the appropriate channel to correct. |
|  | Sender is not the owner of ESIID (Incorrect MRE-DUNS) | The ESIID exists in ERCOT’s system but it is serviced/owned by different MRE entity. | This MRE should not attempt to resubmit this usage data record. |
|  | Data record STARTTIME occurs after or is equal to transaction STOPTIME | In ERCOT’s system, STOPTIME of the data record must always occur after its STARTTIME. | MRE should submit data record where STOPTIME occurs after its STARTTIME. |
|  | Data record does not conform to system standards | The data record received by ERCOT’s system could not be processed as it is formatted incorrectly. | Contact ERCOT for details. |
|  | Incorrect interval status | The data record had an incorrect number of non-missing values or some of the interval values had a missing status. | MRE should resubmit data record for the same period which contains X number of non-missing interval values. This expected number will be found in DATA1 field.DATA1 will contain the number of intervals expected by Lodestar for this data record. |
|  | Incorrect meter type I don’t think this validation makes sense for the .lse file. | The transaction data submitted for this particular ESIID/RESID contained incorrect meter-type information. | MRE needs to resubmit transaction with correct meter-type for this ESIID/RESID. ERCOT will provide MRE expected meter-type and meter-role for that ESIID/RESID in DATA1 and DATA2 fields, respectively. DATA1 is a 2-character data element specifying meter-type for this ESIID/RESID in Lodestar. Possible values are K1, K2, K3, etc. DATA2 is the meter-role for this ESIID/RESID in Lodestar. Possible values are “Additive” or “Subtractive”. |
|  | Incorrect meter role I don’t think this validation makes sense for the .lse file. | The transaction data submitted for this particular ESIID/RESID contained incorrect meter-role information. | MRE needs to resubmit transaction with correct meter-role for this ESIID/RESID. ERCOT will provide MRE expected meter-type and meter-role for that ESIID/RESID in DATA1 and DATA2 fields, respectively. DATA1 is a 2-character data element specifying meter-type for this ESIID/RESID in Lodestar. Possible values are K1, K2, K3, etc. DATA2 is the meter-role for this ESIID in Lodestar. Possible values are “Additive” or “Subtractive”. |
|  | Total usage is over allowable threshold | Total usage value exceeds allowable threshold specified by ERCOT and/or market participants. | MRE needs to resubmit data record so that Total usage value is consistent with what is expected by ERCOT. ERCOT will indicate the average daily usage (ADU) value in DATA1 field as determined by the total usage supplied divided by the number of days in the read. The upper limit allowed by ERCOT for ADU values is provided in DATA2 field. |
|  | Total generation is over allowable threshold | Total generation value exceeds allowable threshold specified by ERCOT and/or market participants. | MRE needs to resubmit transaction so that the total generation value is consistent with what is expected by ERCOT. ERCOT will indicate the average daily generation value in the DATA1 field as determined by the total generation supplied divided by the number of days in the read. The upper limit allowed by ERCOT for average daily generation values is provided in DATA2 field. |
|  | Negative usage found | Negative usage has been found with in the data record submitted | MRE needs to correct all negative usage values and resubmit the data record. DATE1 field will be populated with the interval time stamp of the most extreme minimum value. Please be aware that more negative values may also exist. Error will only identify the most extreme negative value. |
|  | Data does not contain a whole (24 hour) day. | IDR data submitted does not contain a whole (24 hour) day, which causes partial day estimation for settlements. | MRE should resubmit usage data in whole day cut. |
|  | ESIID not setup to receive IDR DATA | The ESIID exists in ERCOT’s system but the channel/recorder does not exist. | TDSP should verify Profile Code has a metertype of IDR for period of usage. If metertype is not IDR, TDSP should submit an 814_20 Profile Code update. If metertype is IDR, TDSP should contact their Retail Account Manager. |
|  | Generation value for specific period was not expected but submitted. | ESI ID is not set up to receive generation data. | MRE should submit transaction for which usage starts on DATE1. DATE1 is the STARTTIME of the profile causing the error. DATA2 <profile associated with ESIID for specified time period. |

| Use Case Number: 02 | Related Business Requirements: BR-001.01 BR-001.04 BR-001.05 BR-001.06 BR-001.07 BR-007.02 |  | Date: 9/30/2008 | Version: .05 |
| --- | --- | --- | --- | --- |
| High Level Description |  | ERCOT performs data content and business validations on each data record submitted prior to loading the data. ERCOT will generate an extract for the TDSP to indicate which data loaded successfully and which data failed to load (for content or business validations). |  |  |
| Requirement |  | BR-001.01: Ability for the TDSP to send and ERCOT to receive a file size of X amount (1 or more ESIIDs per file with no less than a complete day’s worth of 15 minute usage data for each ESIID included in the file, including zero fills, if necessary in the event the power is off and there is Nothing to read – cannot send null)). BR-001.04: Ability for the TDSP to create an LSE file that includes one header record for each complete day for each ESIID in the file (this does not preclude including multiple days for an ESIID in the file as long as each complete day has a unique header record). BR-001.05: Ability for ERCOT to perform a validation on the LSE file received from a TDSP to ensure that the LSE file can be attempted to be loaded into ERCOT systems Note: The validation is not at the transaction posting level. It is at the file level. BR-001.06: Ability for ERCOT to notify the TDSP if there is an instance that the LSE file cannot be read. Note: The notification is not at the transaction posting level. It is at the file level. BR-001.07: Ability for the TDSP to send to ERCOT load and generation KWH data values with 3 significant digits to the right of the decimal. BR-007.02: Ability for ERCOT to generate a notification to the TDSP that data did not load successfully, in a report: - ESIID does not exist - Sender is not the owner of the ESIID - ERCOT is the Meter Reading Entity (MRE) - Transaction start time occurs after or is equal to transaction stop time - Incorrect interval status/Missing interval status - Transaction must be for one complete day containing 96 intervals and 92 or 100 for DST days - Data does not contain a whole day starting at 00:00:00 and ending at 23:59:59 - Negative usage - ESIID not setup to receive interval data <TDSP must submit an IDR meter type profile code change prior to sending interval data> - The profile code meter type is not IDR. - No more than 3 significant digits to the right of the decimal |  |  |
| Definitions |  | Term; Definition. Transaction; One set of header and detail rows. A transaction contains the 15 minute interval data for one ESI ID for one operating day. The terms transaction and data record can be used interchangeably.. Data Record; One set of header and detail rows. A data record contains the 15 minute interval data for one ESI ID for one operating day. The terms transaction and data record can be used interchangeably.. File; The transactions or data records that are submitted together in one file.. |
| Pre-Conditions/Trigger |  | - TDSP submits a file to ERCOT using the NAESB protocol. - ERCOT receives the file. - ERCOT sends NAESB acknowledgement of receipt. - TDSP receives NAESB acknowledgement of receipt. |  |  |
| Scenario 1: One transaction loads successfully. |  | - ERCOT validates the file. File contains one data record. - The data record passes the data content validations. - The data record passes the business validations. - Data loads successfully. - Extract shows that data record was successfully loaded. |  |  |
| Scenario 2: Multiple transactions load successfully. |  | - ERCOT validates the file. File contains multiple data records. Each data record has the appropriate header and data rows. - Each data record passes the data content validations. - Each data record passes the business validations. - All data records load successfully. - Extract shows that all data records successfully loaded. |  |  |
| Scenario 3: One transaction in a file fails validation. |  | - ERCOT validates the file. File contains multiple data records. - One transaction contains a content error. As soon as the error in that data record is found, validations on that data record stop. - Validations continue for the rest of the data records. - The remaining data records pass content and business validations. - All remaining data records load successfully. - Extract shows the one data record that failed and provides information on the type of error. The extract shows that all other data records from the file successfully loaded. |  |  |
| Note: |  | The examples below do not attempt to cover every variation of valid and invalid rows. These are just a few examples for illustrative purposes. |  |  |
| Header Row One Examples of valid rows |  | All elements in header row one are mandatory. Valid example for load – 00000001,100000000000000,4,20080510000000,20080510235900,Y,N Valid example for generation - 00000001,100000000000000,1,20080510000000,20080510235900,Y,N |  |  |
| Header Row One Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000002,100000000000000,4,20080510000000,20080510235900,Y,N (incorrect sort code) 00000001,100000000000000,4,20080510000000,20080510235900 (missing last 2 elements) 00000001,100000000000000,,20080510000000,20080510235900,Y,N (missing channel) 00000001,100000000000000,,20080510000000,20080510235900,Y,Y (final element must be N) 00000001,100000000000000,4,20080510000000,20080509235900,Y,N (stop time prior to start time) |  |  |
| Header Row Two Examples of valid rows |  | Example of a valid row two with default values in all optional elements 00000002,0,0,0,0,0,0,900,01,1,-1,0.0,0.0,CST Example of a valid row two with all optional elements left blank. Correct number of commas is maintained. 00000002,,,,,,,900,01,,,,,CST |  |  |
| Header Row Two Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000002,0,0,0,0,0,0,900,01 (missing final elements in row) 00000002,,,,,,,600,01,,,,,CST (incorrect seconds per interval) 00000003,0,0,0,0,0,0,900,01,1,-1,0.0,0.0,CST (incorrect sort code) |  |  |
| Header Row Three Examples of valid rows |  | Both elements in header row three are mandatory. 00000003,UNIQUETRANID0123456789 |  |  |
| Header Row Three Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000003, (missing second element) 00000002,UNIQUETRANID0123456789 (incorrect sort code) 00000004,UNIQUETRANID0123456789 (incorrect sort code) |  |  |
| Header Row Four Examples of valid rows |  | All elements in header row four are mandatory. 00000004,20080511220000,Z |  |  |
| Header Row Four Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000004,20080511220000,A (incorrect origin) 00000004,20080511220000 (missing origin) 00000004,,Z (missing timestamp) 00000005,20080511220000,Z (incorrect sort code) |  |  |
| Header Row Thirty Examples of valid rows |  | All elements provided. 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049,REP=111111111 CR DUNS not provided 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049,REP= |  |  |
| Header Row Thirty Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049, (missing final element) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=,Sender=666666666,Receiver=183529049,REP=111111111 (missing MRE DUNs) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,666666666,Receiver=183529049,REP=111111111 (missing Sender= in front of DUNS) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=666666666,REP=111111111 (receiver DUNS must equal ERCOT) 00000005,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049,REP=111111111 (incorrect sort code) 00000030,,MRE=666666666,Sender=666666666,Receiver=183529049,REP=111111111 (missing the ATTRIBUTE_VALUE_PAIRS designation) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049, (REP= is mandatory, even if the DUNS is not provided) |  |  |
| Detailed Record Examples of valid rows |  | Example of 4 actual reads 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, Example of 4 estimated reads 10000001,66.81,E,,66.52,E,,67.11,E,,67.11,E,, Example of 4 updated reads 10000002,67.11,U,,66.52,U,,66.81,U,,66.82,U,, Example of mixed actual, estimated, and updated reads 10000003,67.11,A,,66.52,A,,66.81,E,,66.82,U,, Example with 2 missing intervals and status code of 9 10000004,68.29,A,,,9,,,9,,67.99,A,, |  |  |
| Detailed Record Examples of invalid rows |  | These rows will cause the entire data record to fail – 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, (all detailed rows have same sort code) 10000000,68.29,A,69.17,A,67.99,A,67.99,A, (extra comma for the empty value missing) 10000000,68.29,A,, 10000001,69.17,A,, 10000002,67.99,A,, 10000003,67.99,A,, (each detailed row has only one read) 10000000,.2948,A,,.17,A,,.999,A,,.9,A,, (more than 3 digits to right of decimal) 10000004,68.29,A,,,A,,,A,,67.99,A,, (missing interval does not have a status code of 9) 10000005,68.29,A,,,,,,,,67.99,A,, (missing intervals have no status code) |  |  |