Advanced Metering Interim Solution Use Cases

| Use Case Number: 15 | Related Business Requirements: Requested by Market at MARS meeting |  | Date: 10/28/2008 | Version: v.01 |
| --- | --- | --- | --- | --- |
| High Level Description |  | Scenario detailing how switching will work on an AMS meter. |  |  |
| Requirement |  | No ERCOT system changes required for this use case. |  |  |
| Pre-Conditions/Trigger |  | Premise has an AMS meter provisioned. |  |  |
| Scenario 1: |  | - ESI ID is energized with Rep 1. - Rep 2 submits an on cycle Switch. - TDSP schedules and completes the switch on 7/22/2008 at 14:00:00. - TDSP sends the NIDR 867_03F to close out the previous relationship and complete the Switch with a meter read date of 7/22/2008. - ERCOT ends the service instance for Rep 1 at 7/21/2008 at 23:59:59 and starts the service instance for Rep 2 at 7/22/2008 00:00:00. - TSDP submits AMI interval data for 7/22/2008 – the full day. - Since Rep 2 is the Rep of Record for the ESI ID on 7/22/2008, all the usage for that day is settled against Rep 2. In addition, the .lse file for 7/22/2008 will be in Rep 2’s folder on the FTP site with a full day’s worth of intervals. |  |  |

| Data | Rep 1 | Rep 2 |
| --- | --- | --- |
| Service History | 1/1/2008 00:00:00 – 7/21/2008 23:59:59 | 7/22/2008 00:00:00 - |
| 867_03 NIDR | Start - 06/22/2008 Stop - 07/22/2008 This transaction will contain the usage through 14:00:00 on 7/22/2008 | Start - 07/23/2008 Stop - 08/22/2008 This transaction will contain the usage starting at 14:00:00 on 7/22/2008 |
| LSE Files on FTP Site | Last .lse file provided to Rep 1 ends at 7/21/2008 23:59:59 | Rep 2’s first .lse file begins at 7/22/2008 00:00:00 |
| Result | Rep 1 will not be able to add up the interval data to equal the 867_03F. The interval data from 7/22/2008 will be missing. | Rep 2 will not be able to add up the interval data to equal the 867_03. The interval data from all of 7/22/2008 will be included even though only part of it was included in the 867_03. |