## MCCT result-w-TH 2000-2500
Monthly Constraint Status: 2000-2500 threshold
| Constraint | From | From | To | To |  | Operator
Contingency | Name | Station | Station KV | Station | Station KV | Pass/Fail | Override
SL_1048_1430_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Fail | No
SL_1371_1431_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1420_1430_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Fail | No
SL_1421_1429_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1421_1436_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1422_1425_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1422_1429_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1425_6100_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_988_1429_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1429_1430_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1431_1601_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1430_1435_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Fail | No
SL_1435_6230_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Fail | No
SL_1436_1869_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Fail | No
SL_1440_1900_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1440_6444_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1468_1470_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1596_1599_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1596_1601_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1571_1599_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1624_1642_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1640_1641_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1640_1642_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_1371_6169_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Pass | No
SL_6230_60040_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | GRHAMSES | 345 | PARKER_5 | 345 | Fail | No
SL_1655_7070_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3405_3409_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3409_3414_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3405_3412_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3412_3414_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3415_3675_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3415_3420_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3430_3650_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3430_3661_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3429_7040_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_7040_7045_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_7040_7048_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_7040_13429_2 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_7066_7068_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_7068_7070_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3675_13430_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | TEMPSSLT | 345 | SANDOW__ | 345 | Fail | No
SL_3391_46500_1 | CSC_GIBN_CREK_5_To_OBRIEN__345A | GIBN_CRE | 345 | OBRIEN__ | 345 | Pass | No
SL_7272_7668_1 | CSC_GIBN_CREK_5_To_OBRIEN__345A | GIBN_CRE | 345 | OBRIEN__ | 345 | Fail | No
SL_40600_45972_75 | CSC_GIBN_CREK_5_To_OBRIEN__345A | GIBN_CRE | 345 | OBRIEN__ | 345 | Pass | No
SL_40900_45971_74 | CSC_GIBN_CREK_5_To_OBRIEN__345A | GIBN_CRE | 345 | OBRIEN__ | 345 | Fail | No
SL_40900_45972_75 | CSC_GIBN_CREK_5_To_OBRIEN__345A | GIBN_CRE | 345 | OBRIEN__ | 345 | Pass | No
SL_45971_46500_74 | CSC_GIBN_CREK_5_To_OBRIEN__345A | GIBN_CRE | 345 | OBRIEN__ | 345 | Fail | No
SL_1048_1430_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1371_1431_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1420_1430_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1421_1429_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1421_1436_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Pass | No
SL_1422_1425_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1422_1429_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1425_6100_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_988_1429_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Pass | No
SL_1429_1430_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Pass | No
SL_1431_1601_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1430_1435_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1435_6230_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1436_1869_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1440_1900_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1440_6444_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1468_1470_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1596_1599_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1596_1601_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1571_1599_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1624_1642_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1640_1641_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1640_1642_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1371_6169_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_6230_60040_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | GRHAMSES | 345 | BENBRK_5 | 345 | Fail | No
SL_1655_7070_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3405_3409_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3409_3414_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3405_3412_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3412_3414_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3415_3675_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3415_3420_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3430_3650_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3430_3661_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3429_7040_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_7040_7045_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_7040_7048_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_7040_13429_2 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_7066_7068_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_7068_7070_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3675_13430_1 | CSC_SANDOW__5_To_TEMP_SS__5 | TEMP_SS_ | 345 | SANDOW__ | 345 | Fail | No
SL_3391_46500_1 | CSC_JEWETT_S5_To_T_H_W___345B | JEWETT_S | 345 | T_H_W___ | 345 | Fail | No
SL_7272_7668_1 | CSC_JEWETT_S5_To_T_H_W___345B | JEWETT_S | 345 | T_H_W___ | 345 | Fail | No
SL_40600_45972_75 | CSC_JEWETT_S5_To_T_H_W___345B | JEWETT_S | 345 | T_H_W___ | 345 | Fail | No
SL_40900_45971_74 | CSC_JEWETT_S5_To_T_H_W___345B | JEWETT_S | 345 | T_H_W___ | 345 | Fail | No
SL_40900_45972_75 | CSC_JEWETT_S5_To_T_H_W___345B | JEWETT_S | 345 | T_H_W___ | 345 | Fail | No
SL_45971_46500_74 | CSC_JEWETT_S5_To_T_H_W___345B | JEWETT_S | 345 | T_H_W___ | 345 | Fail | No

## constraint summary
Constraint Test Summary
|  |  | Export Side | Import Side | Import Side | Export Side
|  | Flow | [8 empty] | Pivotal Player
Contingency | Constraint | Limit | Eff Load | Eff Cap | Eff Cap | ECI | Eff Load | Eff Cap | Eff Cap | ECI | Impact
SL_1048_1430_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5369.5 | 5945.7 | 0 | 0 | 17361.1 | 16405.9 | 239.9 | 10000 | 576.2
SL_1371_1431_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5460.7 | 6073.7 | 0 | 0 | 17161.7 | 16199 | 0 | 0 | 613
SL_1420_1430_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5361.8 | 5930.8 | 0 | 0 | 17377.8 | 16425 | 240.7 | 5882.7 | 569
SL_1421_1429_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 7321.1 | 7958.1 | 0 | 0 | 20821.7 | 19749.6 | 0 | 0 | 637
SL_1421_1436_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 7321.1 | 8165.5 | 0 | 0 | 20821.7 | 19542.2 | 0 | 0 | 844.4
SL_1422_1425_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5457.6 | 6070.6 | 0 | 0 | 17164.8 | 16202.2 | 0 | 0 | 612.9
SL_1422_1429_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5671.1 | 6306.9 | 0 | 0 | 17648.2 | 16651.9 | 0 | 0 | 635.8
SL_1425_6100_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5472.7 | 6091 | 0 | 0 | 17151.4 | 16183.4 | 0 | 0 | 618.3
SL_988_1429_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5041.8 | 5795 | 0 | 0 | 19011.7 | 17886.7 | 0 | 0 | 753.2
SL_1429_1430_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 6035.9 | 6824.4 | 0 | 0 | 22030.4 | 20808.1 | 0 | 0 | 788.5
SL_1431_1601_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5376.8 | 6014.1 | 0 | 0 | 17513.5 | 16522.4 | 0 | 0 | 637.3
SL_1430_1435_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5259.2 | 5811 | 0 | 0 | 17662.9 | 16709.4 | 292.8 | 6898.1 | 551.7
SL_1435_6230_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5259.2 | 5811 | 0 | 0 | 17662.9 | 16709.4 | 292.8 | 6898.1 | 551.7
SL_1436_1869_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 8343.8 | 8872.9 | 0 | 0 | 16100 | 15149.6 | 371.6 | 3593.8 | 529.1
SL_1440_1900_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5720.5 | 6368.9 | 0 | 0 | 17672.9 | 16662.8 | 0 | 0 | 648.5
SL_1440_6444_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5452.3 | 6172.4 | 0 | 0 | 17984.2 | 16901.8 | 0 | 0 | 720.1
SL_1468_1470_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5399.8 | 6027.5 | 0 | 0 | 17419.4 | 16438.9 | 0 | 0 | 627.8
SL_1596_1599_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5362.9 | 5996.2 | 0 | 0 | 17605.3 | 16616.9 | 0 | 0 | 633.3
SL_1596_1601_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5379.5 | 6014.1 | 0 | 0 | 17510.8 | 16522.4 | 0 | 0 | 634.5
SL_1571_1599_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5362.9 | 5996.2 | 0 | 0 | 17605.3 | 16616.9 | 0 | 0 | 633.3
SL_1624_1642_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5385.3 | 6012.2 | 0 | 0 | 17428.3 | 16448.8 | 0 | 0 | 626.9
SL_1640_1641_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5386.2 | 6012.2 | 0 | 0 | 17427.5 | 16448.8 | 0 | 0 | 626
SL_1640_1642_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5385.3 | 6012.2 | 0 | 0 | 17428.3 | 16448.8 | 0 | 0 | 626.9
SL_1371_6169_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5460.7 | 6073.7 | 0 | 0 | 17161.7 | 16199 | 0 | 0 | 613
SL_6230_60040_1 | CSC_GRAHAMSES1_5_To_PARKER_5 | 956 | 5368.8 | 5958.3 | 0 | 0 | 17397 | 16445.2 | 180.5 | 10000 | 589.5
SL_1655_7070_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15433.9 | 15539.5 | 0 | 0 | 13437.7 | 12391.5 | 1774.8 | 3420.6 | 105.5
SL_3405_3409_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15333 | 15420.3 | 0 | 0 | 13504.2 | 12449.6 | 1794.9 | 3339.6 | 87.3
SL_3409_3414_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 13869.1 | 13900.8 | 0 | 0 | 15433.6 | 14436 | 1183.2 | 3790.3 | 31.7
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15304 | 15390.2 | 0 | 0 | 13537.2 | 12480 | 1791.5 | 3339.2 | 86.1
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15304 | 15390.2 | 0 | 0 | 13537.2 | 12480 | 1791.5 | 3339.2 | 86.1
SL_3405_3412_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 14369.7 | 14411.6 | 0 | 0 | 14743.7 | 13738.5 | 1331.5 | 3259.8 | 41.9
SL_3412_3414_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 14132.7 | 14198.8 | 0 | 0 | 15209.9 | 14145.6 | 1314.6 | 3260.8 | 66.1
SL_3415_3675_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15907.7 | 15993.3 | 0 | 0 | 13897.4 | 12825.9 | 1869 | 3340.9 | 85.6
SL_3415_3420_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15363.6 | 15455.8 | 0 | 0 | 13508.7 | 12452.1 | 1801.1 | 3340.6 | 92.1
SL_3430_3650_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15424.8 | 15504.8 | 0 | 0 | 13435.2 | 12367.9 | 1865.5 | 3121 | 80.1
SL_3430_3661_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15426.9 | 15504.8 | 0 | 0 | 13433.6 | 12368.5 | 1865.5 | 3121 | 77.9
SL_3429_7040_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 16995 | 17036.2 | 0 | 0 | 12316.6 | 11276.3 | 2096.6 | 2772.1 | 41.3
SL_7040_7045_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15764.9 | 15835 | 0 | 0 | 13171.9 | 12100.1 | 1945.9 | 2946.2 | 70.1
SL_7040_7048_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15862 | 15919.7 | 0 | 0 | 13123.4 | 12065.9 | 1952.9 | 2945.2 | 57.7
SL_7040_13429_2 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 16968.9 | 17010.9 | 0 | 0 | 12334.4 | 11292.7 | 2095.1 | 2772.3 | 42
SL_7066_7068_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15408.3 | 15506.6 | 0 | 0 | 13453.1 | 12397.9 | 1807.5 | 3240.8 | 98.2
SL_7068_7070_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15407.8 | 15506.6 | 0 | 0 | 13453.6 | 12397.9 | 1807.5 | 3240.8 | 98.7
SL_3675_13430_1 | CSC_SANDOW__5_To_TEMPSSLT__5 | 1072 | 15909 | 15993.3 | 0 | 0 | 13896.1 | 12825.9 | 1869 | 3340.9 | 84.3
SL_3391_46500_1 | CSC_GIBN_CREK_5_To_OBRIEN__345A | 1450 | 11057.8 | 11883.7 | 0 | 0 | 17149.2 | 15714.8 | 876.7 | 2400 | 825.8
SL_7272_7668_1 | CSC_GIBN_CREK_5_To_OBRIEN__345A | 1450 | 9915.1 | 10587.1 | 0 | 0 | 16765.3 | 15386.4 | 1009.8 | 2778.8 | 672
SL_40600_45972_75 | CSC_GIBN_CREK_5_To_OBRIEN__345A | 1450 | 11412.3 | 12427 | 0 | 0 | 23005.4 | 21458.6 | 0 | 0 | 1014.7
SL_40900_45971_74 | CSC_GIBN_CREK_5_To_OBRIEN__345A | 1450 | 10047.3 | 10710.3 | 0 | 0 | 16754.2 | 15386.4 | 1019.7 | 2788.6 | 663
SL_40900_45972_75 | CSC_GIBN_CREK_5_To_OBRIEN__345A | 1450 | 11444.7 | 12427 | 0 | 0 | 22973 | 21458.6 | 0 | 0 | 982.3
SL_45971_46500_74 | CSC_GIBN_CREK_5_To_OBRIEN__345A | 1450 | 10045.1 | 10710.3 | 0 | 0 | 16756.4 | 15386.4 | 1019.7 | 2788.6 | 665.3
SL_1048_1430_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5457.1 | 5946.4 | 0 | 0 | 15341 | 14389.6 | 655 | 3202.1 | 489.3
SL_1371_1431_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5524.9 | 6045.9 | 0 | 0 | 15170.2 | 14216.5 | 660.9 | 3478.8 | 521
SL_1420_1430_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5451.3 | 5934.4 | 0 | 0 | 15355.3 | 14404.5 | 649.8 | 3182 | 483.1
SL_1421_1429_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5866.1 | 6413.3 | 0 | 0 | 17337.4 | 16387.5 | 369.3 | 5039.6 | 547.3
SL_1421_1436_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5866.1 | 6536.2 | 0 | 0 | 17337.4 | 16308.6 | 0 | 0 | 670.1
SL_1422_1425_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5517.9 | 6037.5 | 0 | 0 | 15181.4 | 14226.3 | 663.9 | 3441.2 | 519.6
SL_1422_1429_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5570.9 | 6107.6 | 0 | 0 | 15471 | 14515.2 | 632.1 | 3714.4 | 536.7
SL_1425_6100_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5525.3 | 6046.1 | 0 | 0 | 15169.2 | 14215.6 | 660.8 | 3479.4 | 520.8
SL_988_1429_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5242.4 | 5876.1 | 0 | 0 | 16668.1 | 15695.7 | 0 | 0 | 633.7
SL_1429_1430_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5418.3 | 6064.3 | 0 | 0 | 18421.2 | 17406.7 | 0 | 0 | 646
SL_1431_1601_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5477 | 6018.3 | 0 | 0 | 15469.5 | 14514.4 | 579 | 4213.5 | 541.3
SL_1430_1435_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5378.8 | 5847.6 | 0 | 0 | 15593.8 | 14647 | 636.4 | 3536 | 468.8
SL_1435_6230_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5378.8 | 5847.6 | 0 | 0 | 15593.8 | 14647 | 636.4 | 3536 | 468.8
SL_1436_1869_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 9266.3 | 9790.7 | 0 | 0 | 16759.6 | 15805.7 | 320.1 | 8026.8 | 524.3
SL_1440_1900_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5837 | 6387.6 | 0 | 0 | 15615.1 | 14663.4 | 665.7 | 3052.1 | 550.6
SL_1440_6444_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5621.9 | 6236 | 0 | 0 | 15897.2 | 14943.2 | 193.9 | 8260.4 | 614.1
SL_1468_1470_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5490.5 | 6023.9 | 0 | 0 | 15389.7 | 14437.3 | 597.1 | 3922.1 | 533.4
SL_1596_1599_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5472.8 | 6010.7 | 0 | 0 | 15548.8 | 14596.7 | 582.1 | 4214.4 | 537.9
SL_1596_1601_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5479.3 | 6018.3 | 0 | 0 | 15467.1 | 14514.4 | 579 | 4213.5 | 539
SL_1571_1599_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5472.8 | 6010.7 | 0 | 0 | 15548.8 | 14596.7 | 582.1 | 4214.4 | 537.9
SL_1624_1642_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5489.3 | 6022.6 | 0 | 0 | 15415.5 | 14460.6 | 624.1 | 3701.7 | 533.2
SL_1640_1641_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5490.1 | 6022.6 | 0 | 0 | 15414.7 | 14460.6 | 624.1 | 3701.7 | 532.4
SL_1640_1642_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5489.3 | 6022.6 | 0 | 0 | 15415.5 | 14460.6 | 624.1 | 3701.7 | 533.2
SL_1371_6169_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5524.9 | 6045.9 | 0 | 0 | 15170.2 | 14216.5 | 660.9 | 3478.8 | 521
SL_6230_60040_1 | CSC_GRAHAMSES1_5_To_BENBRK_5 | 956 | 5463.4 | 5962.9 | 0 | 0 | 15381.2 | 14426.1 | 746 | 2866.9 | 499.6
SL_1655_7070_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15512.4 | 15620.6 | 0 | 0 | 13295.8 | 12262.5 | 1784.4 | 3420.7 | 108.1
SL_3405_3409_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15410.2 | 15499.8 | 0 | 0 | 13362.6 | 12299 | 1870.1 | 3121.6 | 89.6
SL_3409_3414_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 13934.6 | 13968.3 | 0 | 0 | 15311.1 | 14267.2 | 1295 | 3263.1 | 33.7
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15381.5 | 15470 | 0 | 0 | 13395.2 | 12328.9 | 1866.6 | 3121.3 | 88.5
SL_3410_3420_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15381.5 | 15470 | 0 | 0 | 13395.2 | 12328.9 | 1866.6 | 3121.3 | 88.5
SL_3405_3412_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 14440.1 | 14484 | 0 | 0 | 14612.8 | 13617.3 | 1338.4 | 3260 | 44
SL_3412_3414_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 14196.4 | 14264.6 | 0 | 0 | 15093.3 | 14037.3 | 1320.9 | 3261 | 68.2
SL_3415_3675_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15987.3 | 16075.3 | 0 | 0 | 13761.8 | 12703.2 | 1878.8 | 3341 | 87.9
SL_3415_3420_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15441 | 15535.6 | 0 | 0 | 13367.5 | 12301.9 | 1876.5 | 3122.6 | 94.5
SL_3430_3650_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15502.3 | 15584.7 | 0 | 0 | 13293.4 | 12240.1 | 1875.4 | 3121.1 | 82.4
SL_3430_3661_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15504.5 | 15584.7 | 0 | 0 | 13291.8 | 12240.7 | 1875.4 | 3121.1 | 80.2
SL_3429_7040_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 17079.8 | 17123.1 | 0 | 0 | 12171.8 | 11146.8 | 2107.6 | 2772.3 | 43.4
SL_7040_7045_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15844.1 | 15916.5 | 0 | 0 | 13029.3 | 11972 | 1956.2 | 2946.3 | 72.3
SL_7040_7048_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15941.5 | 16001.5 | 0 | 0 | 12980.8 | 11911.2 | 2044.9 | 2782.5 | 59.9
SL_7040_13429_2 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 17053.5 | 17097.7 | 0 | 0 | 12189.6 | 11163.2 | 2106.1 | 2772.5 | 44.2
SL_7066_7068_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15486.5 | 15587.2 | 0 | 0 | 13311.2 | 12242.6 | 1898.3 | 3047.4 | 100.7
SL_7068_7070_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15486 | 15587.2 | 0 | 0 | 13311.8 | 12242.6 | 1898.3 | 3047.4 | 101.2
SL_3675_13430_1 | CSC_SANDOW__5_To_TEMP_SS__5 | 1072 | 15988.7 | 16075.3 | 0 | 0 | 13760.5 | 12703.2 | 1878.8 | 3341 | 86.6
SL_3391_46500_1 | CSC_JEWETT_S5_To_T_H_W___345B | 1450 | 11185.2 | 11931.6 | 0 | 0 | 11138.7 | 9706.2 | 2358.3 | 3111 | 746.4
SL_7272_7668_1 | CSC_JEWETT_S5_To_T_H_W___345B | 1450 | 9653.4 | 10227.4 | 0 | 0 | 9619.8 | 8174.6 | 2986.8 | 3107.9 | 574
SL_40600_45972_75 | CSC_JEWETT_S5_To_T_H_W___345B | 1450 | 10567.3 | 11266.9 | 0 | 0 | 10461.4 | 9011.7 | 2546.4 | 2883.9 | 699.6
SL_40900_45971_74 | CSC_JEWETT_S5_To_T_H_W___345B | 1450 | 9954.2 | 10510.9 | 0 | 0 | 9855.1 | 8408.1 | 3160.7 | 3054.7 | 556.7
SL_40900_45972_75 | CSC_JEWETT_S5_To_T_H_W___345B | 1450 | 10580 | 11266.9 | 0 | 0 | 10448.7 | 8999.9 | 2608.1 | 2754 | 686.9
SL_45971_46500_74 | CSC_JEWETT_S5_To_T_H_W___345B | 1450 | 9950.3 | 10510.9 | 0 | 0 | 9859 | 8415.4 | 3125.3 | 3079.5 | 560.5