| RMGRR Number | 068 | RMGRR Title | Out-Flow Power from Distributed Renewable Generation Facilities |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Date of Decision |  | October 15, 2008 |  |  |
| Guide Section(s) Requiring Revision |  | 7.14, Out-Flow Power from Distributed Renewable Generation Facilities (new) 7.14.1, Primary Requirements for Receiving a Settlement Adjustment for Out-Flow Power (new) 7.14.2, TDSP Communication to ERCOT and the REP of Record of Technical Information from Distributed Renewable Generation Interconnection Agreements (new) 7.14.3, Metering Required for Measurement and Settlement of Out-flow Power (new) 7.14.4, Transmittal of Out-flow Power Meter Data 7.14.5, ERCOT Processing of Meter Data Out-Flow Power (new) |  |  |
| Proposed Effective Date |  | December 1, 2008 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Retail Market Guide Revision Request (RMGRR) adds a new section that describes the process by which owners of Distributed Renewable Generation (DRG) may receive credit (via their Retail Electric Provider’s (REP’s) Qualified Scheduling Entity (QSE)) for out-flow power delivered to the grid. Most importantly, this section describes the metering that is required and how the monthly out-flow generation value will be transported on the Texas Standard Electronic Transaction (Texas SET) 867_03, Monthly Usage, and 867_02, Historical Usage, transactions without changing the Texas SET Implementation Guides – i.e., no “Texas SET change.” In addition, this new section will also broadly describe the settlement processes that will be used to account for out-flow power. These settlement processes are detailed in Protocol Revision Request (PRR) 756, Distributed Renewable Generation Modifications, and Load Profiling Guide Revision Request (LPGRR) 030, Distributed Renewable Generation Modifications. |  |  |
| Overall Market Benefit |  | Compliance with HB 3693, Public Utility Regulatory Act, TEX. UTIL. CODE ANN. §§ 39.914 and 39.916 (Vernon 1998 & Supp. 2007) and P.U.C. Subst. R. 25.213. |  |  |
| Overall Market Impact |  | Minimal until the population of renewable Resources becomes significant. See PRR756 Cost Benefit Analysis. |  |  |
| Consumer Impact |  | Benefits DRG owners who want to sell out-flow power. |  |  |
| Procedural History |  | - On 9/29/08, RMGRR068 was posted. - On 10/01/08, RMGRR068 was granted Urgent status via e-mail vote. - On 10/14/08, an Impact Analysis was posted. - On 10/15/08, RMS considered RMGRR068. |  |  |
| RMS Decision |  | On 10/15/08, RMS unanimously voted to recommend approval of RMGRR068 as revised by RMS. All Market Segments were present for the vote. |  |  |
| Summary of RMS Discussion |  | On 10/15/08, there was discussion regarding the use of the term “generation” in the document. It was suggested that in order to maintain consistency with the terminology used in PRR756 and LPGRR030, it should be changed to “out-flow” where applicable. Additional comments recommended that any instance of “outflow” be followed by “power.” Revisions were made accordingly. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | All impacts are captured in the Cost Benefit Analysis for PRR756. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

| Original Sponsor |  |
| --- | --- |
| Name | Rob Bevill on behalf of the Texas SET Working Group |
| Company | Green Mountain Energy Company |
| Market Segment | Independent Retail Electric Provider (REP) |

Proposed Guide Language Revision

  - Out-flow Power from Distributed Renewable Generation Facilities

Beginning on January 1, 2009, Customers with on-site Distributed Renewable Generation (DRG) facilities as defined in Public Utility Regulatory Act, TEX. UTIL. CODE ANN. § 39.904 (Vernon 1998 & Supp. 2007) (PURA) with a capacity of less than fifty (50) kW, ,may sell out-flow power that is delivered onto the distribution network.  Retail Electric Providers (REPs), via their Qualified Scheduling Entities (QSEs), can receive a wholesale settlement adjustment for this out-flow power energy, according to the process and requirements outlined below.

    - Primary Requirements for Receiving a Settlement Adjustment for Out-Flow Power

In order for ERCOT to provide the wholesale settlement adjustment for out-flow power, the following requirements must be met:

(1)	A current and valid Interconnection Agreement must be in place with the Transmission and/or Distribution Service Provider (TDSP), as described in P.U.C. Subst. R. 25.211 and 25.212.

(2)	Customer requested metering that measures and reports separately, consumption from the distribution network and out-flow power from the Customer’s side of the meter to the distribution network must be installed.

(3)	For non-Interval Data Recorder (IDR) metering, both the Load and out-flow power measured at the point of common coupling must be settled with non-IDR data and the Electric Service Identifier (ESI ID) must be assigned to a DRG Load Profile (see the Load Profiling Guide for further information on Load Profile requirements).

(4)	For IDR metering, both the Load and out-flow power measured at the point of common coupling must be settled with IDR data and the facility must be registered with ERCOT as a generation resource and be assigned a Resource ID (RID).  Out-flow power associated with the RID will be settled to the QSE associated with the RID.

For more detailed information about the resource registration process, Market Participants should contact their designated ERCOT account representative.

    - TDSP Communication to ERCOT and the REP of Record of Technical Information from Distributed Renewable Generation Interconnection Agreements.

This section applies to non-IDR metering only.  In order to assign a DRG Load Profile, ERCOT requires that the information below from the Interconnection Agreement between the TDSP and the retail Customer be provided.  Once the TDSP establishes an Interconnection Agreement with a DRG owner, the TDSP shall provide information from the Interconnection Agreement, specified in Appendix D, Profile Decision Tree, of the Load Profiling Guide, to ERCOT within ten (10) Retail Business Days of the effective date of the Interconnection Agreement.

    - Metering Required for Measurement and Settlement of Out-flow Power

In order for out-flow power to be measured, the Premise must have metering that measures in-flow and out-flow power of electricity separately at the point of common coupling.  Customers choosing to have their out-flow power measured, shall contact their TDSP to request the necessary metering if they have not already done so in conjunction with their interconnection activities.  TDSP charges may apply for the cost of the metering.  See P.U.C. Subst. R. 25.213, Metering for Distributed Renewable Generation, for further details.

    - Transmittal of Out-flow Power Meter Data

For non-IDR metering, the out-flow power value (kWh) will be transmitted on the Texas Standard Electronic Transaction (Texas SET) 867_03, Monthly Usage, and the 867_02, Historical Usage, transactions in the REF~JH~I segment (REF = Meter Role, PTD = Non-Interval Detail).  As of January 1, 2009, the REF~JH~I (REF = Meter Role, PTD = Non-Interval Detail) segment is dedicated for out-flow power values only.  For instances where there has been no out-flow power, the segment should either be omitted or included and populated with zero (“0”).  In the absence of a meter that measures out-flow power, the REF~JH~I shall not be included on the 867_02 or 867_03 transactions.

For IDR metering, interval out-flow power values will be transmitted on the Texas SET 867_03 transaction using the RID to identify the point of generation, as described in the Texas SET Implementation Guide.

    - ERCOT Processing of Meter Data for Out-Flow Power

For non-IDR metering, ERCOT will process out-flow power values for settlement received for any ESI ID, provided that the ESI ID is also assigned to a DRG Load Profile.  Any 867_03, Monthly Usage, received by ERCOT that contains a value for out-flow power in the REF~JH~I segment for an ESI ID that is not assigned to a DRG Load Profile will be processed but the out-flow power value will be ignored by ERCOT for settlement purposes.

For a detailed description of the wholesale settlement impact of out-flow power values, see Protocol Sections 11.4.4.2, Load Reduction for Excess Photovoltaic Generation, and 11.4.4.3, Load Reduction for Excess Non-Photovoltaic Generation.

For IDR metering, ERCOT will process out-flow power values for settlement received for any RID, provided that the registration process for the Resource has been completed.  The RID meter data will be processed as part of the generation aggregation and settlement process.

Until such time as additional processes for Advanced Metering are developed by the market, Premises with Advanced Meters and DRG will be settled by ERCOT according to the current Load profile.