| SCR Number | 751 | SCR Title | Nodal – Shadow Price Cap |
| --- | --- | --- | --- |
| Supporting Nodal Protocol Section |  | 6.5.7.1.11, Transmission Constraint Management |  |
| Other Document Reference/Source |  | Proposal for Initial Nodal Constraint Shadow Price Cap and Power Balance Penalty Factor Values |  |
| System Change Description |  | This System Change Request (SCR) will convert the power balance penalty from a fixed value to a curve that is applied on a MW basis. |  |
| Reason for Revision |  | Market requests this change to avoid high prices during power balance violations for small MW values. The revision allows weighting of the price during scarcity based on power balance MW violations. |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | Yes. Nodal relevance only. |  |
| Timeline |  |  |  |
| Date Posted |  | October 30, 2008 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Marguerite Wagner on behalf of the Congestion Management Working Group (CMWG) |
| E-mail Address | marguerite.wagner@pseg.com |
| Company | PSEG |
| Phone Number | 201-303-5468 |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | MMS system change | $30,000 |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Allows for prices that are related to the violation amount instead of a fixed price. | May provide a cost savings to the market overall because not all violations will be priced at the same price. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Business Case for Proposed System Change

Issue:

The current functionality in the system has a fixed price for any amount of MW violations.  With the implementation of this system change the system would assess penalties based on the amount of MW violations.

Resolution:

The proposed system change will give better pricing during scarcity.