## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
November 6, 2008

## Slide 2: PRS Summary
7 PRRs for Approval
9 NPRRs for Approval
1 NPRR Withdrawn
  NPRR 137 – Synchronization and Update of Section 21

## Slide 3: Revision Requests Unanimously Recommended for Approval with No Impacts

## Slide 4: PRR 770 – Deletion of UFE Analysis of Zone Language
Purpose (ERCOT) | Deletes outdated Protocol section pertaining to UFE analysis. | 
Benefit | Clarification of Protocols. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | January 1, 2009 | 

## Slide 5: PRR 770 – Deletion of UFE Analysis of Zone Language
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 6: PRR 775 – Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)
Purpose (ERCOT) | Changes EECP to EEA and “Alert” to “Watch” | 
Benefit | Consistency with NERC terminology; reduce confusion when ERCOT communicates statuses or reports on recent events. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | May 1, 2009 | 

## Slide 7: PRR 775 – Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 8: PRR 777 – WGR QSE Metric Correction -- URGENT
Purpose (J Aron, IPM) | Exempts WGR QSEs from the Resource Plan metric that compares Day-Ahead and Adjustment Period Schedules to Resource Plans. | 
Benefit | Wind QSE compliance. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | December 1, 2008 | 

## Slide 9: PRR 777 – WGR QSE Metric Correction -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 10: NPRR 143– Section 9.9.1, Invoice Recipient Payment to ERCOT for the CRR Auction
Purpose (ERCOT) | Corrects conflicting language in Nodal Protocols. | 
Benefit | Eliminates conflicting language. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal budget or schedule | 

## Slide 11: NPRR 143– Section 9.9.1, Invoice Recipient Payment to ERCOT for the CRR Auction
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 12: Revision Requests Unanimously Recommended for Approval with Impacts

## Slide 13: NPRR 128– Combined Cycle Power Blocks with Multiple Voltage Interconnections
Purpose (Calpine, IGen) | Eliminates the restriction that requires all generators in a combined cycle power block to be interconnected to the bulk power system at the same voltage level. | 
Benefit | Should increase capacity available to the market. | 
Market Impact | Needed for “Go-Live”. | 
System Change | Yes | Impacts MMS
Assumptions | Cost $100K - $150K | 
PRS Vote | PRS unanimously recommended approval as amended by ERCOT; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal schedule. | 

## Slide 14: NPRR 128– Combined Cycle Power Blocks with Multiple Voltage Interconnections
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$100K - $150K
Impacts to MMS

## Slide 15: NPRR 134– Section 7 Clean-up
Purpose (ERCOT for TPTF) | Clarifies variables used in settling McCamey Flowgates; corrects flowgate formulae; clarifies variables and subscripts; revised OBLRACT and OPTRACT calculations. | 
Benefit | Accurately reflects McCamey Flowgate settlements. | 
Market Impact | Impacts quantity of McCamey Flowgate Rights available. Needed for “Go-Live”. | 
System Change | Yes | Impacts MMS & COMS
Assumptions | Cost $500K - $1M | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal schedule | 

## Slide 16: NPRR 134– Section 7 Clean-up
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$500K - $1M
Impacts to MMS, COMS
Impacts quantity of MCFRIs allocated to Market

## Slide 17: NPRR 136– Interim Solution for 15-Minute Settlement of Advanced Meters
Purpose (AEP Texas, IOU) | Companion to approved PRR 766. NPRR supports interim settlement of all provisioned Advanced Meters using actual fifteen minute data, the same way Interval Data Recorder (IDR) meters are settled today, until the long-term solution is implemented. | 
Benefit | Allows retail customers to more effectively respond to price signals by supporting innovating retail product offerings, such as demand response, dynamic pricing, and time of use pricing and accelerates the timeline for the market to take advantage of the benefits of Advanced Metering Systems (AMS). | 
Market Impact | Needed for “Go-Live” | 
System Change | Yes | Coordination of minor changes to COMS & MIS
Assumptions | Funded under Zonal project. | 
PRS Vote | PRS unanimously recommended approval as amended by ERCOT; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal schedule | 

## Slide 18: NPRR 136– Interim Solution for 15-Minute Settlement of Advanced Meters
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Coordination of minor changes to COMS and MIS

## Slide 19: NPRR 139– ACL, EAL, FCE Calculation Updates
Purpose (ERCOT for CWG) | NPRR revises FCE calculation; eliminates 2-day requirement for prepays; establishes proxy DAM SPPs if SPPs are unavailable; and clarifies the ACL calculation. | 
Benefit | Eliminates duplication, provides credit for paid invoices, provides reasonable estimate of liability, and increases ACL. | 
Market Impact | N/A | 
System Change | Yes | Impacts CMM
Assumptions | Cost $50K - $100K | 
PRS Vote | PRS unanimously recommended approval as amended by TPTF; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal schedule | 

## Slide 20: NPRR 139– ACL, EAL, FCE Calculation Updates
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$50K - $100K
Impacts to CMM

## Slide 21: Revision Requests With Comments to TAC or Non-Unanimously Recommended for Approval with/without Impacts

## Slide 22: PRR 774 – Treatment of Financial Information as Confidential
Purpose (J Aron, IPM) | Clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information. | 
Benefit | Ensures appropriate treatment of sensitive information. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | January 1, 2008 | 

## Slide 23: PRR 774 – Treatment of Financial Information as Confidential
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 24: NPRR 148– Treatment of Financial Information as Confidential
Purpose (J Aron, IPM) | Clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information. | 
Benefit | Ensures appropriate treatment of sensitive information. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval as amended by TPTF; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal budget or schedule | 

## Slide 25: NPRR 148– Treatment of Financial Information as Confidential
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 26: NPRR 138– Credit Monitoring & Management Reports
Purpose (ERCOT for CWG) | ERCOT will post each active Counter-Party’s Credit Monitoring and Management related reports twice a day. | 
Benefit | Provide Counter-Parties with their ACL, TPE and collateral requirements to support decision-making related to CRR and DAM participation. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as amended by TPTF with one abstention (Consumer); all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal budget or schedule | 

## Slide 27: NPRR 138– Credit Monitoring & Management Reports
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 28: NPRR 145– PPAs as Resource-Specific Verifiable Costs Documentation
Purpose (Verifiable Costs Working Group) | Allows PPAs and Tolling Agreements to be used as Resource-specific verifiable costs documentation. | 
Benefit | Allows existing PPA owners to recover their Resource O&M costs and details how PPAs will be reflected in verifiable cost submissions; provide guardrails for avoiding abuse. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as amended by WMS, Reliant and PRS with two abstention (initial vote to recommend had 3 opposed and 1 abstention); all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal budget or schedule | 

## Slide 29: NPRR 145– PPAs as Resource-Specific Verifiable Costs Documentation
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Minor post-Go-Live costs to be managed under O&M
¼ FTE to Settlements & Billing post-Go-Live to support manual effort

## Slide 30: NPRR 150– Responsive Reserve Service Offer Floor
Purpose (DSWG for WMS) | Establishes an offer floor of $0 for Responsive Reserve Service in the nodal market. | 
Benefit | Prevents large negative bids; reduces credit exposure or liability for QSEs. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with four abstentions; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no incremental impact to nodal budget or schedule | 

## Slide 31: NPRR 150– Responsive Reserve Service Offer Floor
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 32: PRR 771 – Ramp Rate Limitation of 10% per Minute of On-Line Capacity for Wind-Powered Generation Resources
Purpose (ERCOT) | Proposes a requirement for WGRs to limit the ramp rate to 10% per minute of on-line capability. | 
Benefit | Maintain system reliability. | 
Market Impact | May reduce the rate of increase in Regulation Service. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval as amended by FPL Energy & PRS with 1 opposed (IOU); all Market Segments were present | 
Effective Date | January 1, 2009 | 

## Slide 33: PRR 771 – Ramp Rate Limitation of 10% per Minute of On-Line Capacity for Wind-Powered Generation Resources
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 34: PRR 773 – Setting the LSL Requirement for WGRs
Purpose (CPS Energy for QMWG) | Requires a WGR LSL to be set at 10% of the name plate rating of the WGR. | 
Benefit | Allows WGRs to be controlled according to their true capabilities which improve operational efficiency. | 
Market Impact | Improves operational efficiency. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 2 opposed and 3 abstentions; all Market Segments were present | 
Effective Date | January 1, 2009 | 

## Slide 35: PRR 773 – Setting the LSL Requirement for WGRs
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 36: PRR 776 – Automatic MCPE Adjustment During Intervals of NSRS Deployment -- URGENT
Purpose (TIEC, Consumer) | Replaces the current PRR 650, Balancing Energy Price Adjustment Due to NSRS Deployment, method of removing NSRS energy deployments and manually re-running SPD. | 
Benefit | Enabling real-time load response will provide the market with additional resources during NSRS deployment and allow Market Participants to make usage choices based on actual prices; prevents the depressed pricing that occurred from NSRS deployments prior to the implementation of PRR 650. | 
Market Impact | Increased reliability; loads will be able to respond to higher prices in real-time during NSRS deployments. | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval 3.50-3.1667 with 2 abstentions; all Market Segments were present | 
Effective Date | December 1, 2008 | 

## Slide 37: PRR 776 – Automatic MCPE Adjustment During Intervals of NSRS Deployment -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 38: PRR 776 Discussion
PRR 776 addresses the changes made by PRR 650, Balancing Energy Price Adjustment Due to Non-Spinning Reserve Energy Deployment
  PRR 650 adjusts MCPE when energy is deployed from Non-Spinning Reserves (NSRS) in order to provide correct price signals via a post-deployment adjustment to separate the pricing solutions from the deployment of NSRS
  The adjustment is calculated by removing the NSRS energy deployment and manually re-running the Scheduling, Pricing & Dispatching (SPD) model
  The Market Benefits cited were that “accurate price signals of depleted Balancing Energy Service Up (UBES) stacks will incent additional generation to come on-line” and improved reliability
    PRR stated :”…when ERCOT deploys NSRS, the resulting MCPE is improperly depressed” causing “an incorrect price signal to the market during a time when more, not less, generation is needed.”
PRR 650 Procedural History
  Submitted February 24, 2006 by TXU
  PRS recommended approval to TAC (9 Yes; 3 Opposed; 4 Abstentions) on March 23, 2006
  TAC recommended approval to Board (1 Opposed; 7 Abstentions) on May 4, 2006
  Board remanded to TAC on June 20, 2006 to “review calculation of MCPE and prices paid for non-spin to keep consumers balanced; study double dipping, clawback and economic fairness of payments; and complete economic analysis and determine whether PRR 650 is the best way to encourage new generation”
  TAC considered the Board issues and returned the recommendation to approve (2 Opposed; 1 Abstention) to the Board on August 3, 2006
  Board unanimously approved PRR 650 as revised on August 15, 2006 with a September 1, 2006 effective date
Source: PRR 650, Balancing Energy Price Adjustment Due to Non-Spinning Reserve
Service Energy Deployment and August 15, 2006 PRR 650 Board Action Report

## Slide 39: PRR 776 Discussion
PRR 776 submitted August 25, 2008
  Request for “Urgent” status failed because only 5 email votes cast (8 required)
  Comments submitted prior to September 28, 2008 PRS meeting by Calpine, Luminant, BP Energy & Shell Energy North America
  PRR not discussed at September 28, 2008 PRS meeting due to “normal” status
Discussed/Action taken at October 23, 2008 meeting
  Comments submitted by TIEC, Potomac Economics, CMC Steel and Chaparral Steel, Fox Smolen & Associates, Luminant & NRG
  PRS recommended approval (3.50-3.1667 with 2 abstentions) and granted “Urgent” status (4.00-2.667 with 3 abstentions)
Comments submitted to TAC by ERCOT, Potomac Economics, BP Energy, PSEG TX, Calpine, Exelon, TIEC, International Power, Luminant, PUC Staff, Citigroup Energy & AEP Energy Partners

## Slide 40: PRR/NPRR Summary
Revision Requests Unanimously Recommended for Approval with No Impact
  PRR 770 – Deletion of UFE Analysis Zone Language
  PRR 775 – Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)
  PRR 777 – WGR QSE Metric Correction – URGENT
  NPRR 143 – Section 9.9.1, Invoice Recipient Payment to ERCOT for CRR Auction
Revision Requests Unanimously Recommended for Approval with Impact
  NPRR 128 – Combined Cycle Power Blocks with Multiple Voltage Interconnections
  NPRR 134 – Section 7 Clean-up
  NPRR 136 – Interim Solution for 15-Minute Settlement of Advanced Meters
  NPRR 139 – ACL, EAL, FCE Calculation Update
Revision Requests with Comments to TAC or Non-Unanimously Recommended for Approval with/without Impact
  PRR 774 – Treatment of Financial Information as Confidential
  NPRR 148 – Treatment of Financial Information as Confidential
  NPRR 138 – Credit Monitoring and Management Reports
  NPRR 145 – PPAs as Resource-specific Verifiable Costs
  NPRR 150 – Responsive Reserve Service Offer Floor
  PRR 771 – Ramp Rate Limitation of 10% per Minute of On-Line Capability for WGRs
  PRR 773 – Setting the LSL Requirement for WGRs
  PRR 776 – Automatic MCPE Adjustment During Intervals of NSRS Deployment – URGENT