| PRR Number | 773 | PRR Title | Setting the LSL Requirement for WGRs |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | October 23, 2008 |  |  |
| Protocol Section Requiring Revision |  | 4.10.4, Resource Low Sustainable Limit as a Percent of High Sustainable Limit Measure 4.10.4.1, LSL Requirement for WGR’s (new) |  |  |
| Proposed Effective Date |  | January 1, 2009 |  |  |
| Priority and Rank Assigned |  | NA. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) requires that a Wind-powered Generation Resource (WGR) Low Sustainable Limit (LSL) to be set at 10% of the name plate rating of the WGR. |  |  |
| Overall Market Benefit |  | This proposal will allow WGRs to be controlled according to their true capabilities which will improve operational efficiency. The PRR will also provide for more down Balancing Energy bids. |  |  |
| Overall Market Impact |  | Improves operational efficiency. |  |  |
| Consumer Impact |  | Could reduce Out of Merit Order (OOM) uplift charges. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed PRR773 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 7/28/08, PRR773 was posted. - On 9/24/08, PRS considered PRR773. - On 10/16/08, an Impact Analysis was posted. - On 10/23/08, PRS considered the PRS Recommendation Report and Impact Analysis for PRR773. |  |  |
| PRS Decision |  | On 9/24/08, PRS voted to recommend approval of PRR773 as submitted. The motion passed with two opposing votes from the Investor Owned Utility (IOU) and Independent Generator Market Segments and three abstentions from the Independent Power Marketer (IPM), IOU, and Consumer Market Segments. All Market Segments were present for the vote. On 10/23/08 PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for PRR773 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 9/24/08, participants expressed concerns that contract limitations would not allow Qualified Scheduling Entities (QSEs) to submit down balancing schedules under PRR773. On 10/23/08, there was no discussion. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | WGRs with in-service dates after January 1, 2003 have the technology to comply with this Protocol Revision. |  |
| --- | --- | --- | --- |
|  | 2 | QSE’s with wind Resources can become qualified to provide down balancing service. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Cost per Market Participant to implement is minimal. |  |
|  | 2 | No additional staff required per Market Participant |  |
|  | 3 | No cost for ERCOT. |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduced uplift cost to Loads. |  |
|  | 2 | Less volatile West Zone Market Clearing Price for Energy (MCPE). |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Improved operational efficiency for ERCOT. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |

| Original Sponsor |  |
| --- | --- |
| Name | David Detelich on behalf of QSE Managers Working Group (QMWG) |
| Company | CPS Energy |
| Market Segment | Municipal |

Proposed Protocol Language Revision

4.10.4	Resource Low Sustainable Limit as a Percent of High Sustainable Limit Measure

The “Resource LSL as a percent of HSL Measure” compares the range between the LSL and HSL submitted in the Resource Plan using the last Resource Plan submitted by the QSE before the start of or during the Operating Hour but after the end of the Adjustment Period.  Only fifteen-minute intervals when the Resource Plan HSL of a Resource is greater than zero (0) MW and the Resource Plan status for the same Resource is On-line are included in the calculation of this measure.  ERCOT-approved Aggregated Units are treated as single units for the purposes of calculating the score for this measure.  LaaRs, Generation Resources undergoing required testing, and Generation Resources with a Resource Category Generic Fuel Cost of “Renewable” (excluding WGRs) or “Hydro” pursuant to Section 6.8.2.1, Resource Category Generic Costs, item 1, are excluded from this measure.

To determine whether an Occurrence is recorded, the Resource Plan HSL is multiplied by the percentage corresponding to the Resource category as specified in Section 6.8.2.1, item 1, for a particular Resource.  The Resource Plan LSL should not exceed the percentage of the Resource Plan HSL in the table below for a given Generation Resource; such an exceedance shall be recorded as an Occurrence.  The Resource category for each Resource is based on the Resource category designated by the Resource Entity for the Resource.

| Resource Category Generic Fuel Cost | LSL Percent of HSL |
| --- | --- |
| Qualifying Facilities | As approved by ERCOT |
| Nuclear | 70 |
| Hydro | N/A |
| Coal and Lignite | 60 |
| Combined Cycle greater than 90 MW | 85 |
| Combined Cycle less than or equal to 90 MW | 85 |
| Gas Steam Supercritical Boiler | 40 |
| Gas Steam Reheat Boiler | 40 |
| Gas Steam Non-reheat or boiler without air-preheater | 40 |
| Simple Cycle greater than 90 MW | 90 |
| Simple Cycle less than or equal to 90 MW | 90 |
| Diesel (and all other diesel or gas-fired Resources) | 90 |
| Renewable (excluding WGR and Hydro renewable Resources) | N/A |
| WGR | As described in Section 4.10.4.1 |
| Block Load Transfer | N/A |

If the Resource Plan LSL is greater than the resulting value, then an Occurrence is recorded for that Resource for that interval.  Only one (1) Occurrence can be recorded per Resource per interval.  To determine the QSE Measure Score for the Resource LSL as a percent of HSL measure, Occurrences are summed for all Resources for every interval in a given month, and divided by the total number of entries submitted in the Resource Plan by a QSE for all Resources where the HSL is greater than zero (0) MW and the Resource Plan Status is On-line for every interval in that month.

Generation Resources may request (with appropriate supporting documentation) an alternate percentage, subject to approval by ERCOT.

QSEs may request, with appropriate supporting documentation, an exclusion from this measure for any Generation Resource the QSE represents, subject to approval by ERCOT, where the LSL was increased or the HSL was decreased due to limiting technology or physical and/or mechanical issues with the Generation Resource for which the exclusion is being requested.

4.10.4.1	LSL Requirement for WGR’s

For WGRs, the LSL limit for the “Resource LSL as a percent of HSL Measure” shall be ten percent (10%) of the name plate rating, as specified in the Generation Resource Asset Registration Form.  WGRs with in-service dates before January 1, 2003 are excluded from this measure.