Advanced Metering Interim Solution Use Cases

| Use Case Number: 13 Added the information from Use Case 15 – Switch to this Use Case. | Related Business Requirements: Issue discussed at first MARS meeting |  | Date: 10/01/2008 | Version: .04 |
| --- | --- | --- | --- | --- |
| High Level Description |  | No changes will be made to the way that retail orders are completed on AMS ESI IDs. |  |  |
| Requirement |  | The NIDR 867_03F used to complete retail orders will continue to use 23:59:59 of the day prior to the date provided in the transaction to end the service instance row. |  |  |
| Pre-Conditions/Trigger |  | Premise has an AMI meter installed. |  |  |
| Scenario 1: Move Out de-energizes the premise. |  | - Current CR (Rep 1) submits a MVO requesting 7/22/2008. - TDSP reads meter on 7/22/2008 at 14:00:00. - TDSP sends the NIDR 867_03F to complete the MVO with a meter read date of 7/22/2008. - ERCOT ends the CRs relationship and de-energizes the ESI ID as of 7/21/2008 23:59:59. - TDSP submits AMI meter information through 7/22/2008 23:59:59. (After 14:00:00 the info is zero filled.) - Since the ESI ID is de-energized in ERCOT’s system on 7/22/2008, the AMI IDR data for 7/22/2008 is not used in settlement. |  |  |

| Data | Rep 1 |
| --- | --- |
| Service History | 1/1/2008 00:00:00 – 7/21/2008 23:59:59 |
| 867_03 NIDR | Start - 06/22/2008 Stop - 07/22/2008 This transaction will contain the usage through 14:00:00 on 7/22/2008 |
| LSE Files on FTP Site | 7/20/2008 00:00:00 – 7/20/2008 23:59:59 7/21/2008 00:00:00 – 7/21/2008 23:59:59 7/22/2008 00:00:00 – 7/22/2008 23:59:59 (intervals after 14:00:00 will be zero filled) |
| Settlement | Since the ESI ID is de-energized on 7/22/2008 in ERCOT’s system, it will not be picked up in settlement. |
| Result | CR will be able to match up the 867_03 NIDR transaction with the intervals in the lse files. Settlement will not match the 867_03NIDR. |

| Scenario 2: Switch, Move In force out, Move Out to CSA – completed at midnight. (Most common scenario) | - ESI ID is energized with Rep 1. - Rep 2 submits a Switch requesting 7/22/2008. - TDSP reads the meter on 7/21/2008 at 23:59:59. - TDSP sends the NIDR 867_03F to close out the previous relationship and complete the Switch with a meter read date of 7/22/2008. - ERCOT ends the service instance for Rep 1 at 7/21/2008 at 23:59:59 and starts the service instance for Rep 2 at 7/22/2008 00:00:00. - TSDP submits AMI interval data for full days. - Rep 1 is the rep of record on 7/21/08 and the full day is settled against Rep 1. - Rep 2 is the rep of record on 7/22/08 and the full day is settled against Rep 2. |
| --- | --- |

| Data | Rep 1 | Rep 2 |
| --- | --- | --- |
| Service History | 1/1/2008 00:00:00 – 7/21/2008 23:59:59 | 7/22/2008 00:00:00 - |
| 867_03 NIDR | Start - 06/22/2008 Stop - 07/22/2008 This transaction will contain the usage through 7/21/2008 23:59:59 | Start - 07/23/2008 Stop - 08/22/2008 This transaction will contain the usage starting at 00:00:00 on 7/22/2008 |
| LSE Files on FTP Site | Last .lse file provided to Rep 1 ends at 7/21/2008 23:59:59 | Rep 2’s first .lse file begins at 7/22/2008 00:00:00 |
| Result | Since the read occurred at 23:59:59, the 867_03 and lse file will match. | Since the read occurred at 23:59:59, the 867_03 and lse file will match. |

| Scenario3: Switch, Move In force out, Move Out to CSA – completed after midnight. | - ESI ID is energized with Rep 1. - Rep 2 submits a MVI requesting 7/22/2008. - TDSP reads the meter on 7/22/2008 at 02:00:00. - TDSP sends the NIDR 867_03F to close out the previous relationship and complete the MVI with a meter read date of 7/22/2008. - ERCOT ends the service instance for Rep 1 at 7/21/2008 at 23:59:59 and starts the service instance for Rep 2 at 7/22/2008 00:00:00. - TSDP submits AMI interval data for 7/22/2008 – the full day. - Since Rep 2 is the Rep of Record for the ESI ID on 7/22/2008, all the usage for that day is settled against Rep 2. |
| --- | --- |

| Data | Rep 1 | Rep 2 |
| --- | --- | --- |
| Service History | 1/1/2008 00:00:00 – 7/21/2008 23:59:59 | 7/22/2008 00:00:00 - |
| 867_03 NIDR | Start - 06/22/2008 Stop - 07/22/2008 This transaction will contain the usage through 02:00:00 on 7/22/2008 | Start - 07/23/2008 Stop - 08/22/2008 This transaction will contain the usage starting at 02:00:00 on 7/22/2008 |
| LSE Files on FTP Site | Last .lse file provided to Rep 1 ends at 7/21/2008 23:59:59 | Rep 2’s first .lse file begins at 7/22/2008 00:00:00 |
| Result | Rep 1 will not be able to add up the interval data to equal the 867_03F. The interval data from 7/22/2008 through 02:00:00 will be missing. | Rep 2 will not be able to add up the interval data to equal the 867_03. The interval data from all of 7/22/2008 will be included even though only part of it was included in the 867_03. |

| Scenario | Rep of Record History | Profile Code Meter Type | 867_03F NIDR | AMI Interval Data | 810 | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1: Move Out to de-energized premise. | Rep 1: start 1/1/2008 00:00:00 stop 7/21/2008 23:59:59 | IDR | start - 06/22/2008 stop - 07/22/2008 with usage through 14:03 | daily reads through 7/22/2008 23:59:59 File will be on FTP site for Rep 1. And data will be sent to ERCOT. | start - 06/22/2008 stop - 07/22/2008 with usage through 14:03 | ESIID not included in the 07/22 settlement due to stop time on service instance although usage is available. Usage from 7/22 becomes UFE. |
| 2. Switch, Move In force out, Move Out to CSA – completed at midnight. | Rep 1: start 1/1/2008 00:00:00 stop 7/21/2008 23:59:59 Rep 2: Start 7/22/2008 00:00:00 | IDR | For Rep 1: start 6/22/2008 – stop 7/22/2008 This will contain usage through 7/21/2008 23:59:59 For Rep 2: The 867_03 will have usage starting at 7/22/2008 00:00:00. | Daily reads through 7/22/2008 23:59:59 | For Rep 1: start - 06/22/2008 stop - 07/22/2008 For Rep 2: The 810 for Rep 2 will have usage starting at 7/22/2008 00:00:00. | Settlement, .lse files, and NIDR 867s all match. |
| 3: Move In force out, Switch, or Move Out to CSA completed after midnight. | Rep 1: start 1/1/2008 00:00:00 stop 7/21/2008 23:59:59 Rep 2: Start 7/22/2008 00:00:00 | IDR | For Rep 1: start - 06/22/2008 stop - 07/22/2008 This will contain usage through 7/22/2008 at 02:03:00 – will have the read that was taken at 02:03:00 Rep 2: The 867_03 for Rep 2 will have usage starting at 02:03:00. | daily reads through 7/22/2008 23:59:59 and continuing Rep 2 will get all the usage for 7/22. TDSP cannot send 2 files for 7/22. | For Rep 1: start - 06/22/2008 stop - 07/22/2008 This will contain usage through 7/22/2008 at 02:03:00. For Rep 2: The 810 for Rep 2 will have usage starting at 02:03:00. | In settlement, all the usage from 7/22/2008 will go to Rep 2 since they are the ROR on 7/22/2008. |