| OGRR Number | 208 | OGRR Title | Voltage Ride-Through (VRT) Requirement |
| --- | --- | --- | --- |

| Date | November 10, 2008 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Mark J. Bruce |
| E-mail Address | mark.j.bruce@fpl.com |
| Company | FPL Energy |
| Market Segment | Independent Generator |

Comments

FPL Energy (FPLE) endorses the proposed revisions submitted in the 11/07/08 ERCOT, E.ON, Invenergy, and Horizon Comments (“Joint Commenters”) to the October 2, 2008 TAC-approved version of OGRR 208.  The revisions proposed by Joint Commenters are included below for ease of reference.

As the only appellant of OGRR 208 with a voting seat on the Technical Advisory Committee (TAC), FPLE abstained from the November 6, 2008 TAC vote to adopt comments essentially reversing TAC’s position that the low VRT requirement of OGRR 208 be applied to existing units without an appropriate level of study to determine system needs.  (FPLE opposed the 10/02/08 TAC Action of OGRR 208 with the retroactive requirement.)  Although FPLE does not object to the TAC request that study results and recommendations be presented to the Reliability and Operations Subcommittee (ROS) by its June 2010 meeting, in the interest of keeping the Operating Guide up to date and clean, FPLE believes such a goal is best spelled out in an ERCOT Board directive rather than as part of the Operating Guide.

FPLE also notes that while the resolution proposed by the Joint Commenters appropriately avoids putting too much definition in the Operating Guide around the scope of the low VRT study to be conducted, FPLE remains concerned that the stakeholder discussion to date on this issue has focused almost exclusively on generator capabilities and not on other possible remedies to low-voltage conditions such as transmission system equipment additions, which may offer a more cost-effective means of achieving the desired level of system reliability.

FPLE further notes that TAC’s October 2, 2008 approval of OGRR 208 represents an alarming shift in ERCOT policy which, if unchecked, may prove a serious threat to long-term system reliability and the ability to achieve the state’s legislative and regulatory goals for new renewable generation capacity additions.  Directly at issue is the regulatory certainty needed by Market Participants to invest the hundreds of millions of dollars required for new power plants and other major system additions.

Without any real study of specific system reliability needs or any real examination of the range of cost-effective solutions to address low-voltage concerns, TAC imposed tens of millions of dollars in new costs on existing units which are in full compliance with the ERCOT Protocols and the terms of their individual Interconnection Agreements with Transmission Service Providers (TSPs).  All Resource owners and developers must now ask themselves, if TAC can do this to wind generation through a seemingly arbitrarily applied low VRT requirement, what can it do to my renewable, fossil, or nuclear project?

There has long been an informal arrangement among the ERCOT stakeholders that when cost-effective system reliability enhancements are identified which are appropriately provided by generators, then Resource owners will step up and make the necessary changes if the cost is reasonable and the benefits are clear.  A recent example of this approach is PRR647, Gross and Net MW/Mvar Data Reporting, which required many generators to spend tens of thousands of dollars apiece to install new telemetry equipment to provide ERCOT with more granular information about Real Time production output and Reactive Power capability.  But when major changes (read, hundreds of thousands or millions of dollars) to existing equipment functionality are required, ERCOT stakeholders have always made such changes on a prospective basis only so that project developers can take full account of associated costs when deciding how and whether to construct a new facility.  Understandably, major modifications are usually more cost-effectively integrated into generating facilities during the original design phase than as after-the-fact retrofits.  FPLE cannot think of a single requirement adopted in the stakeholder process which requires such significant capital investment by individual owners of existing Resources.  In fact, FPLE surmises it is with good reason that such capital intensive decisions affecting existing Resources are made by jurisdictional entities far above TAC in the governance process such as the Public Utility Commission of Texas’ (PUCT’s) decision to transition to a nodal market design or the legislature’s decision to force environmental retrofitting or shutdown of certain generating facilities.

In recognition of the gravity of TAC’s policy error and its very real threat to market certainty and stability, FPLE recommends the ERCOT Board adopt the following motion to resolve the appeal of OGRR208 at its November 17, 2008 meeting:

1.  The ERCOT Board amends OGRR208 as proposed by the Joint Commenters.

2.  The ERCOT Board instructs ERCOT Staff to deliver the results and recommendations of the low VRT study required by the amended OGRR208 to the ROS no later than June 2010.  The study shall consider all cost-effective options for achieving the desired level of system reliability, including modifications or additions to generation and/or transmission facilities.

3.  The ERCOT Board reaffirms that it is the policy of the ERCOT Independent System Operator that the imposition of new technical standards and/or requirements on Resources and/or transmission system equipment shall be imposed on a prospective basis unless the preponderance of evidence indicates such standards and/or requirements should be applied to existing facilities.  When compliance by existing facilities is necessary, such facility owners shall be granted adequate time to perform the work necessary to bring said facilities into compliance with the new standards.

Revised Proposed Guide Language

#### 3.1.4.1	PGC Data Reporting

The PGC’s reporting QSE shall provide the following information to ERCOT Control Area Authority at the times specified:

| TIME | INFORMATION |
| --- | --- |
| Every 10 seconds | - Generation net MW output - Generation net MVAR - Status of switching devices in switchyard - Generating unit breaker status - Generating unit High Operating Limit - Generating unit Low Operating Limit |
| Daily | - Planned unit status, - Planned unit capability (both hourly and daily), - Fuel limitations. The reporting Entity will promptly report this condition to ERCOT Control Area Authority |
| Annually | - Seasonal capability where applicable, - Planned maintenance schedules. This information shall be updated when it changes. |
| Upon request | - Fuel capability as described in Section 6.2.7, Unit Alternative Fuel Capability Operating Guide Form, in conjunction with an Operating Condition Notice, Alert, Advisory, or Emergency Notice, |

Each generator at a generation facility shall have its turbine’s automatic speed governor in service when the generator is   in normal operation.  Testing and regulation performance of the speed governor shall be in accordance with Section 2.2.5, Turbine Speed Governors, of these Operating Guides.  The generator operator is required to notify the ERCOT Control Area Authority, through its QSE, if the operation of speed governors is impaired.

Each generation facility providing an Ancillary Service shall provide output consistent with the requirements of that Ancillary Service and ERCOT instructions.

In the event of an ERCOT declared Emergency, ERCOT may require the QSE to notify the generation facility through the reporting Entity and require it to increase or decrease generation or change voltage and reactive requirements in accordance with the Protocols.  The generation facility shall use its best efforts in meeting these required output levels in order that the ERCOT System can maintain safe and reliable operation.

It is the responsibility of all generators to carry an operational share of reactive support to insure adequate and safe Voltage Profiles are maintained in all areas of ERCOT.  To accomplish this, the following requirements shall apply to each generation facility.

- Each generation facility shall have Automatic Voltage Regulators and power system stabilizers in service as defined in Section 3.1.4.5, Automatic Voltage Regulators and Power System Stabilizers, below.

- The generation facility shall be designed and operated consistent with its obligations to supply Voltage Support Service as required in the ERCOT Protocols and ERCOT Control Area Authority Procedures.

- ERCOT has the right and obligation to Dispatch the reactive output (Vars) of each generation facility within its design capability to maintain adequate transmission voltage in ERCOT.

- ERCOT and the TSP shall be notified of any equipment changes that affect the reactive capability of an operating generating unit no less than 60 days prior to implementation. Changes that decrease the reactive capability of the generating unit below the required level and changes that decrease the Voltage Ride-Through (VRT) capability of the plant must be approved by ERCOT prior to implementation.  “Voltage Ride-Through” is defined as the ability of a generation plant to remain connected to the transmission system for specified high voltage and low voltage conditions.

- High reactive loading or reactive oscillations on generation units should be communicated to the QSE, the transmission operator, and ERCOT as soon as practicable.

- The tripping off line of a generating unit due to voltage or reactive problems should be reported to ERCOT, the transmission operator, and the QSE as soon as practicable.

Reference:  Protocol Section 6.10.2, General Capacity Testing Requirements (In Part)

QSEs shall provide ERCOT a list identifying each Generation Resource unit that is expected to operate more than one hundred sixty eight (168) hours in a Season as a provider of energy and/or Ancillary Services.  ERCOT shall evaluate, during each Season of expected operation, the Net Dependable Capability of each unit expected to operate more than one hundred sixty eight (168) hours during that Season, except for any Generation Resources used solely for energy services and whose capacity is less than ten (10) MW.  Prior to the beginning of each Season, QSEs shall identify the Generation Resources to be tested during the Season and the specific week of the test if known.  This schedule may be modified by the QSE (including retests) during the Season.  QSEs not identifying a specific week for a Generation Resource unit test must test the unit within the first one hundred sixty eight (168) hours of run time during the Season or operate with a Net Dependable Capability equal to the highest integrated hourly MWh output demonstrated during the first one hundred sixty eight (168) hours of run time.  QSEs do not have to bring units On-line or shut down solely for the purpose of the seasonal verification.  Any unit for which the QSE desires qualification to provide Ancillary Services shall have its Net Dependable Capability verified prior to providing services using the Generation Resource unit even if it fits the less than one hundred sixty eight (168) hour or small capacity exception.  The capability of hydro units operating in the synchronous condenser fast response mode to provide hydro Responsive Reserve shall be evaluated by Season.

Load acting as a Resource to provide Ancillary Services shall have its telemetry attributes verified by ERCOT annually.  In addition, once every two (2) years, any LaaR providing Responsive Reserve Service shall test the under frequency relay or the output from the solid-state switch, whichever applies, for correct operation.  However, if the Load’s performance has been verified through response to an actual event, the data from the event can be used to meet the annual telemetry verification requirement for that year and/or the biennial relay testing requirement…

#### 3.1.4.6	Protective Relaying and Voltage Ride-Through (VRT) Requirement

The Facility’s generation machine characteristics and plant design shall incorporate the under-frequency firm Load shedding philosophy and criteria defined in Operating Guide 2.9, Requirements for Under-Frequency Relaying.  Inherent in this philosophy is the idea that all generators remain on line until all three steps of firm Load shedding have been executed.  In addition, Generation Resources must set generator voltage relays to remain connected to the transmission system during the following operating conditions:

  - Generator terminal  voltages are within five percent (5%) of the rated design voltage and volts per hertz are less than one hundred five percent (105%) of generator rated design voltage and frequency;

  - Generator terminal  voltage deviations exceed five percent (5%) but are within ten percent (10%) of the rated design voltage and persist for less than 10.0 seconds;

  - Generator volts per hertz conditions are less than one hundred sixteen percent (116%) of generator rated design voltage and frequency and last for less than 1.5 seconds;

  - A transmission system fault (three-phase, single-phase or phase-to-phase), but not a generator bus fault, is cleared by the protection scheme coordinated between the Generation Entity and the TDSP on any line connected to the generator’s transmission interconnect bus, provided such lines are not connected to induction generators described in Protocol subsection 6.5.7.1, Generation Resources Required to Provide Voltage Support Service Installed Reactive Capability, paragraph (7).  However, in the case of a generator bus fault or a primary transmission system relay failure, the generator protective relaying may clear the generator independent of the operation of any transmission protective relaying.

The generation Facility shall have protective relaying necessary to protect its equipment from abnormal conditions as well as to be consistent with protective relaying criteria as described in Section 7.2, System Protective Relaying.

Within thirty (30) days of ERCOT’s request, Generation Resources shall provide ERCOT with the operating characteristics of any generating unit’s equipment protective relay system or controls that may respond to temporary excursions in voltage with actions that could lead to tripping of the generating unit.

Generating Resources required to provide VSS shall have and maintain the following capability:

(1)	Over-excitation limiters shall be provided and coordinated with the thermal capability of the generator field winding and protective relays in order to permit short-term reactive capability that allows at least eighty percent (80%) of the unit design standard (ANSI C50.13-1989), as follows:

Time (seconds)		10	30	60	120

Field Voltage %		208	146	125	112

After allowing temporary field current overload, the limiter shall operate through the automatic AC voltage regulator to reduce field current to the continuous rating.  Return to normal AC voltage regulation after current reduction shall be automatic.  The over-excitation limiter shall be coordinated with the over-excitation protection so that over-excitation protection only operates for failure of the voltage regulator/limiter.

(2)	Under-excitation limiters shall be provided and coordinated with loss-of-field protection to eliminate unnecessary generating unit disconnection as a result of operator error or equipment misoperation.

#### 3.1.4.6.1 	Protective Relaying Requirement and Voltage Ride-Through Requirement for Wind-powered Generation Resources

  - Wind-powered Generation Resources (WGRs) specified below are required to set generator voltage relays to remain in-service during all transmission faults (no more than nine (9) cycles) in accordance with Figure 1, Voltage Ride-Through Boundaries For Wind-powered Generation Resources, below.  Faults on individual phases with delayed clearing (zone 2) may result in phase voltages outside this boundary but if the phase voltages remain inside this boundary then generator voltage relays are required to be set to remain connected and recover within the voltage recovery boundary of Figure 1.

  - WGR voltage relays shall be set to remain interconnected during three-phase faults on the transmission system for a voltage level as low as zero volts with a duration no more than nine (9) cycles as measured at the  point of interconnection as shown in Figure 1.  The clearing time requirement for a three-phase fault will be specific to the generating plant  point of interconnection, as determined by and documented by the transmission provider in conjunction with the interconnection agreement. This requirement does not apply to faults that would occur between the generator terminals and the transmission voltage side of the generation step-up transformer or when clearing the fault effectively disconnects the generator from the system.

  - WGRs may be tripped after the fault period if this action is intended as part of a special protection system.

  - WGRs may meet the VRT requirements of Figure 1 by the performance of the generators or by installing additional equipment (e.g., Static VAr Compensator) within the generating plant or by a combination of generator performance and additional equipment.

  - WGRs that have had over 50 seconds cumulative operation over the life of the WGR below 10% of nominal voltage at the point of interconnection shall be allowed, with ERCOT’s approval, to set generator voltage relays to provide sufficient protection to the WGR to comply with warranty requirements and to retain the expected life of the resource.

  - Existing individual WGRs that are replaced are required to meet the requirements of Figure 1.

  - WGRs that are part of a Generation Interconnect Agreement signed after November 1, 2008 shall meet the requirements of Section 3.1.4.6.1, Protective Relaying Requirement and Voltage Ride-Through Requirement for Wind-powered Generation Resources.  All such WGRs shall provide a status of compliance to ERCOT System Planning by July 1, 2009.

  - WGRs that are part of a Generation Interconnect Agreement signed prior to November 1, 2008 shall provide information requested by ERCOT, including existing WGR VRT capabilities, for a study to evaluate the need for additional protective relaying and VRT requirements applicable to some or all such WGRs.  If the results of the study demonstrate the need, this Operating Guide shall be revised to establish those requirements, including a schedule for compliance.

  - Notwithstanding any of the foregoing provisions, existing individual WGRs that meet the requirements of Figure 1 on November 1, 2008 shall continue to meet the requirements of Figure 1.

  - If, due to a system disturbance, a WGR come off-line within the boundaries of the VRT requirement of Figure 1, then the WGR owner and the TSP shall be required to investigate and report to ERCOT on the cause of the WGR trip identifying a reasonable mitigation plan and timeline.

- ERCOT and the TSP shall be notified of any equipment changes that affect the reactive capability of an operating WGR no less than sixty (60) days prior to implementation. of the changes, and any such changes that decrease the reactive capability of the WGR below the required level and changes that decrease the Voltage Ride-Through (VRT) capability of the plant must be approved by ERCOT prior to implementation.

High Voltage Boundary

Figure 1:  Voltage Ride-Through Boundaries For Wind-powered Generation Resources