## Slide 1: Wind Operations Task Force - overview
Status as of 3 Nov 2008
WOTF has previously addressed and settled issues #PDCWG1, PDCWG2, 2a, 3a, 3b, 3d, 3f, and 3g with ROS.
WOTF is bringing issues #3c & 4 to ROS for conclusion today
WOTF is continuing work on issues #1a/b/c, 1d, 3e, and 5.

## Slide 2
Wind Operations Task Force – status on #1a/b/c
Issue 1a/b/c: Better defined voltage support requirements & practices, and SCADA control
Phase 1 is a survey by staff of existing capabilities. Staff is nearing completion.
Phase 2 was holding the Wind Workshop II on Aug 22, allowing all market participants hear selected capabilities and TSP & staff needs.
WOTF has begun brainstorming on possible action items for Phase 3. Two items are being discussed so far:
Possible improvements in better coordination of all data requests and requirements.
The application of the constant power factor capability limits for all real power output levels.
WOTF expects to continue working on these issues, although these two topics may require consideration by other task forces / working groups as well.

## Slide 3
Wind Operations Task Force – status on #1d
Issue 1d: Generation Interconnection Checklist
Part 1 is complete – development of the Nodal readiness metric.
Part 2 – review of a voltage control test, prequalification, and synchronization test requirements – The WOTF is still waiting on a first draft from staff.
WOTF expects to continue working on this issue.

## Slide 4
Wind Operations Task Force – status on #3c
Issue 3c: Possible increase in ancillary services requirements during periods of higher risk
This issue is being brought to ROS belatedly. The WOTF reviewed staff’s draft proposal and offered general comments over the span of two months. The requirement has been ratified and is now in effect.
WOTF is asking ROS to verify WOTF has completed work on this issue.

## Slide 5
Wind Operations Task Force – status on #3e
Issue 3e: Evaluating possible coordination of transmission line outages.
This issue broadly spans both reliability and market concepts. The CMWG has been trying to draft some possible action that meets market needs, and the WOTF has been waiting to review such proposal for reliability concerns.
However, the WOTF began discussing one small part last month (possibly allowing TSPs to enter a range of outage dates for potential transmission outages), and may have a proposal shortly.
WOTF expects to continue working on this issue.

## Slide 6
Wind Operations Task Force – status on #4
Issue 4: Training based on best practices.
The new Renewable Technologies Work Group (under TAC) is asking TAC to add this one issue specifically to the RTWG charter (since it spans both reliability & market concepts).
The WOTF recommends ROS pass this issue to TAC, concluding WOTF action.

## Slide 7
Wind Operations Task Force – status on #5
Issue 5: Alternate solutions to high frequency conditions
The WOTF began brainstorming on this issue last month, and has started a list of possible actions. Notably:
The PDCWG has reportedly begun considering governor-like response.
OOM instructions to wind resources – Such a solution would require changes to both how a wind resource’s response could be verified, and changes to the market structure as well.
SPSs to trip wind resources – Such a solution would require further consideration on how to implement and release such action, and possible market changes as well.
Reg down bids – Such a solution would require changes to allow for verification of intermittent resource response.
WOTF expects to continue working on this issue.