| NPRR Number | 146 | NPRR Title | ICCP Telemetry Information Submittals |
| --- | --- | --- | --- |
| Date |  | November 13, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Linda Clarke |  |
| E-mail Address |  | lclarke@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4186 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

NPRR146 ERCOT Implementation Clarifications

The following table summarizes how the ICCP data submittals will be treated:

| ICCP Data NOMCR Submittal is … | ERCOT shall … | Subject to IMM & PUC Reporting |
| --- | --- | --- |
| Beyond 90 days of the energization date | Allow the ICCP data NOMCR submittal | No |
| Between 90 and 15 days of energization date | Allow the ICCP data NOMCR submittal | No |
| Within 15 days of the energization date | Require the ICCP data NOMCR to be re-submitted as a standard NOMCR | Yes |

For  implementing NPRR146, the existing NMMS dynamic rating functionality will be used to support the submission and processing of the ICCP data NOMCR.  This will require the following modifications:

- NMMS Software changes will be necessary to eliminate the validation that currently ensures the data submittal is for dynamic ratings only; this screening process will be eliminated and a manual process will be used to ensure that data submittals are either for dynamic rating changes or for ICCP data updates only.

- NMMS User Interface changes will be necessary to change the Dynamic Rating button to an “ICCP & Dynamic Rating button.”

Revised Proposed Protocol Language

None.