Advanced Metering Interim Solution Use Cases

| Use Case Number: 05 | Related Business Requirements: BR-002 BR-007.03 |  | Date: 9/30/2008 | Version: .03 |
| --- | --- | --- | --- | --- |
| High Level Description |  | ERCOT will update existing data when new data is provided with a timestamp that is greater than the existing data. |  |  |
| Requirement |  | BR-002: Ability for ERCOT to update an existing 15 minute interval data read with new data provided by the TDSP. BR-007.03: Ability for ERCOT to ensure that the most current effective date ESIID start time combination is loaded in ERCOT systems for the daily upload process. |  |  |
| Pre-Conditions/Trigger |  | The following is true for all files submitted in the subsequent scenarios: - File is submitted through NAESB. - ERCOT receives the files and sends a NAESB acknowledgment to TDSP. - ERCOT performs file level validations and the file passes. - ERCOT sends a positive acknowledgment to the TDSP. |  |  |
| Scenario 1: ERCOT overwrites initial information with an updated read that has a later timestamp. |  | - On 7/24/2008, the TDSP submits an .lse file containing interval data for ESI ID 1234 for 7/22/2008 with timestamp of 20080724000000. - ERCOT validates the data against business rules. ERCOT accepts and loads the interval data. ESI ID; Date; Timestamp from read; Last Updated Date of Record. 1234; 7/22/2008; 20080724000000; 7/24/2008. - On 7/25/2008, the TDSP submits a second .lse file containing the interval data for ESI ID 1234 for 7/22/2008 with a with timestamp of 20080725000000. - ERCOT loads the second file and overwrites the original interval data with the new data. ESI ID; Date; Timestamp from read; Last Updated Date of Record. 1234; 7/22/2008; 20080725000000; 7/25/2008. |
| Scenario 2: ERCOT does not overwrite the initial information when the subsequent read has an earlier timestamp. |  | - On 7/24/2008, the TDSP submits an .lse file containing interval data for ESI ID 1234 for 7/22/2008 with a timestamp of 20080724000000. - ERCOT validates the data against business rules. ERCOT accepts and loads the interval data. ESI ID; Date; Timestamp from read; Last Updated Date of Record. 1234; 7/22/2008; 20080724000000; 7/24/2008. - On 7/25/2008, the TDSP submits a second .lse file containing the interval data for ESI ID 1234 for 7/22/2008 with a timestamp of 20080723000000. - ERCOT does not overwrite the original interval data with the new data. ESI ID; Date; Timestamp from read; Last Updated Date of Record. 1234; 7/22/2008; 20080724000000; 7/24/2008. |
| Scenario 3: TDSP submits 2 reads with the same timestamp; only first is loaded. |  | - On 7/24/2008, the TDSP submits an .lse file containing interval data for ESI ID 1234 for 7/22/2008 with a timestamp of 20080724000000. - ERCOT validates the data against business rules. ERCOT accepts and loads the interval data. ESI ID; Date; Timestamp from read; Last Updated Date of Record. 1234; 7/22/2008; 20080724000000; 7/24/2008. - On 7/25/2008, the TDSP submits a second .lse file containing the interval data for ESI ID 1234 for 7/22/2008 with a timestamp of 20080724000000. - ERCOT does not overwrite the original interval data with the new data. ESI ID; Date; Timestamp from read; Last Updated Date of Record. 1234; 7/22/2008; 20080724000000; 7/24/2008. |