| PRR Number | 776 | PRR Title | Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment |
| --- | --- | --- | --- |
| Date |  | October 28, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Robert W. Staples, III. |  |
| E-mail Address |  | rstaples@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4234 |  |
| Cell Number |  |  |  |
| Market Segment |  | ISO |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

To implement PRR776 as amended by the 10/21/08 TIEC comments, ERCOT requests further clarification on the following items:

- Is the notification required by the ERCOT Operating Period Desk Section 2.4 adequate notification?  Several options are available to provide notice.  ERCOT would prefer to go with the option listed below.

  - ERCOT can post this as an Emergency Notice at the following web link (http://mospublic.ercot.com/ercot/jsp/emergency_notifications.jsp).  The ERCOT operator normally enters an Emergency notification using the Market Operator Interface tool (MOI).  This is free form text so there is no standard method to create this notice. Normally, the operator specifies the Non-Spin deployment time, the affected zones, and the effective intervals. This is the easiest way for Market Participants to know when Non-Spin has been deployed.  Note: ERCOT does not specify how much Non-Spin is being deployed or how much in each zone. Also, it is not a requirement for ERCOT to specify which zones Non-Spinning is being deployed. If this information is required, then it would be best to get that info from the MOI tool which would require some changes to the ERCOT website.

- What happens if a Load acting as a Resource (LaaR) is not being deployed by the Qualified Scheduling Entity (QSE) for Non-Spinning but a Notice goes out saying that ERCOT has deployed Non-Spinning? This could happen if ERCOT does not deploy 100% of all Non-Spin. ERCOT feels this should be discussed by Market Participants so that no conflict between LaaRs obligations and the Notice of Non-Spin deployment is created.

- What is the recommended Fuel Index Price (FIP) to use when posting the combustion turbine proxy cost for the next day?  The FIP for the next day is not available until 11:15 PM the night before hand.  In this instance, it makes sense to use the FIP for the current day in the next day’s calculations.  If this is how it is to be implemented, then the FIP for Friday would be used for Saturday, Sunday, and Monday.

- What is the recommended size of a combustion turbine to use?  In the 10/16/08 Potomac Economics comments, two sample sizes were used: 50 MW and 100 MW.  In order for ERCOT to calculate the combustion turbine proxy cost, one size would need to be selected or possibly two sizes selected with clarification as to which size should be used in this calculation.

- This also brings up an issue of where to post this information.  ERCOT’s preference is to include another tab in the Balancing Energy Services Daily Reports, which is posted daily Monday through Friday at the following web link (http://www.ercot.com/mktinfo/services/bal/).  If there is another preferred posting spot, this would take time to set up and find a place to land this on the ERCOT web site.

Revised Proposed Protocol Language

None.