| PRR Number | 776 | PRR Title | Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment |
| --- | --- | --- | --- |
| Date |  | November 5, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jennifer L. Troutman |  |
| E-mail Address |  | jltroutman@aep.com |  |
| Company |  | AEP Energy Partners |  |
| Phone Number |  |  |  |
| Cell Number |  | (512) 934-4255 |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

AEP Energy Partners (EP) echoes the concerns expressed by TIEC and other consumers and agrees that the posting of an accurate, Real Time price for Non-Spinning Reserve Service (NSRS) is needed and should be provided by ERCOT so that load and generation can both choose how to respond appropriately.  However, AEP EP does not support the methodology being proposed.  The proposal creates an artificial cap on scarcity pricing, which may not reflect the true cost for the NSRS deployed.  Setting a false ceiling on prices during times of scarcity will not result in accurate price signals being portrayed to the market and instead will create an entirely different set of problems.  Not the least of which would be that such an artificial limit on prices will discourage the development of new generation in the ERCOT market.

AEP EP feels that ERCOT should update its processes/procedures so that it has the ability to perform the actions required by Protocol Section 6.8.1.12, Payments for Balancing Energy Provided from Ancillary Services During the Operating Period, and Protocol Section 6.9.5.1, Balancing Energy Clearing Price, in Real Time instead of the day after the Operating Day.  This will allow load the ability to respond to scarcity pricing using Real Time pricing signals that accurately reflect system conditions while protecting the intent of PRR650, Balancing Energy Price Adjustment Due to Non-Spinning Reserve Service Energy Deployment.

AEP EP supports either:

- The remand of PRR776 to WMS so that Market Participants may work to together to develop a method that creates proper price signals without placing artificial limits on prices, or,

- TAC amend PRR776 to require ERCOT to automate the necessary processes/procedures so that it has the ability to perform the actions required by Protocol Sections 6.8.1.12 and 6.9.5.1 in Real Time instead of the day after the Operating Day.

Revised Proposed Protocol Language

None at this time.