| SCR Number | 751 | SCR Title | Nodal – Power Balance Shadow Price Cap Curve for SCED (formerly titled “Nodal – Shadow Price Cap”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Date of Decision |  | November 19, 2008 |  |  |
| Supporting Nodal Protocol Section |  | 6.5.7.1.11, Transmission Constraint Management |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| System Change Description |  | This System Change Request (SCR) will convert the power balance penalty from a fixed value to a curve that is applied on a MW basis. |  |  |
| Overall Market Benefit |  | Allows for prices that are related to the violation amount instead of a fixed price. May provide a cost savings to the market overall because not all violations will be priced at the same price. |  |  |
| Overall Market Impact |  | Will require Market Management System (MMS) change. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Procedural History |  | - On 10/30/08, SCR751 was posted. - On 11/12/08, Transition Plan Task Force (TPTF) comments were posted. - On 11/19/08 WMS considered SCR751. |  |  |
| WMS Decision |  | On 11/19/08, WMS unanimously voted to grant SCR751 Urgent status and to recommend approval as amended by TPTF comments. All Market Segments were present for the vote. |  |  |
| Summary of WMS Discussion |  | On 11/19/08, the reason for requesting Urgent status was discussed. It was noted that SCR751 represents a change to the Nodal system at the recommendation of the Independent Market Monitor (IMM) and that the Nodal Project budget is being considered right now. It was explained that SCR751 is needed to allow the relevant system(s) to accept a curve rather than a fixed price for the power balance Shadow Price cap so that tests can be run, and that after testing, a Nodal Protocol Revision Request (NPRR) will be submitted to incorporate the policies for setting the Shadow Price caps into the Nodal Protocols. WMS was in consensus that it does not need to review the Impact Analysis, which can proceed directly to TAC for consideration. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | MMS system change | $30,000 |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Allows for prices that are related to the violation amount instead of a fixed price. | May provide a cost savings to the market overall because not all violations will be priced at the same price. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| TPTF 111208 | Proposed revisions to the Title, Reason for Revision, and Business Case for Proposed System Change to clarify the intent of SCR751 and to state that the SCR is needed six months prior to go-live; proposed deleting reference to “Proposal for Initial Nodal Constraint Shadow Price Cap and Power Balance Penalty Factor Values” in the Other Document Reference/Source portion of the SCR form. |

| Original Sponsor |  |
| --- | --- |
| Name | Marguerite Wagner on behalf of the Congestion Management Working Group (CMWG) |
| Company | PSEG |
| Market Segment | Independent Generator |

Business Case for Proposed System Change

Issue:

The current functionality in the system has a fixed price for the power balance Shadow Price Cap used in SCED for any amount of MW violations.  This SCR proposes to add the functionality to implement a curve instead of a fixed value for the power balance Shadow Price cap.  .

Resolution:

The proposed system change will give better pricing during scarcity.