TCR Analysis & Timeline

Transmission outages need to be submitted at least 45 days ahead of time to be included in ERCOT’s monthly TCR analysis.  All individual outages lasting 5 days or more are included in the analysis.

Example of process:

AugustMid-AugustSeptember 1Mid-SeptemberOctober 1

~7th day of month an email is sent to TOs requesting that the Outage Scheduler be updated

~15th of month download outage info for the next TCR auction, typically 45 days prior to auction.

Analysis initiated, manually transform breaker model into a bus branch model.

Monthly TCR Auction completed.

Monthly TCR Auction Notice issued.