## Slide 1: ERCOT Regional Planning Group Charter and Procedures
Dan Woodfin
Director, System Planning

## Slide 2: Background
Planning Charter was written in 2003 to define procedures and responsibilities
  Adjustment to procedures was made in 2004, but not incorporated into Charter document
RPG now has significant practical experience implementing these procedures
  Some things work well
  Some things don’t
  Some issues aren’t currently addressed
PUCT has made achieving appropriate level of ERCOT review a requirement for transmission projects in CCN and rate case filings
RPG has spent about a year (off and on) preparing, and developing consensus around, this revised version

## Slide 3: Goals of Modifications
Modify to conform with current evolution of planning activities, including Five-Year Plan
Clarify/modify project “tiers” and review process associated with each tier
Add economic planning process and criteria approved by TAC in 2006
Remove detailed requirements that are already included elsewhere in Protocols, Operating Guides, PUCT Rules, NERC Standards, generation interconnection procedures
Retain informative voice, but eliminate sections that are solely for general educational purposes

## Slide 4: Project Tiers and Review Process

## Slide 5: Other Issues
Single Regional Planning Group
Expedited reviews for projects that are included in Five-Year Plan
Tier of project can be raised by ERCOT, based on stakeholder comments received
Revised process for determining which projects identified in generation interconnection studies need RPG review
Established process for revising projects that have already received ERCOT Endorsement

## Slide 6
Questions?