## Sheet1
Reviewer | New Section # | Old Section # | Reviewer Comment | Analysis | ERCOT Comments
Luminant | 1.1 | 1.1 | The Delivery Evaluation Function (DEF) is not described in either of the TPTF approved MMS Business Requirements of MMS Conceptual Design Document. It appears that it should be. | Clarified | This is addressed in the DAM requirements document section 3.9.4 AE4 .
Luminant | 1.4 | 1.4 | 1. Please identify the ERCOT organizations and Business Process Procedures that cover the responsibilities associated with QSE requested Resource decommitments as described in Protocol Section 6.4.6 and QSE requests for changes in AS Responsibility described in Protocol Section 6.4.8.1(3)? 2. To the extent that any elements associated with the ERCOT responsibilities identified in item 1 are to be accomplished by the Adjustment Period Desk, revise and add material as needed to this procedure. Designate all other procedures that complete the coverage of the ERCOT responsibilities covered on item 1. | Clarified | Responsibilities associated with QSE requested Resource decommitments is part of the HRUC process (Override Results – Approve/Reject De-commitment Request) QSE requests for changes in AS Responsibility is covered in section 2.3 (Execute DEF to Determine AS Replacements). Using DEF operator will determine whether the movement has any impact on constraints. If there is a binding/violated constraint, and the Resource to which “RRS or NSRS capacity” is moved has a significant shift factor (e.g. <-2%), then the QSE should not be allowed to make the change
Luminant | 2.1 Step 2 | 2.1 Step 2 | Each hour, review these background process results: • Total RRS Controllable and Non-Controllable Load checks Check whether the sum of the AS Resource Responsibility in all Market Participants COPs is greater than the RRS limits for either Controllable or Non-Controllable Load Resources. If so, send notifications to all QSEs who are listed for CLR and/or NCLR Supply Responsibility violations The reference to NCLR is confusing. The Nodal Protocols do not define the term Non-Controllable Resource. There are only Controllable Load Resources and Load Resources that are not controllable. The term Load Resource refers to both of these types. RRS limits on Load Resources are specified in Protocol Section 3.16 (6) and (7) {(6) refers to Load Resources on High Set UFR and (7) excludes Controllable Load Resources from the 50% rule}. This procedure step needs to explain in more detail what the Operator is checking in light of the Protocol requirements concerning these limits. Finally, in the Protocols the term Controllable Load Resource is reserved for those Load Resources that are capable of responding to frequency in a manner similar to generator governor action. On/Off Control is reserved to all other Load Resources. The term non-controllable does not apply in either of the two cases. State the Operator action in the event that there is a violation of Protocol RRS requirements. | Accepted | • Total RRS from Controllable Load Resources and Non-Controllable total RRS from Load Resources on high-set UFR checks Check whether the sum of the AS Resource Responsibility in all Market Participants COPs is greater than the RRS limits for either Controllable or Non-Controllable Load Resources or Load Resources on high-set UFR. If so, send notifications to all QSEs who are listed for CLR and/or NCLR QSE level Supply Responsibility violations for Controllable Load Resources and/or Load Resources on high-set UFR. The reference to NCLR is confusing. The Nodal Protocols do not define the term Non-Controllable Resource. There are only Controllable Load Resources and Load Resources that are not controllable. The term Load Resource refers to both of these types. RRS limits on Load Resources are specified in Protocol Section 3.16 (6) and (7) {(6) refers to Load Resources on High Set UFR and (7) excludes Controllable Load Resources from the 50% rule}. This procedure step needs to explain in more detail what the Operator is checking in light of the Protocol requirements concerning these limits. Finally, in the Protocols the term Controllable Load Resource is reserved for those Load Resources that are capable of responding to frequency in a manner similar to generator governor action. On/Off Control is reserved to all other Load Resources. The term non-controllable does not apply in either of the two cases. State the Operator action in the event that there is a violation of Protocol RRS requirements. We have a check for controllable Load Resources and Load Resources on HIgh-Set Under Frequency Relay and the value is set to 100% and 50 % respectively.
Luminant | 2.1 Step 2 | 2.1 Step 2 | • COP consistency check Five minutes before the end of each Operating Hour, rReview QSE notifications for inconsistency between the COP Resource Status in the hour immediately after the Operating Hour and the Real Time Telemetered Resource Status at the end of the Adjustment Period. If the COPa inconsistencyies persistexists and are affecting the Real Time dispatching then the ERCOT Operator may call the QSEs to correct the issue.notify the QSE using the Messaging System (flesh out the notice structure). | Clarified | • COP consistency check Five minutes before the end of each Operating Hour, rReview QSE automatic notifications for inconsistency between the COP Resource Status in the hour immediately after the Operating Hour and the Real Time Telemetered Resource Status at the end of the Adjustment Period. If the COPa inconsistencyies persistexists and are affecting the Real Time dispatching then the ERCOT Operator may call the QSEs to correct the issue.notify the QSE using the Messaging System (flesh out the notice structure). The notification is send out automatically
Luminant | 2.1 Step 2 | 2.1 Step 2 | If the Shift Supervisor determines that a the QSE is unable to provide its AS Supply Responsibility then consult with Shift Supervisor to determine the need to open SASM. If SASM needs to be opened, remove the shorted AS amount which the QSE replaced, and then approve the remaining AS Responsibility amounts as input to SASM. | Clarified | If the Shift Supervisor determines that a the QSE is unable to provide its AS Supply Responsibility then consult with Shift Supervisor to determine the need to open SASM. If SASM needs to be opened, remove the shorted AS amount which the QSE replaced, and then approve the remaining AS Responsibility amounts as input to SASM. [Refer to “Monitor/ Review QSE AS Supply Responsibilities” section of this procedure for more details]
Luminant | 2.1 Step 2 | 2.1 Step 2 | Each hour, review the undeliverable AS from HRUC. Communicate with the QSE to determine whether the AS will be reassigned to QSEs other Resources, Traded to other QSEs or need be replaced. If the QSE replaces the undeliverable AS using their own Resources or via AS Trades, execute DEF to ensure AS deliverability. Until DEF is specified in Business Requirements and Conceptual design, AS deliverability is the function of RUC. | Clarified | Each hour, review the undeliverable AS from HRUC. Communicate with the QSE to determine whether the AS will be reassigned to QSEs other Resources, Traded to other QSEs or need be replaced. If the QSE replaces the undeliverable AS using their own Resources or via AS Trades, execute DEF to ensure AS deliverability. Until DEF is specified in Business Requirements and Conceptual design, AS deliverability is the function of RUC. This is addressed in the DAM requirements document section 3.9.4 AE4 .
Luminant | 2.1 Note | 2.1 Step 4 | After DRUC execution, monitor the posting of grouping of Load Resources excluding Controllable Load Resources providing RRS into Group1 (Where is the group 1 notice and the discussion of group 2?) and Contact Market Operations Support Personnel if there is any issue with the posting. | Accepted | After DRUC execution, monitor the MIS posting of grouping of Load Resources excluding Controllable Load Resources providing RRS into Group1 (Where is the group 1 notice and the discussion of group 2?) and Contact Market Operations Support Personnel if there is any issue with the posting. Note: The Load Resources on high-set UFR are randomly divided into Group 1 & Group 2 for each Operating Day based on the ONRL Resource Status in COP for one randomly selected hour of the day. The Load Resources on high-set UFR which are not included in the groups are assigned to Group 1 at Real-Time.
Luminant | 2.2 | 2.2 | If an AS plan increase is needed, consult with Shift Supervisor about the operating hours for which SASM needs to be opened to meet the increased AS Plans. For Operating Hours beginning with HE+3, increases in AS can be procured by using a SASM. If the AS increase is needed before HE+3, contact the RUC desk to commit additional Resources as necessary Since the HRUC study period includes the remaining hours of the current Operating Day and all 24 hours of the Operating Day, a SASM can be run to address AS capacity needs that extend beyond the Operating Day boundary or that include the first 3 hours of the next Operating Day. There is no need for the last sentence in Step 1 or Step 2. | Clarified | If an AS plan increase is needed, consult with Shift Supervisor about the operating hours for which SASM needs to be opened to meet the increased AS Plans. For Operating Hours beginning with HE+3, increases in AS can be procured by using a SASM. The latest SASM can be opened for any Operating Hour (HE X) is at least 2 Operating Hours before the hour (before HE X-2) and the dead line for updating COP for any hour is the end of Adjustment Period. Therefore, if the current hour is HE then for Operating Hours beginning with HE+3, increases in AS can be procured by using a SASM. If the AS increase is needed before HE+3, contact the RUC desk to commit additional Resources as necessary. Since the HRUC study period includes the remaining hours of the current Operating Day and all 24 hours of the Operating Day, a SASM can be run to address AS capacity needs that extend beyond the Operating Day boundary or that include the first 3 hours of the next Operating Day. There is no need for the last sentence in Step 1 or Step 2. The laguage is added due to the minimum timeline requirements
Luminant | 2.3 | 2.3 | Execute DEF to determine AS replacement Delete this section pending the development of requirements and conceptual design documentation that describe the DEF, its inputs, outputs and EDW data storage. | Clarified | This is addressed in the DAM requirements document section 3.9.4 AE4 .
Luminant | 2.4 Step 3 | 2.4 Step 3 | CHECK if the RRS Supply Responsibility supplied from Non-Controllable Load Resources (excluding Controllable Load Rsource, s) exceeds the ERCOT specified percentage. OR the RRS Supply Responsibility supplied from Controllable Load Resources exceeds the ERCOT specified percentage. If either of these the percentages is exceeded, select the QSEs for notification who’s RRS Supply Responsibilities from Generation Resource or CLRs or NCLRsLoad Resources are not properly met. If there is not a violation of these percentages, the Operator may decide not to send notification to QSEs if there is just an individual typeQSE RRS Supply Responsibility violation but no net RRS Supply Responsibility violation. As stated, this procedure statement is confusing. A QSE can bid and sell more Load AS for RRS but no more of the QSE provided Load RRS AS can be used to cover that QSE’s RRS Obligation limit. The excess above such limit can be sold and used to cover other QSE’s obligations. Consequently, there is no violation. Additionally, QSE who over supply AS are not paid for the overage. While this must be identified for COM Settlement it is strictly speaking not a violation of the limits in Protocol Section 3.16. | Accepted | CHECK if any QSE’s AS Supply Responsibility is not met for Regulation or Non Spin or Responsive Reserve. If so, select the QSEs for sending notification CHECK if the system level RRS Supply Responsibility supplied from Non-Controllable Load Resources (excluding Controllable Load Rsources, s) exceeds the ERCOT specified percentage OR the system level RRS Supply Responsibility supplied from Controllable Load Resources exceeds the ERCOT specified percentage. Currently the % for CLR is set to 100%. This is for future needs if ERCOT wants to have a % limit CHECK if the QSE level RRS Supply Responsibility for Load Resources excluding Controllable Load Resources are met from the QSE’s Load Resources on high-set under frequency relays. CHECK if the QSE level RRS Supply Responsibility for Controllable Load Resources are met from the QSE’s Controllable Load Resources. If either of these the system level percentages is exceeded, select the QSEs for notification who’s RRS Supply Responsibilities from Generation Resource or CLRs or NCLRs the corresponding Load Resources types are not properly met. If there is not a violation of these system level percentages, the Operator may decide not to send notification to QSEs if there is just an individual typeviolation of QSE level RRS Supply Responsibility violation from Controllable Load Resources or violation of QSE level RRS Supply Responsibility from Load Resources on high-set under frequency relays but no net QSE level RRS Supply Responsibility violation from all of QSE’s Resources As stated, this procedure statement is confusing. A QSE can bid and sell more Load AS for RRS but no more of the QSE provided Load RRS AS can be used to cover that QSE’s RRS Obligation limit. The excess above such limit can be sold and used to cover other QSE’s obligations. Consequently, there is no violation. Additionally, QSE who over supply AS are not paid for the overage. While this must be identified for COM Settlement it is strictly speaking not a violation of the limits in Protocol Section 3.16. QSE level AS Supply Responsibility = Self Arranged AS + AS Trade (sold) + DAM AS awards + SASM awards – AS Trade (bought) – SASM replacement – SASM failure to provide
Luminant | 2.8 | 2.8 | 1. If the SASM is executed for the purpose of meeting an increase in the AS ObligationsPlan and it is aborted because of system failures, the question arises as to whether or not the RUC supplied AS addition should be decommitted when it becomes possible to again execute the SASM process and allow a market solution. TPTF needs to consider an answer to this question. Secondly, if the answer is yes, it may be best to run separate SASMs for replacement versus additional obligation needs. 2. If the SASM is for replacement AS and is aborted due to system failure, the question of who pays for the RUC ordered AS should also be considered by TPTF. |  | Procedure will be updated based on TPTF discussion
Luminant | 2.9 | 2.9 | SASM clearing prices are subject to the same ERCOT certification timeing as are Real Time SPP. Therefore, this subprocess must be completed before 1600 hours of the next Business Day after the Operating Day | Accepted | Review the reasonableness of the SASM results during the Operating day and mark the executions which need to be reevaluated. Study the marked SASM execution and identify the issue, the cause of the issue and the possible impact. Create a report explaining the findings and communicate to BOD. Before 1600 hours of the next Business Day after the Operating Day, post the decisions on the SASM MCPC for the Operating Day. For SASM execution with no issues identified, declare corresponding SASM MCPCs as final. If the Board finds that the SASM MCPCs are significantly affected by a software or data error and requests for price correction, then study the saved case of the interval with the modified data under price correction mode.
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant
Luminant