- Introduction

- Title:	Reporting of Interruptible Demands and Direct Control Load Management

- Number:	MOD-019-TRE-1

- Purpose:	To ensure that assessments and validation of past events and databases can be performed, reporting of actual demand data is needed.  Forecast demand data is needed to perform future system assessments to identify the need for system reinforcement for continued reliability.  In addition, to assist in proper real-time operating, load information related to controllable Demand-Side Management programs is needed.  Regional Difference: Load Serving Entities removed for ERCOT Interconnection.

- Applicability:

  - Planning Authority

  - Transmission Planner

  - Resource Planner

- (Proposed) Effective Date:	April 1, 2005

- Requirements

- The Planning Authority, Transmission Planner, and Resource Planner shall each provide annually its forecasts of interruptible demands and Direct Control Load Management (DCLM) data for at least five years and up to ten years into the future, as requested, for summer and winter peak system conditions to NERC, the Regional Reliability Organizations, and other entities (, Planning Authorities, and Resource Planners) as specified by the documentation in Reliability Standard MOD-016-1_R1.

- Measures

- The Planning Authority, Transmission Planner, and Resource Planner shall each provide evidence to its Compliance Monitor that it provided forecasts of interruptible demands and DCLM data per Reliability Standard MOD-019-0_R1.

- Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Each Regional Reliability Organization.

  - Compliance Monitoring Period and Reset Time Frame

Annually or as specified in the documentation (Reliability Standard MOD-016-1_R1.)

  - Data Retention

None specified

  - Compliance Monitoring and Assessment Processes

Text

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| --- | --- | --- | --- | --- |
| - R1 | - Not applicable | - Not applicable | - Not applicable | Did not provide forecasts of interruptible Demands and DCLM data as required in Standard MOD-019-0_R1. |

- Regional Variances

- In the ERCOT Interconnection, the Load-Serving Entity Applicability is removed.  Due to the single control area mandated by State law, ERCOT ISO does not obtain forecasts of interruptible load from any other entity.  Transmission Planners are already performing this function and no additional Load-Serving Entity functions are needed.

- Associated Documents

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |