- Introduction

- Title:	Providing Interruptible Demands and Direct Control Load Management Data to System Operators and Reliability Coordinators

- Number:	MOD-020-TRE-1

- Purpose:	To ensure that assessments and validation of past events and databases can be performed, reporting of actual demand data is needed.  Forecast demand data is needed to perform future system assessments to identify the need for system reinforcement for continued reliability.  In addition to assist in proper real-time operating, load information related to controllable Demand-Side Management programs is needed.  Regional Difference: Load Serving Entities removed for ERCOT Interconnection.

- Applicability:

  - Transmission Planner

  - Resource Planner

- (Proposed) Effective Date:	April 1, 2005

- Requirements

- The Transmission Planner and Resource Planner shall each make known its amount of interruptible demands and Direct Control Load Management (DCLM) to Transmission Operators, Balancing Authorities, and Reliability Coordinators on request within 30 calendar days.

- Measures

- The Transmission Planner and Resource Planner each make known its amount of interruptible demands and DCLM to Transmission Operators, Balancing Authorities and Reliability Coordinators on request within 30 calendar days.

- Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Reliability Organization.

  - Compliance Monitoring Period and Reset Time Frame

On request (within 30 calendar days).

  - Data Retention

Not specified.

  - Compliance Monitoring and Assessment Processes

Text

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| --- | --- | --- | --- | --- |
| - R1 | Interruptible Demands and DCLM data were provided to Reliability Coordinators, Balancing Authorities, and Transmission Operators, but were incomplete. | - Not applicable | - Not applicable | Interruptible Demands and DCLM data were not provided to Reliability Coordinators, Balancing Authorities, and Transmission Operators. |

- Regional Variances

- In the ERCOT Interconnection, the Load-Serving Entity Applicability is removed.  Due to the single control area mandated by state law, ERCOT ISO does not obtain forecasts of interruptible load from any other entity.  Transmission Planners are already performing this function and no additional Load-Serving Entity functions are needed.

- Associated Documents

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |