Advanced Metering Interim Solution Use Cases

| Use Case Number: 02 | Related Business Requirements: BR-001.01 BR-001.04 BR-001.05 BR-001.06 BR-001.07 BR-007 BR-007.01 BR-007.02 |  | Date: 9/30/2008 | Version: .08 |
| --- | --- | --- | --- | --- |
| High Level Description |  | ERCOT performs data content and business validations on each data record submitted prior to loading the data. ERCOT will generate an extract for the TDSP to indicate which data loaded successfully and which data failed to load (for content or business validations). Note: Extract will be defined and published to the Market at a later date. |  |  |
| Requirement |  | BR-001.01: Ability for the TDSP to send and ERCOT to receive a file size of up to 50,000 data records (1 or more ESIIDs per file with no less than a complete day’s worth of 15 minute usage data for each ESIID included in the file, including zero fills, if necessary in the event the power is off and there is Nothing to read – cannot send null)). BR-001.04: Ability for the TDSP to create an LSE file that includes one header record for each complete day for each ESIID in the file (this does not preclude including multiple days for an ESIID in the file as long as each complete day has a unique header record). BR-001.05: Ability for ERCOT to perform a validation on the LSE file received from a TDSP to ensure that the LSE file can be attempted to be loaded into ERCOT systems Note: The validation is not at the transaction posting level. It is at the file level. BR-001.06: Ability for ERCOT to notify the TDSP if there is an instance that the LSE file cannot be read. Note: The notification is not at the transaction posting level. It is at the file level. BR-001.07: Ability for the TDSP to send to ERCOT load and generation KWH data values with 3 significant digits to the right of the decimal. BR-007: Ability for ERCOT to perform business validations pertaining to the loading of the 15 minute interval data at ERCOT (e.g., is the ESIID really owned by the TDSP who sent the LSE file, etc.). BR-007.01: Ability for ERCOT to generate a notification to the TDSP that data loaded successfully, in a report BR-007.02: Ability for ERCOT to generate a notification to the TDSP that data did not load successfully, in a report: - ESIID does not exist - Sender is not the owner of the ESIID - ERCOT is the Meter Reading Entity (MRE) - Transaction start time occurs after or is equal to transaction stop time - Incorrect interval status/Missing interval status - Transaction must be for one complete day containing 96 intervals and 92 or 100 for DST days - Data does not contain a whole day starting at 00:00:00 and ending at 23:59:59 - Negative usage - ESIID not setup to receive interval data <TDSP must submit an IDR meter type profile code change prior to sending interval data> - The profile code meter type is not IDR. - No more than 3 significant digits to the right of the decimal |  |  |
| Definitions |  | Term; Definition. Transaction/Data Record; One set of header and detail rows. A data record contains the 15 minute interval data for one ESI ID for one operating day. The terms transaction and data record can be used interchangeably.. File; The transactions or data records that are submitted together in one file.. |
| Pre-Conditions/Trigger |  | - TDSP submits a file to ERCOT using the NAESB protocol. - ERCOT receives the file. - ERCOT sends NAESB acknowledgement of receipt. - TDSP receives NAESB acknowledgement of receipt. |  |  |
| Scenario 1: One transaction loads successfully. |  | - ERCOT validates the file. File contains one data record. - The data record passes the data content validations. - The data record passes the business validations. - Data loads successfully. - Extract shows that data record was successfully loaded. |  |  |
| Scenario 2: Multiple transactions load successfully. |  | - ERCOT validates the file. File contains multiple data records. Each data record has the appropriate header and data rows. - Each data record passes the data content validations. - Each data record passes the business validations. - All data records load successfully. - Extract shows that all data records successfully loaded. |  |  |
| Scenario 3: One transaction in a file fails validation. |  | - ERCOT validates the file. File contains multiple data records. - One transaction contains a content error. As soon as the error in that data record is found, validations on that data record stop. - Validations continue for the rest of the data records. - The remaining data records pass content and business validations. - All remaining data records load successfully. - Extract shows the one data record that failed and provides information on the type of error. The extract shows that all other data records from the file successfully loaded. |  |  |
| Note: |  | The examples below do not attempt to cover every variation of valid and invalid rows. These are just a few examples for illustrative purposes. |  |  |
| Header Row One Examples of valid rows |  | All elements in header row one are mandatory. Valid example for load – 00000001,100000000000000,4,20080510000000,20080510235900,Y,N Valid example for generation - 00000001,100000000000000,1,20080510000000,20080510235900,Y,N |  |  |
| Header Row One Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000002,100000000000000,4,20080510000000,20080510235900,Y,N (incorrect sort code) 00000001,100000000000000,4,20080510000000,20080510235900 (missing last 2 elements) 00000001,100000000000000,,20080510000000,20080510235900,Y,N (missing channel) 00000001,100000000000000,,20080510000000,20080510235900,Y,Y (final element must be N) 00000001,100000000000000,4,20080510000000,20080509235900,Y,N (stop time prior to start time) |  |  |
| Header Row Two Examples of valid rows |  | Example of a valid row two with default values in all optional elements 00000002,0,0,0,,0,,900,01,1,-1,0.0,0.0,CST Example of a valid row two with all optional elements left blank. Correct number of commas is maintained. 00000002,,,,,,,900,01,,,,,CST |  |  |
| Header Row Two Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000002,0,0,0,0,0,0,900,01 (missing final elements in row) 00000002,,,,,,,600,01,,,,,CST (incorrect seconds per interval) 00000003,0,0,0,0,0,0,900,01,1,-1,0.0,0.0,CST (incorrect sort code) |  |  |
| Header Row Three Examples of valid rows |  | Both elements in header row three are mandatory. 00000003,UNIQUETRANID0123456789 |  |  |
| Header Row Three Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000003, (missing second element) 00000002,UNIQUETRANID0123456789 (incorrect sort code) 00000004,UNIQUETRANID0123456789 (incorrect sort code) |  |  |
| Header Row Four Examples of valid rows |  | All elements in header row four are mandatory. 00000004,20080511220000,M |  |  |
| Header Row Four Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000004,20080511220000,A (incorrect origin) 00000004,20080511220000 (missing origin) 00000004,,M (missing timestamp) 00000005,20080511220000,M (incorrect sort code) |  |  |
| Header Row Thirty Examples of valid rows |  | All elements provided. 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049,REP=111111111 CR DUNS not provided 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049,REP= |  |  |
| Header Row Thirty Examples of invalid rows |  | These rows will cause the entire data record to fail – 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049, (missing final element) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=,Sender=666666666,Receiver=183529049,REP=111111111 (missing MRE DUNs) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,666666666,Receiver=183529049,REP=111111111 (missing Sender= in front of DUNS) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=666666666,REP=111111111 (receiver DUNS must equal ERCOT) 00000005,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049,REP=111111111 (incorrect sort code) 00000030,,MRE=666666666,Sender=666666666,Receiver=183529049,REP=111111111 (missing the ATTRIBUTE_VALUE_PAIRS designation) 00000030,ATTRIBUTE_VALUE_PAIRS,MRE=666666666,Sender=666666666,Receiver=183529049, (REP= is mandatory, even if the DUNS is not provided) |  |  |
| Detailed Record Examples of valid rows |  | Example of 4 actual reads 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, Example of 4 estimated reads 10000001,66.81,E,,66.52,E,,67.11,E,,67.11,E,, Example of mixed actual and estimated reads 10000003,67.11,A,,66.52,A,,66.81,E,,66.82,E,, |  |  |
| Detailed Record Examples of invalid rows |  | These rows will cause the entire data record to fail – 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, 10000000,68.29,A,,69.17,A,,67.99,A,,67.99,A,, (all detailed rows have same sort code) 10000000,68.29,A,69.17,A,67.99,A,67.99,A, (extra comma for the empty value missing) 10000000,68.29,A,, 10000001,69.17,A,, 10000002,67.99,A,, 10000003,67.99,A,, (each detailed row has only one read) 10000000,.2948,A,,.17,A,,.999,A,,.9,A,, (more than 3 digits to right of decimal) 10000004,68.29,A,,,A,,,A,,67.99,A,, (missing intervals) 10000005,68.29,A,,,,,,,,67.99,A,, (missing intervals with no status code) 10000001,66.81,X,,66.52,Y,,67.11,Z,,67.11,9,, (invalid status codes) |  |  |