## Slide 1: WOTF question for Dec ROS vote:
The WOTF asks ROS to consider whether the interpretation of Protocol 6.5.7.1 dated Nov. 13, 2008, is accurate (i.e., the “rectangle” – constant MVar -- vs. the “cone” – constant p.f.).
The WOTF is concerned the interpretation rendered by ERCOT will adversely impact both wind generators and conventional generators.
If the ROS believes only wind units will be adversely impacted by the interpretation, then the WOTF will consider development of a PRR for wind units.
If the ROS believes all generators may be adversely impacted by the interpretation, then the issue should be addressed by a task force the ROS designates.