# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## December 11, 2008

- The DWG last met on November 20-21.

- Flat Start Progress:

  - Most of the work on the 2008 Future Year (year 2011) flat start has been completed.  The outstanding issues with this flat start should be resolved by the end of the year.

  - The 2008 Wind flat start has not been accepted by all of the DWG members.  The primary point of contention is the use of the latest releases of various wind modeling packages and how the associated scripts assign wind turbine bus numbers in the network models.  The underlying issue is the same problem that has existed all along with wind turbine modeling packages.  Wind turbine manufactures design their modeling packages without provisions for various user needs.

  - The 2009 Current Year flat start is under way.

- The DWG has completed the annual review of the Procedural Manual and has posted a draft of the revised manual for ROS’s approval.

- The DWG will be forming a small study group to address the issue of improving governor models utilized in the ERCOT Dynamics Model Database.

- The first draft of the LaaRs study report is substantially complete.  DWG’s final review of the draft will be completed by the end of the year.  The DWG will forward the draft report to ROS in advance of the Jan 2009 ROS meeting.

- The next DWG meeting is tentatively scheduled for January 28-29.

DWG Tasks, 2008

| Task | Status |
| --- | --- |
| Publish 2007 & 2010 flat start book. | Completed |
| 2008 Current Year flat start (2008 Summer Peak from 2008 DSA). | Completed |
| Responsive Reserve / LaaRs study | Working |
| 2008 future year flat start (2011 Summer Peak from 2008 DSB). | Working |
| 2008 Flat start case with wind models (2008 Summer Peak from 2008 DSA). | Working |
| Publish 2008 & future year flat start book. | Future Activity |
| 2009 Current Year flat start (2009 Summer Peak from 2009 DSA). | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Annual Procedural Manual review/update. | Working |