| NPRR Number | 146 | NPRR Title | ICCP Telemetry Information Submittals |
| --- | --- | --- | --- |
| Date |  | November 13, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Linda Clarke |  |
| E-mail Address |  | lclarke@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4186 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

NPRR146 ERCOT Implementation Clarifications

For  implementing NPRR146, the existing NMMS dynamic rating functionality will be used to support the submission and processing of the ICCP data NOMCR.  This will require the following modifications:

- NMMS Software changes will be necessary to eliminate the validation that currently ensures the data submittal is for dynamic ratings only; this screening process will be eliminated and a manual process will be used to ensure that data submittals are either for dynamic rating changes or for ICCP data updates only.

- NMMS User Interface changes will be necessary to change the Dynamic Rating button to an “ICCP & Dynamic Rating button.”

Revised Proposed Protocol Language

None.