| NPRR Number | 146 | NPRR Title | ICCP Telemetry Information Submittals |
| --- | --- | --- | --- |
| Date |  | December 17, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Joel Mickey on behalf of the Transition Plan Task Force (TPTF) |  |
| E-mail Address |  | jmickey@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512.248.3925 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

On December 15, 2008, TPTF reviewed ERCOT’s comments dated November 13, 2008 regarding Nodal Protocol Revision Request (NPRR) 146.  TPTF made additional edits to the NPRR as indicated by the redlines below.  TPTF endorsed submitting these comments to PRS.  The endorsement carried by roll-call vote with 100% in favor.  The Consumer Market Segment was not represented for the vote.  Please refer to the voting spreadsheet for details.

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Protocol Language

3.10.1	Time Line for Network Operations Model Change Requests

(1)	ERCOT shall perform periodic updates to the ERCOT Network Operations Model.  Market Participants may provide Network Operations Model updates to ERCOT to implement planned transmission and Resource construction one year before the required submittal date below.  TSPs and Resource Entities must timely submit Network Operations Model changes pursuant to the schedule in this Section to be included in the updates.

(2)	For a facility addition, revision, or deletion to be included in any Network Operations Model update, all technical modeling information must be submitted to ERCOT pursuant to the ERCOT NOMCR process.

(3)	TSPs and Resource Entities shall submit Network Operations Model updates at least three months prior to the physical equipment change.  ERCOT shall update the Network Operations Model according to the following table:

| Deadline to Submit Information to ERCOT Note 1 | Model Complete and Available for Test Note 2 | Updated Network Operations Model Testing Complete Note 3 | Update Network Operations Model Production Environment | Target Physical Equipment In-Service Date Note 4 |
| --- | --- | --- | --- | --- |
| Jan 1 | Feb 15 | March 15 | April 1 | Month of April |
| Feb 1 | March 15 | April 15 | May 1 | Month of May |
| March 1 | April 15 | May 15 | June 1 | Months of June–August SUMMER MODEL |
| June 1 | July 15 | August 15 | September 1 | Month of September |
| July 1 | August 15 | September 15 | October 1 | Month of October |
| August 1 | September 15 | October 15 | November 1 | Month of November |
| September 1 | October 15 | November 15 | December 1 | Month of December |
| October 1 | November 15 | December 15 | January 1 | Month of January (the next year) |
| November 1 | December 15 | January 15 | February 1 | Month of February (the next year) |
| December 1 | January 15 | February 15 | March 1 | Month of March (the next year) |

Notes:

1.	Transmission and Resource data submissions complete per ERCOT Network Operations Model Change Request process for inclusion in next update period.

2.	Network Operations Model data changes and preliminary fidelity test complete by using the Network Operations Model test facility described in Section 3.10.4(3).  The test version of the Network Operations Model will be available for market review and further testing by Market Participants.

3.	Testing of the Network Operations Model by Market Participants is complete and ERCOT begins the Energy Management System testing prior to placing the new model into the production environment.

4.	Updates include changes starting at this date and ending within the same month.

(4) 	ERCOT shall only approve energization requests when the Transmission Element is satisfactorily modeled in the Network Operations Model.

(5)	In order to allow for construction schedules, TSPs may use pseudo-breakers and switches to designate future facilities configurations such that the Network Operations Model topology may be correctly implemented as construction of new facilities is accomplished.

(6)	NOMCR submittals containing only ICCP data object names shall be provided no later than fifteen (15) days prior to the proposed Energize Date for Transmission Elements represented by the ICCP data object names and shall not be subject to IMM and PUC reporting (reference 3.10.4 ERCOT Responsibilities (5)), according to the following:

| NOMCR that contains ICCP Data and is submitted … | ERCOT shall … | Subject to IMM & PUC Reporting |
| --- | --- | --- |
| Beyond 90 days of the energization date | Allow the NOMCR with ICCP data l | No |
| Between 90 and 15 days of energization date | Allow the NOMCR with only ICCP data | No |
| Within 15 days of the energization date | Require a new NOMCR to be submitted containing the ICCP data | Yes |