| SCR Number | 752 | SCR Title | Nodal: Allow QSEs to Enter Outages for All Assets |
| --- | --- | --- | --- |
| Date |  | December 17, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Woody Rickerson |  |
| E-mail Address |  | wrickerson@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, Texas 76574 |  |
| Phone Number |  | 512-248-6501 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | This functionality was included in the original ERCOT System Requirements. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | More efficient |  |
|  | 2 | Less error prone |  |
|  | 3 | Keeps QSE accountable for all assets owned |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Comments

ERCOT submits the following responses to the “Reason for Revision” offered by the sponsor of this System Change Request (SCR):

- The timeline to enter planned and unplanned Outages is critical.  Coordination and communication is key to performing any Outage activity.  If QSEs are required to coordinate with ERCOT Staff, within their own organizations and with Transmission Service Providers (TSPs), this could introduce an extra layer of complexity.  As the owner, QSEs should be allowed to enter and be responsible for all updates for all of their assets.

ERCOT Response: It is suggested that there is not time for the owner of transmission equipment within a generation facility to coordinate its Outages with the local TSP before providing them to ERCOT.  ERCOT Staff respectfully disagrees.  No reliability or economic reason for neglecting coordination with the local TSP is described.

- The PUCT-approved Standard Generation Interconnection Agreement currently has no provision for the TSP to enter Outages for Transmission Elements operated by the QSE.  This would have to be developed and a service level agreement put in place and would potentially require changes to the PUCT Rules.

ERCOT Response: Under the current zonal system, no provision exists in the Outage Scheduler for a Generator Operator to enter Outages for transmission components.  Current Operating Guides specify that Outages of customer owned switching devices be coordinated through the Transmission Operator (TO) (Operating Guide Section 1.7.3).   This relationship is illustrated in Section 1.4, Market Overview, of the Operating Guides.  The Nodal design is simply a continuation of an already proven process.

- There is currently no automatic transfer of Outage information between the QSE and TSP.  To successfully have information flow, technology would be needed to allow the two or more entities to exchange data, and on an almost instantaneous basis.  In some cases, the QSE may interact with several TSPs, and this would add to the complexity.  There is no standard format in place for this system interface, so it would require development from the ground up.

ERCOT Response: Neither ERCOT nor NERC has a requirement for automatic transfer of Outage information.  ERCOT Staff believes that existing business practices demonstrate that QSEs are capable of successfully coordinating transmission equipment Outages with TSPs.

- As a QSE, the Lower Colorado River Authority (LCRA) performs studies assuming the Outage will be approved; however, when we receive updates to the contrary from ERCOT, we have to re-run our studies and often resubmit data.  Adding third parties to this process will cause time delays and the potential for additional errors.  With the tighter nodal timelines, this will negatively impact the market.

ERCOT Response: It is true that equipment Outages have a negative impact on energy markets.  However, it is unclear why coordination between equipment owners and local TSPs prior to submittal to ERCOT would increase the amount of negative impact.  In addition, Nodal timelines for outage coordination are no tighter than zonal timelines.

- Accountability should lie with Entity responsible for the asset information updates.

ERCOT Response: The Nodal Metrics designed to measure Outage scheduling performance will assign responsibility to the owners of the outaged equipment.