- Section 5:

PRR769 – EECP Media Appeal Change

This Protocol Revision Request (PRR) removes required energy conservation media appeal from Emergency Electric Curtailment Plan (EECP) Step 2 and adds it to Step 3.  This PRR also allows ERCOT management to issue a media appeal for voluntary energy conservation at management’s discretion without requiring ERCOT CEO authorization.

Revised Subsections:  5.6.6.1, 5.6.6.2, 5.6.7 [Grey-boxed Effective February 1, 2009]