- Section 1:

PRR774 – Treatment of Financial Information as Confidential

This Protocol Revision Request (PRR) clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information.

Revised Subsection: 1.3.1.1

PRR775 – Change the name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)

This PRR changes the name of the Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA).  This PRR also changes the defined term “Alert” to “Watch.”

Revised Subsection: 1.3.1.1 [Grey-boxed Effective May 1, 2009]

- Section 2:

PRR775 – Change the name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)

See Section 1 above.

Revised Subsections: 2.1, 2.2 [Grey-boxed Effective May 1, 2009]

- Section 4:

PRR773 – Setting the LSL Requirement for WGRs

This PRR requires that a Wind-powered Generation Resource (WGR) Low Sustainable Limit (LSL) be set at ten percent (10%) of the name plate rating of the WGR.

Revised Subsections: 4.10.4, 4.10.4.1 (new)

PRR777 – WGR QSE Metric Correction

This PRR exempts WGR Qualified Scheduling Entities (QSEs) from the Resource Plan metric that compares Day Ahead and Adjustment Period schedules to Resource Plans.

Revised Subsections: 4.10.5, 4.10.6

- Section 5:

PRR775 – Change the name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)

See Section 1 above.

Revised Subsections: 5.6.3, 5.6.5, 5.6.6.1, 5.6.6.2, 5.6.7, 5.6.7.1, 5.6.8, 5.7, 5.8 [Grey-boxed Effective May 1, 2009]

- Section 6:

PRR771 – Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources

This PRR proposes a requirement for WGRs to limit the ramp rate to ten percent (10%) per minute of On-line installed capability.

Revised Subsection: 6.5.13

PRR775 – Change the name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)

See Section 1 above.

Revised Subsections: 6.1.13, 6.5.2, 6.5.12, 6.6.7, 6.7.3, 6.7.9, 6.10.2, 6.10.3.2, 6.10.6, 6.10.13.3 [Grey-boxed Effective May 1, 2009]

- Section 9:

PRR720 – Texas Regional Entity Fee Methodology Revision

This PRR changes how ERCOT issues invoices to collect the Texas Regional Entity Fee (TREF).

Revised Subsection: 9.7.1 [Unboxed due to effective date]

- Section 11:

PRR756 – Distributed Renewable Generation Modifications

This PRR proposes changes to allow for the Load Profiling and Data Aggregation methodology to better represent output of distributed renewable generation Resources with a capacity of less than 50 kW.  This PRR complies with HB 3693.

Revised Subsections: 11.4.4.2, 11.4.4.3 [Unboxed due to effective date]

- Section 13:

PRR770 – Deletion of UFE Analysis Zone Language

This PRR deletes an outdated section pertaining to Unaccounted for Energy (UFE) analysis.

Revised Subsection: 13.4.2

- Section 18:

PRR756 – Distributed Renewable Generation Modifications

See Section 11 above.

Revised Subsections: 18.2, 18.2.2, 18.2.3(new) [Unboxed due to effective date]

- ERCOT Fee Schedule:

PRR756 – Distributed Renewable Generation Modifications

See Section 11 above.

Revised Attachment: ERCOT Fee Schedule

- Administrative Changes:

Non-substantive administrative changes were made such as updating Section numbering and references, correcting acronym usage, defined term usage, formatting, and citations.

Revised Subsections:  18.2.4, 18.2.5, 18.2.6, 18.2.7, 18.2.8, 18.2.9, 18.2.10, 18.2.10.2, 18.3.3