DRAFT Standard Authorization Request DRAFT

##### E-mail completed form to rsm@texasre.org

Texas RE to Complete

SAR No: 005

Title of Proposed Standard: EOP-002-TRE-1 Capacity and Energy Emergencies, Variance for ERCOT Interconnection

Request Date: December 5, 2008

| #### SAR Requester Information | #### SAR Type (Check a box for each one that applies.) |  |
| --- | --- | --- |
| Name: Judith A. James, Manager Reliability Standards, Texas RE |  | - New Standard |
| Primary Contact : Judith A. James, Manager Reliability Standards, Texas RE |  | - Revision to existing Standard |
|  |  | - Revision to the Standard Development Process |
| Telephone 512-225-7247 |  | - Withdrawal of existing Standard |
| Fax 512-225-7165 |  | - Variance to NERC Standard EOP-002 |
| E-mail Judith.james@texasre.org |  | - Urgent Action |

#### Purpose (Describe what the standard action will achieve in support of bulk power system reliability.) This regional variance will ensure that the appropriate entities are held accountable for meeting the requirements of EOP-002 Capacity and Energy Emergencies in the ERCOT Interconnection. Per FERC Order 125 FERC 61,057 regarding registration of market participants as Load Serving Entities (LSE), the identity of appropriate entities to be registered has been contested in FERC Docket Nos. RC07-4-003, RC07-6-003, and RC07-7-003. Per this FERC Order, “NERC’s July 31, 2008 compliance filing is hereby approved.” In the compliance filing, NERC proposed “as a short-term solution, revisions to the NERC Statement of Compliance Registry Criteria to provide that a distribution provider to whose system the electric loads in retail choice area are connected will be registered as the LSE for all loads connected to its system.” The Order approves NERC’s proposed short-term solution to register Distribution Providers (DP)as LSEs, and “indicates that interested entities should participate in NERC’s Reliability Standards development process to assure that their concerns are considered in the development of a long-term approach to the matter.” Per the Order, “NERC recognizes the concerns of several commenters regarding the market structure and legal framework in ERCOT and indicates that concurrent or joint registration may be needed immediately. NERC states that it is committed to work with the Regional Entities to ensure that there is no gap and no overlap in coverage with respect to compliance with the LSE Reliability Standards.”

#### Industry Need (Provide a justification for the development or revision of the standard, including an assessment of the reliability and market interface impacts of implementing or not implementing the standard action.) According to State of Texas law (PUCT Subst. Rule 25.342 (f)(2) Separation of Transmission and Distribution Utility Services), a transmission and distribution utility shall not provide competitive energy services; therefore certain LSE requirements are not performed by the DP in the ERCOT Interconnection. This action will remove the LSE Applicability and ensures there are no registration gaps or overlaps for EOP-002 Reliability and market interface impacts are unchanged because these requirements are presently and will continue to be performed by other NERC-registered entities.

Brief Description (Provide a paragraph that describes the scope of this standard action.) This variance will remove the LSE Applicability from EOP-002 Capacity and Energy Emergencies.

Detailed Description (Provide a description of the proposed project with sufficient details for the standard drafting team to execute the SAR.) EOP-002 R 9.1 states: “The deficient Load-Serving Entity shall request its Reliability Coordinator to initiate an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0.” Removal of the LSE Applicability will ensure there is no gap and no overlap in coverage with respect to compliance with the LSE Reliability Standards. This action removes the LSEs from the Applicability list due to the ERCOT Interconnection having only one Balancing Authority in one Control Area. In the current ERCOT Interconnection, ERCOT ISO, as the Reliability Coordinator, initiates Energy Emergency Alerts as part of the EECP process required in the ERCOT Protocols, Section 5.6.7.

## Reliability Functions

## For a more detailed description of the Reliability Functions, please refer to the NERC Functional Model.

All terms in this Regional Standard uses NERC terms and definitions as appearing in the NERC glossary

| #### The Standard will Apply to the Following Functions (Check box for each one that applies.) |  |
| --- | --- |
| Transmission Owner | Transmission Service Provider |
| Generator Owner | Generator Operator |
| Balancing Authority | Interchange Authority |
| Reliability Coordinator | Purchasing-Selling Entity |
| Resource Planner | Load-Serving Entity |
| Distribution Provider | Planning Authority |
| Transmission Planner | Transmission Operator |

## Reliability and Market Interface Principles

| #### Applicable Reliability Principles (Check box for all that apply.) |  |
| --- | --- |
|  | - Interconnected bulk power systems shall be planned and operated in a coordinated manner to perform reliably under normal and abnormal conditions as defined in the NERC Standards. |
|  | - The frequency and voltage of interconnected bulk power systems shall be controlled within defined limits through the balancing of real and reactive power supply and demand. |
|  | - Information necessary for the planning and operation of interconnected bulk power systems shall be made available to those entities responsible for planning and operating the systems reliably. |
|  | - Plans for emergency operation and system restoration of interconnected bulk power systems shall be developed, coordinated, maintained and implemented. |
|  | - Facilities for communication, monitoring and control shall be provided, used and maintained for the reliability of interconnected bulk power systems. |
|  | - Personnel responsible for planning and operating interconnected bulk power systems shall be trained, qualified, and have the responsibility and authority to implement actions. |
|  | - The security of the interconnected bulk power systems shall be assessed, monitored and maintained on a wide area basis. |
|  | 8. Bulk power systems shall be protected from malicious physical or cyber attacks. |
| Does the proposed Standard comply with all of the following Market Interface Principles? (Select ‘yes’ or ‘no’ from the drop-down box.) |  |
| - A reliability standard shall not give any market participant an unfair competitive advantage. |  |
| - A reliability standard shall neither mandate nor prohibit any specific market structure. |  |
| - A reliability standard shall not preclude market solutions to achieving compliance with that standard. |  |
| - A reliability standard shall not require the public disclosure of commercially sensitive information. All market participants shall have equal opportunity to access commercially non-sensitive information that is required for compliance with reliability standards. |  |

## Related Standards

| #### Standard | #### Explanation |
| --- | --- |

## Related SARs

| #### SAR | #### Explanation |
| --- | --- |
| SAR-006 | SAR-006 is related to SAR-005 by the referenced 125 FERC 61,057 Order that requires DPs to register as LSEs. The standards were grouped in SARs for convenience of similar standards having similar changes to be made within them to meet the goal of the FERC Order. |
| SAR-007 | SAR-007 is related to SAR-005 by the referenced 125 FERC 61,057 Order that requires DPs to register as LSEs. The standards were grouped in SARs for convenience of similar standards having similar changes to be made within them to meet the goal of the FERC Order. |