DRAFT Standard Authorization Request DRAFT

Title of Proposed Standards: MOD-019-TRE-1 Forecasts of Interruptible Demands and DCLM Data, Variance for ERCOT Interconnection MOD-020-TRE-1 Providing Interruptible Demands and DCLM Data, Variance for ERCOT Interconnection MOD-021-TRE-1 Accounting Methodology for Effects of Controllable DSM in Forecasts, Variance for ERCOT Interconnection

Request Date: December 5, 2008

| SAR Requester Information | SAR Type (Check a box for each one that applies.) |
| --- | --- |
| Name: Judith A. James, Manager Reliability Standards, Texas RE |  | New Standard |
| Primary Contact: Judith A. James, Manager Reliability Standards, Texas RE |  | Revision to existing Standard |
|  |  | Revision to the Standard Development Process |
| Telephone 512-225-7247 |  | Withdrawal of existing Standard |
| Fax 512-225-7165 |  | Variance to NERC Standards MOD-019, MOD-020, MOD-21 |
| E-mail Judith.james@texasre.org |  | Urgent Action |
| Purpose (Describe what the standard action will achieve in support of bulk power system reliability.) This regional variance will ensure that the appropriate entities are held accountable for meeting the requirements of MOD-019 Forecasts of Interruptible Demands and DCLM Data, MOD-020 Providing Interruptible Demands and DCLM Data, and MOD-021 Accounting Methodology for Effects of Controllable DSM in Forecasts in the ERCOT Interconnection. Per FERC Order 125 FERC 61,057 regarding registration of market participants as Load Serving Entities, the identity of appropriate entities to be registered has been contested in FERC Docket Nos. RC07-4-003, RC07-6-003, and RC07-7-003. Per this FERC Order, “NERC’s July 31, 2008 compliance filing is hereby approved.” In the compliance filing, NERC proposed “as a short-term solution, revisions to the NERC Statement of Compliance Registry Criteria to provide that a distribution provider to whose system the electric loads in retail choice area are connected will be registered as the LSE for all loads connected to its system.” The Order approves NERC’s proposed short-term solution to register Distribution Providers (DP) as LSEs, and “indicates that interested entities should participate in NERC’s Reliability Standards development process to assure that their concerns are considered in the development of a long-term approach to the matter.” Per the Order, “NERC recognizes the concerns of several commenters regarding the market structure and legal framework in ERCOT and indicates that concurrent or joint registration may be needed immediately. NERC states that it is committed to work with the Regional Entities to ensure that there is no gap and no overlap in coverage with respect to compliance with the LSE Reliability Standards.” |
| Industry Need (Provide a justification for the development or revision of the standard, including an assessment of the reliability and market interface impacts of implementing or not implementing the standard action.) According to State of Texas law (PUCT Subst. Rule 25.342 (f)(2) Separation of Transmission and Distribution Utility Services), a transmission and distribution utility shall not provide competitive energy services; therefore, certain LSE requirements are not performed by the DP in the ERCOT Interconnection. The ERCOT ISO is the only Transmission Operator (TOP) for the ERCOT Interconnection, and as such, receives information directly from the Transmission Planners (TP) and not the DPs. The TPs in the ERCOT Interconnection are already performing the requirements of this standard, so the function is currently performed adequately and efficiently in the best way possible for this single control area region. This regional variance removes the LSE applicability and ensures there are no registration gaps or overlaps for MOD-019, MOD-020 and MOD-021. Reliability and market interface impacts are unchanged because these requirements are presently and will continue to be performed by other NERC-registered entities. |

Brief Description (Provide a paragraph that describes the scope of this standard action.) These variances will remove LSE Applicability from MOD-019, MOD-020 and MOD-21.

Detailed Description (Provide a description of the proposed project with sufficient details for the standard drafting team to execute the SAR.) For MOD-019. MOD-020 and MOD-021, removal of the LSE Applicability will ensure that there is no gap and no overlap in coverage with respect to compliance with the LSE Reliability Standards. For MOD-019 and MOD-020, due to the single control area mandated by state law, ERCOT ISO does not obtain forecasts of interruptible load from any other entity. TPs are already performing this function and no additional LSE functions are needed. Also, for MOD-021, TPs are already performing this function, and it is questionable whether anyone else is even capable of performing this function.

## Reliability Functions

## For a more detailed description of the Reliability Functions, please refer to the NERC Functional Model.

| The Standard will Apply to the Following Functions (Check box for each one that applies.) |
| --- |
| Transmission Owner | Transmission Service Provider |
| Generator Owner | Generator Operator |
| Balancing Authority | Interchange Authority |
| Reliability Coordinator | Purchasing-Selling Entity |
| Resource Planner | Load-Serving Entity |
| Distribution Provider | Planning Authority (MOD-019 only) |
| Transmission Planner | Transmission Operator |

## Reliability and Market Interface Principles

| Applicable Reliability Principles (Check box for all that apply.) |
| --- |
|  | Interconnected bulk power systems shall be planned and operated in a coordinated manner to perform reliably under normal and abnormal conditions as defined in the NERC Standards. |
|  | The frequency and voltage of interconnected bulk power systems shall be controlled within defined limits through the balancing of real and reactive power supply and demand. |
|  | Information necessary for the planning and operation of interconnected bulk power systems shall be made available to those entities responsible for planning and operating the systems reliably. |
|  | Plans for emergency operation and system restoration of interconnected bulk power systems shall be developed, coordinated, maintained and implemented. |
|  | Facilities for communication, monitoring and control shall be provided, used and maintained for the reliability of interconnected bulk power systems. |
|  | Personnel responsible for planning and operating interconnected bulk power systems shall be trained, qualified, and have the responsibility and authority to implement actions. |
|  | The security of the interconnected bulk power systems shall be assessed, monitored and maintained on a wide area basis. |
|  | 8. Bulk power systems shall be protected from malicious physical or cyber attacks. |
| Does the proposed Standard comply with all of the following Market Interface Principles? (Select ‘yes’ or ‘no’ from the drop-down box.) |
| A reliability standard shall not give any market participant an unfair competitive advantage. |
| A reliability standard shall neither mandate nor prohibit any specific market structure. |
| A reliability standard shall not preclude market solutions to achieving compliance with that standard. |
| A reliability standard shall not require the public disclosure of commercially sensitive information. All market participants shall have equal opportunity to access commercially non-sensitive information that is required for compliance with reliability standards. |

## Related Standards

| Standard | Explanation |
| --- | --- |

## Related SARs

| SAR | Explanation |
| --- | --- |
| SAR-005 | The applicable State law and the resulting ERCOT operations and types of participants preclude the standard LSE registration. |
| SAR-006 | The applicable State law and the resulting ERCOT operations and types of participants preclude the standard LSE registration. |

# Text boxes

Texas RE to Complete

SAR No: 007

##### E-mail completed form to rsm@texasre.org