ERCOT Load Profiling Guide

Section 3:  Purpose of Load Profiling

January 1, 2008

3	PURPOSE OF LOAD PROFILING	1

# 3	PURPOSE OF LOAD PROFILING

(1)	Load Profiling within the ERCOT market is the practice of estimating 15-minute interval Load for Customers who do not have devices that measure interval consumption.  Load Profiling enables the participation of these Customers in the ERCOT market.  This practice shall be conducted in a way that attempts to minimize the Load Profiles’ contribution to Unaccounted for Energy (UFE) by the Load Profile over all Settlement Intervals and that no unfair advantage is given to any Market Participant (MP).

(2)	Since most Customers within the market are not equipped with Interval Data Recorders (IDRs), Load Profiling is used to estimate a Customer’s interval Load in a cost-effective and expeditious manner.  For these Customers to participate in the retail market, Load Profile Models are used to estimate their 15-minute interval Load.  In addition, Load Profiling estimates the interval Load for IDR metered Loads when the IDR data is unavailable.