| PRR Number | 776 | PRR Title | Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment |
| --- | --- | --- | --- |
| Date |  | January 7, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mark Patterson on behalf of ERCOT |  |
| E-mail Address |  | mpatterson@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3912 |  |
| Cell Number |  | 512-569-5539 |  |
| Market Segment |  | N/A |  |

Comments

ERCOT has concerns that PRR776, as amended by the 12/31/08 TIEC comments and the 01/05/09 TIEC comments, has the potential to reduce or eliminate available supplemental reserves.   ERCOT has historically informed the North American Electric Reliability Corporation (NERC) that Non-spinning Reserve Ancillary Service contributes to its supplemental reserves, and is used to restore operating reserves after system events.  ERCOT is required to fully restore its Contingency reserves within the Contingency Reserve Restoration Period by NERC Standard BAL-002 R6.

By deploying a subset of the available Non-Spinning Reserve Service (NSRS) through Balancing Energy, the ERCOT System Operator would not have a known source to restore reserves after system events.

The proposal as we understand it converts spinning reserves to a minimum up balancing requirement which would be deployed as demand increases.

One possible remedy for this may be with a system change that would “flag” all the Balancing Energy bids within the sub-QSE that represents the Balancing Energy capable of NSRS. These bids would be made available to SPD only through the deployment of NSRS by the ERCOT System Operator.

Due to the compliance issue being introduced here, ERCOT recommends this PRR be sent to the Reliability Operations Subcommittee (ROS) so this issue may be properly addressed in that forum.

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Protocol Language

None.