| PRR Number | 795 | PRR Title | 90-Day Transmission Outage Scheduling Timeline |
| --- | --- | --- | --- |
| Date Posted |  | January 5, 2009 |  |
| Protocol Section Requiring Revision |  | 8.3.3, Timelines for Response by ERCOT |  |
| Requested Resolution |  | URGENT - Market Participants (MPs) have requested that ERCOT begin coordination of Outages considered for the Transmission Congestion Right (TCR) market at soon as possible. |  |
| Revision Description |  | This Protocol Revision Request (PRR): - Adds a new Outage response timeline that will place a requirement on ERCOT to coordinate Outages submitted with more than ninety (90) days notice at least seventy-five (75) days prior to the start of the proposed Outage; and - Provides clarification of three (3) to eight (8) day timeline to eliminate an overlap in requirements. |  |
| Reason for Revision |  | - The ERCOT TCR case development process incorporates Outages submitted a minimum of forty-five (45) days before their planned start. Currently, ERCOT has no obligation to review any Outage more than thirty (30) days prior to the start of the proposed Outage. The new timeline will increase the accuracy of the TCR Outage by assuring all Outages included in the monthly TCR model have been coordinated. - Original language was confusing in that it appeared that the first two (2) timelines overlapped each other. |  |
| Overall Market Benefit |  | - Proposed change should assist in increasing the accuracy of the TCR model. This will enhance the TCR market’s usefulness. - Proposed change will reduce confusion in timeline interpretation. |  |
| Overall Market Impact |  | - Proposed change will enhance TCR Account Holder’s ability to mitigate Congestion risks by providing more detailed TCR cases. - None. |  |
| Consumer Impact |  | - Proposed change should decrease the impact of Outage-related Congestion due to both oversold and undersold TCRs. - None. |  |
| Credit Implications |  | No. |  |
| Relevance to Nodal Market |  | - No - The Nodal Market already has a ninety (90)-day timeline built into its Outage coordination rules. This change will bring the zonal Outage scheduling timelines in line with Nodal. - No - Nodal Protocols have already clarified this language. Proposed zonal Protocol change will match the existing Nodal Protocol language. |  |
| Nodal Protocol Section(s) Requiring Revision |  | None. |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | 1) Ninety (90)-day timeline does not place an additional burden on MPs. |  |
|  | 2 | 1) Ninety (90)-day timeline does not increase the number of Outages needed to maintain the ERCOT System. |  |
|  | 3 | 2) Wording clarification will produce no change in business practice. |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No additional full time equivalents (FTEs) will be required. |  |
|  | 2 | No changes in software or system tools required. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Enhanced TCR monthly models. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Woody Rickerson |
| E-mail Address | wrickerson@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6501 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Protocol Language Revision

8.3.3	Timelines for Response by ERCOT

For Transmission Facility Outages, ERCOT shall approve or reject each request in accordance with the following table:

| Amount of time between the request for approval of the proposed Outage and the scheduled start date of the proposed Outage: | ERCOT will approve or reject no later than: |
| --- | --- |
| Three (3) days | 0000 hours, one (1) day prior to start of the proposed Outage |
| Between four (4) and eight (8) days | 0000 hours, two (2) days prior to start of the proposed Outage |
| Between nine (9) days and forty-five (45) days | Four (4) days prior to the start of the proposed Outage |
| Between forty-six (46) days and ninety (90) days | Thirty (30) days prior to the start of the proposed Outage |
| Greater than ninety (90) days | Seventy-five (75) days prior to the start of the proposed Outage |

ERCOT will make reasonable attempts to accommodate unusual circumstances that support TSP requests for approval earlier than required by the schedule above.

If circumstances prevent adherence to these timetables, ERCOT shall discuss the request status and reason for the delay of the approval with the requesting TSP and make reasonable attempts to mitigate the effect of the delay on the TSP.

When ERCOT rejects a request for an Outage, ERCOT shall provide TSPs, in written or electronic form, suggested amendments to the schedules of Planned Outage or Maintenance Outage of Transmission Facilities.  Any such suggested amendments accepted by the TSP shall be processed by ERCOT as a Planned Outage or Maintenance Outage of Transmission Facility request in accordance with this Section.