- Introduction

- Title:	Treatment of Nonmember Demand Data and How Uncertainties are Addressed in the Forecasts of Demand and Net Energy for Load

- Number:	MOD-018-TRE-1

- Purpose:	To ensure that Assessments and validation of past events and databases can be performed, reporting of actual demand data is needed.  Forecast demand data is needed to perform future system assessments to identify the need for system reinforcement for continued reliability.  In addition, to assist in proper real-time operating, load information related to controllable Demand-Side-Management programs is needed.  Regional Difference: Load Serving Entities removed for ERCOT Interconnection.

- Applicability:

  - Planning Authority

  - Transmission Planner

  - Resource Planner

- (Proposed) Effective Date:

- Requirements

- The Planning Authority, Transmission Planner and Resource Planner’s report of actual and forecast demand data (reported on either an aggregated or dispersed basis) shall:

  - Indicate whether the demand data of nonmember entities within an area or Regional Reliability Organization are included, and

  - Address assumptions, methods, and the manner in which uncertainties are treated in the forecasts of aggregated peak demands and Net Energy for Load.

  - Items (MOD-018-0_R1.1) and (MOD-018-0_R1.2) shall be addressed as described in the reporting procedures developed for Standard MOD-016-0_R1.

- The Planning Authority, Transmission Planner and Resource Planner shall each report data associated with Reliability Standard MOD-018-0_R1 to NERC, the Regional Reliability Organization,  Planning Authority, and Resource Planner on request (within 30 calendar days).

- Measures

- The Planning Authority , Transmission Planner, and Resource Planner shall each provide evidence to its Compliance Monitor that its actual and forecast demand data were addressed as described in the reporting procedures developed for Reliability Standard MOD-018-0_R1.

- The Planning Authority, Transmission Planner, and Resource Planner shall each provide current information for Reliability Standard MOD-018-0_R1 to NERC, the Regional Reliability Organization, Planning Authority, and Resource Planner on request (within 30 days).

- Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Reliability Organizations.

  - Compliance Monitoring Period and Reset Time Frame

On Request (within 30 calendar days).

  - Data Retention

None specified.

  - Compliance Monitoring and Assessment Processes

Text

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| --- | --- | --- | --- | --- |
| - R1 | Information for Reliability Standard MOD-018-0 item R1.1 or R1.2 was not - provided. | Information for Reliability Standards MOD-018-0 items R1.1 and R1.2 was - not provided. | - Not applicable | - Not applicable |

- Regional Variances

- In the ERCOT Interconnection, the Load-Serving Entity is removed.  As with MOD-017, the Requirements in this Standard (providing the load forecast report) are currently being performed by ERCOT ISO as the Resource Planner, Transmission Planner and the Planning Authority.

- Associated Documents

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |