- Introduction

- Title:	Documentation of Accounting Methodology for the Effects of Controllable Demand-Side Management in Demand and Energy Forecasts

- Number:	MOD-021-TRE-1

- Purpose:	To ensure that assessments and validation of past events and databases can be performed, reporting of actual Demand data is needed.  Forecast demand data is needed to perform future system assessments to identify the need for system reinforcement for continued reliability.  In addition, to assist in proper real-time operating, load information related to controllable Demand-Side Management (DSM) programs is needed.  Regional Difference: Load Serving Entities removed for ERCOT Interconnection.

- Applicability:

  - Transmission Planner

  - Resource Planner

- (Proposed) Effective Date:	April 1, 2005

- Requirements

- The Transmission Planner and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.

- The Transmission Planner and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for load in the data reporting procedures of Standard MOD-016-0_R1.

- The Transmission Planner and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).

- Measures

- The Transmission Planner and Resource Planner forecasts clearly document how the demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible demands, and Direct Control Load Management) are addressed.

- The Transmission Planner and Resource Planner information detailing how Demand-Side Management measures are addressed in the forecasts of Peak Demand and annual Net Energy for Load are included in the data reporting procedures of Reliability Standard MOD-016-0_R1.

- The Transmission Planner and Resource Planner shall each provide evidence to its Compliance Monitor that it provided documentation on the treatment of DSM programs to NERC as requested (within 30 calendar days).

- Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Compliance Monitor: Regional Reliability Organization

  - Compliance Monitoring Period and Reset Time Frame

On request (within 30 calendar days).

  - Data Retention

None specified.

  - Compliance Monitoring and Assessment Processes

Text

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| --- | --- | --- | --- | --- |
|  | Documentation on the treatment of DSM programs in the demand and energy forecasts was provided, but was incomplete. | - Not applicable | - Not applicable | Documentation on the treatment of DSM programs in the demand and energy forecasts was not provided. |

- Regional Variances

- In the ERCOT Interconnection, the Load-Serving Entity Applicability is removed.  Due to the single control area mandated by state law, ERCOT ISO does not obtain forecasts of interruptible load from any other entity.  Transmission Planners are already performing this function and no additional Load-Serving Entity functions are needed.

- Associated Documents

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |