| PRR Number | 784 | PRR Title | Delete Use of Boundary Generation Resources to Resolve CRE Congestion |
| --- | --- | --- | --- |
| Impact Analysis Date |  | January 19, 2009 |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | This Protocol Revision Request (PRR) can take effect upon ERCOT Board approval. |  |
| ERCOT Staffing Impacts (across all areas) |  | No additional full time equivalents (FTEs) needed. |  |
| ERCOT Computer System Impacts |  | No impact to ERCOT computer system |  |
| ERCOT Business Function Impacts |  | No impact to ERCOT business functions. |  |
| Grid Operations & Practices Impacts |  | No impact to grid operations and practices. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None.

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Feasibility of Implementation

Impact on Resource Availability: N/A Impact on Other Projects: N/A

Comments

ERCOT supports this PRR because under the existing system, the current portfolio market would create a situation where all of the Generation Resources under a specific Qualified Scheduling Entity (QSE) would be subject to a category 4 instruction. Additionally, in the past, only one Generation Resource had been identified as a Boundary Generation Resource, and it was not a Wind-powered Generation Resource (WGR). The 2009 Commercially Significant Constraint (CSC)/Closely Related Element (CRE) analysis yielded a higher number of Boundary Generation Resources some of which are WGRs that cannot be held to their respective Resource Plans.